# I S I E C

INITIAL SAFETY INFORMATION on EXPERIMENTS at CERN

DATE: ____21.09.2004_________			EXPERIMENT:_CMS RPC

INSTALLATION START: __21.09.2004_		AREA/BEAM:  H2

SPOKESMAN: _________M. Della Negra

GLIMOS: ______C. Schaefer		TEL: ____160202__

FILLED IN BY: ___I. Crotty____		TEL: ____164414

TEST BEAMS: __________________H2

LABS AT CERN (Bldg/room): _________887

GASES, LIQUIDIS, CRYOLIQUIDS

Used in detectors (or kept in nearby containers):

| Device type | % Fluid 1 + % Fluid 2 + etc. | Volume | Abs. Press. | Max flow |
| --- | --- | --- | --- | --- |
| RPC | C2 H2 F4 96.2% | 48 +2l | 1 bar | 15 l/hr |
|  | C4 H10 3.5% | 1.68 | 1 bar | 0.5 l/hr |
|  | SF6 0.3% | 0.14 | 1 bar | 0.045/hr |

Other CHEMICALS

Toxic/corrosive/flammable metals, solvents, additives etc.:

____________________________________________________________________________________________NA______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

ELECTRICITY:

| Magnet type | Power | Field | Gap vol. | Max water pressure |
| --- | --- | --- | --- | --- |

MAGNETS:

| Detector type | Voltage | Current | Stored energy | Nr. HV channels | Remote shut off |
| --- | --- | --- | --- | --- | --- |
| RPC | 10kV | 10 (A | 0.48J/channel | 9 | yes |
|  |  |  |  |  | yes |

HIGH

VOLTAGE

(>1 kV)

SHORT-CIRCUIT currents > 5 mA for > 50 V possible anywhere? _____________

POWER dissipated by all electronics

          - On detectors: _____10W___

          - Off detectors: 1kW crates

SPECIAL GROUNDING requirements? Equipment will be grounded

LIFTING AND HANDLING:

Weight of heaviest single piece to install? ___200kg

Specially designed handling equipment? transport frame

For which max weights? 150 kg

VACUUM AND PRESSURE tanks (≠ 1 atm)

| Tank | Abs. Pressure | Volume | Weakest part(s) of the wall |
| --- | --- | --- | --- |
| NA |  |  |  |

RADIATION

Beam intensity, radioact. Sources depleted uranium, lasers, microwaves etc.:

____Source ;  H2 beam

OTHER HAZARDS (or remarks):

________________________________NA________________________________________________________________________________________________________________________________________________________________________________________________________________________

COMMENTS

# Text boxes

EP

CERN

1

2

3

4

5

6

7

8