| Item No | Component |  | Description or SCEM No or Drawing No. | Quantity per chamber | Quantity for 6 chamber | Consumed | In stock | To order | Check Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24 | Electronics | FEB boards | 4 FEB/chamber | 4 | 24 | 4 | 6 | 14 |  |
| 25 |  | LV board | 1 /chamber | 1 | 6 | 1 | 2 | 3 |  |
| 26 |  | Adapter boards | 2 / FEB | 8 | 48 | 4 | 0 | 48 |  |
| 27 | Temperature sensor | Temperature sensor (lemo type socket, plug, sensor) | EDH 2655080 | 1 set | 6 set | - | - | - |  |
| 27-1 |  | Cable plug | SCEM:09.31.28.001.8 | 1 | 6 | 0 | 2 | 5 |  |
| 27-2 |  | Chassis socket | SCEM:09.31.28.004.5 | 1 | 6 | 0 | 2 | 5 |  |
| 27-3 |  | sensor | SCEM EDH 2655080 | 1 | 6 | 0 | For 6 set | For 6 set |  |
| 27-4 |  | Cable | SCEM EDH 2655080 |  |  | 0 | For 6 set | For 6 set |  |
| 31 |  | Impedance gas tube connection T piece | 2 pieces / chamber From barrel group | 2 | 10 | 2 | 1 | 7 |  |
| 33 |  | Normal gas tube connection T piece | 2 pieces / chamber From barrel group | 2 | 10 | 2 | 4 | 4 |  |
| 39 | HV and ground | HV connector | 1 / chamber SCEM: | 1 | 6 | 1 | 0 | 5 |  |
| 40 |  | HV and ground cable screen sleeves | SCR.TIN.COPPER SHEATH.INT.D. 5mm Length 1.7m SCEM:04.01.33.050.5 | 1.7m | 10.2m | 1.7m? | >3.33m | >7m |  |
| 41 |  | Heat shrinkable tubing halogen free - black | SCEM: 04.86.62.120. Lengths = 375mm | 375mm | 2250mm | 375mm? | 440mm | >2m |  |
| 45 |  | Ferrules – braid termination – crimping type (We will change the connecting methods) | 2 pieces / wire SCEM: 09.46.11.195.9 | 256 | 1536 | 256 | <500 | >1200 |  |
| 48 |  | 40 pin flat cable connector - socket connector – 2.54*2.54mm (patch panel end of flat cable) | 8 per chamber; SCEM:09.55.03.340.4 TYPE 3M : 3417-6600 | 8 | 48 | 48 | 0 | >8 (for spare) |  |
| 48-2 |  | Couvercle (for first mount) | SCEM:09.55.03.340.4 3Mtype: 3417-6600 | 8 | 48 | 8 | 7 | >1 (for spare) |  |
| 48-3 |  | Boucle anti-traction (for second mount) | SCEM:09.55.03.440.1 3Mtype: 3448-3040 | 8 | 48 | 48 | 0 | >8 (for spare) |  |
| 48-4 |  | Adhesive fasteners for flat cables | Type: 76mm length SCEM:04.21.19.300.8 | 4 | 24 | 6 | 10 | >20 |  |
| 50-2 |  | Couvercle (for first mount) | SCEM:09.55.03.326.2 | 5 | 30 | 5 | 20 | 10 |  |
| 50-3 |  | Boucle anti-traction (for second mount) | SCEM:09.55.03.426.9 | 5 | 30 | 5 | 10 | 20 |  |
| Screws, nuts and washers |  |  |  |  |  |  |  |  |  |
| 51 | FEB and cooling system | Hexagon socket head cap screws to fix FEB on copper board (rounded) | Type:M3by16-1348779 SCEM:47.62.68.036.0 | 16 (= 4*4) | 96 (+others=192) |  | 197 | >100 (rare) |  |
| 52 |  | Insulation nut (white, over) | Type:M3-1400401 SCEM: | 4*4=16 | 96 (+ others =114) |  | 76 | >38 |  |
| 53 |  | Hexagon prevailing torque type lock nuts for FEB fixing (under) | Type: M3-1242377 SCEM:47.56.20.030.1 | 16 | 96 (+others =192) |  | 195+1 | >100 (rare) |  |
| 53-2 |  | Insulation red washer for lift off FEB (under) | Type: SCEM: | 4*2*4+4*4=48 | 288 |  | >300 (old) | 0 |  |
| 54 | LV board | Slotted cheese head screws for LV board (white, nylon) | Type:M3 by 8-1401181 SCEM:47.63.15.308.6 | 3 | 18 |  | 93+5(old) | 0 |  |
| 55 |  | Insulating spacers for lift off LV board (white) | Type: M6 by 10 SCEM:06.61.91.300.6 | 3 | 18 |  | 13 | >5 |  |
| 56 |  | Nut for lift off LV board (White) | Type:M3-1400401 SCEM:; | 3 | 18 |  | Ref. 52 | Ref. 52 |  |
| 56-2 |  | Hexagon socket head cap screws from Al panel(rounded) | Type:M3 by 6 SCEM:47.62.68.031.5 | 3 | 18 |  | 0 | 18 |  |
| 65 |  | Hexagon socket headless screws with beveled edge for gas box (stainless-steel) | Type: M4 by 4 SCEM:47.62.87.155.8(with bevelled edge) Or 47.62.88.151.8(with cone points) | 16 |  | 96 (+others=120) | 27 | 100 |  |