## Sheet1
Comp air cooling 904 2nd run
[7 empty] | Ian |  |  | AmbTCuP | Ambient temp on Cu sheet with paper tape
[7 empty] | 2021-08-19 |  |  | Air flow tate on rota meter Vogtlin
Max air flow > 9.0[m3/hr]
|  | Time | Volts | Current | Power | Flow | P. suppy | P.Detent | Emissivity | Inlet +Paper | Inlet Cu | Outlet + paper | Outlet Cu | AmbTCuP | Resist 01 | Resist 02 | Resist 03 | Resist 04
[6 empty] | [m3/min] | [Bar] | [Bar] |  | [deg C] | [deg C] | [deg C] | [deg C] | [deg C] | [deg C] | [deg C] | [deg C] | [deg C]
|  | 1435 | [6 empty] | 0.95 | 20.2 | 23.4 | 20.2 | 23.6
|  |  | 0 | 0 | 0 |  |  |  |  | 20.2 |  | 20.6
|  | 1535 |  |  |  | 9 | 8.05 | 0.8 | 0.95 | 21.4 |  | 21.4 |  | 23.8 | 22.2 | 22.4 | 22.8 | 23.2
15.69V on resistors |  | 1545 | 16.12 | 3.2 | 51.584 |  |  |  |  | 23.4 |  | 27.6 |  | 25.4 | 27.6 | 29.6 | 31.8 | 32.2
3.50A with DVM |  | 1550 | [7 empty] | 23.8 |  | 29.8 |  | 25.8 | 27.6 | 29.4 | 31.8 | 33.2
|  | 1610 | [7 empty] | 23.6 |  | 32.4 |  | 25.4 | 27.8 | 29.4 | 33.2 | 35.4
TotaMeter touches |  | 1625 |  |  |  | 9.2 |  |  |  | 23 |  | 30.6 |  | 24.4 | 26.6 | 27.4 | 31.6 | 34.4
|  | 1645 | [7 empty] | 22.6 |  | 30 |  | 23.8 | 26.2 | 27.8 | 31.6 | 33.8
|  | 1707 | [7 empty] | 21.8 |  | 30.6 |  | 23.6 | 26 | 28.4 | 32.2 | 34
Sun is on ends Cu pipe |  | 1740 | 16.07 |  | 0 | 9.2? | 8.05 | 0.9 |  | 24.4 |  | 33.2 |  | 26.2 | 29.2 | 30.8 | 33.8 | 36.6
|  | 1805 |  |  | 0 |  |  |  |  | 22 |  | 30.4 |  | 24.2 | 26.4 | 27.4 | 32.6 | 35.6
|  | 1830 |  |  | 0 |  |  |  |  | 21.4 |  | 30.2 |  | 23.2 | 25.6 | 27.8 | 31.2 | 33.4
|  | 1925 |  |  | 0 |  |  |  |  | 20.4 |  | 29.4 |  | 22.2 | 25.2 | 27.8 | 29.8 | 32.6
| OFF | 1945 |  |  | 0 |  |  |  |  | 21.2 |  | 29.4 |  | 22.4 | 25.2 | 27.8 | 29.4 | 32.6
|  | 2005 |  |  | 0 |  |  |  |  | 21.4 |  | 21.4 |  | 23.4 | 21.6 | 21.8 | 22.4 | 22
|  | 2010 |  |  | 0 |  |  |  |  | 22.6 |  | 22.4 |  | 23.8 | 23.2 | 23.2 | 23.4 | 23.6
0
0
[5 empty] | 0 | [9 empty] | At about 1610 cold air comes into thebiuilding 904
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0