## Sheet1
sluyg
2021-07-08
| bkhy |  |  |  |  | Ian
|  | 2 new 1.5kW twin PS 4 June 2021 |  |  |  | There is bug in this version MS 365 of ecxcel it " hangs" oftem in the middle of data taking !!
and tries to save a different file when requesting save.
|  | 2nd run with new PSs |  |  |  | And printa our another file !!!!
Sensor 19 is hanging from the edge of the bench
Period 60s
|  |  | Event | Voltage | Current | Power | PS |  | Voltage | Current | Power | PS |  | temp
|  | Time | No | Delta SM35-45 |  |  | Temp |  | Delta SM 52-30 |  |  | temp
ambient
|  | [s] |  | [V] | [I] | [W] | [Deg C] | [Deg C] | [V] | [I] | [W] | [Deg C] | [Deg C] | Sensor | Sensor | Sensor | T3
[14 empty] | 5 | 12 | 19 | LOGO
|  | 0 |  |  |  | 0 |  |  |  |  | 0
| Power off | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0
|  | 300 | 5 | 0 | 0 | 0 | 24.8 |  | 0 | 0 | 0 | 24.4 |  | 21.71 | 21.99 | 21.74 | 22.8
Power on | CV mode | 600 | 10 | 25.4 | 30 | 762 | 25.3 |  | 50.9 | 15 | 763.5 | 24.6
|  | 840 | 14 | 25.4 | 29.4 | 746.76 | 25.3 | 22 | 50.8 | 14.6 | 741.68 | 24.6 | 25.6 | 21.95 |  |  | 27.4
|  | 0 |  | 25.4 |  | 0 |  | 27.4 | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0
|  | 0 |  | 25.4 |  | 0 |  |  | 50.8 |  | 0