## Sheet1
	2 new 1.5kW twin PS 4 June 2021				There is bug in this version MS 365 of ecxcel it " hangs" oftem in the middle of data taking !!
					and tries to save a different file when requesting save.
	2nd Nov Run run with 2 PSs				And printa our another file !!!!

					Sensor 19 is hanging from the edge of the bench
			Period 60s
				Insulated cable stray					Open steel grid tray
		Event	Voltage	Current	Power	PS		Voltage	Current	Power	PS		temp
	Time	No	Delta SM35-45			Temp		Delta SM 52-30			temp
							C. tray Ext.					C. tray Ext.
							Fluka IR 63					Fluka IR 63			ambient
	[s]		[V]	[I]	[W]	[Deg C]	[Deg C]	[V]	[I]	[W]	[Deg C]	[Deg C]	Sensor	Sensor	Sensor	T3
										5	12	19	LOGO
	0				0					0
Power off	0	0	0	0	0			0	0	0			21.45	21.87	22.12
	600	10	0	0	0	24.5	22.4	0	0	0	24.1	22.0	21.47	21.91	22.14	22.6
CV mode	1200	20	0.0	0.0	0	24.8	23.2	0.0	0.0	0	24.3	22.8	21.48	21.98	22.40	22.6
Power ON	1800	30	25.3	30.0	759	25	23.2	50.9	15.0	764	24.4	22.8	21.51	22.04	22.40	22.8
	2400	40	25.3	29.0	734	26.9	23.4	50.9	14.6	743	58.0+O26:O37	32.6	30.51	30.71	22.36	31.4
	3000	50	25.3	28.0	708	29.4	24.2	50.9	14.1	718	29.6	39.4	40.14	40.35	22.48	40.6
	3600	60	25.3	27.4	693	30.9	26.2	50.9	13.7	697	32.4	45	48.81	49.00	22.54	48.6
60s					0					0
1824	0	0	25.4	30.1	765	24.6		50.5	15	758	23.8		19.84	20.81		22.9
	480	8	25.4		0			50.5		0			27.7	28.23
	720	12	25.4	28.8	732			50.5	14.3	722			31.78	32.31
	2700	45	25.4	26.6	676	36.3	28.4	50.5	13.2	667	33.5	55.2	58.47	58.8	20.84	63.6
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0
	0		25.4		0			50.5		0

## Raw_data
0: 19.88, 19.87, 19.92, 20.22, 19.84, 19.96, 20.08, 20.45, 20.14, 20.46, 20.51, 20.81, 20.63, 20.90, 15385.00, 25.05, 20.61, 20.73, 20.49, 106.72, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
1: 19.98, 19.88, 19.96, 20.20, 19.89, 20.00, 20.19, 20.46, 20.16, 20.51, 20.57, 20.85, 20.66, 20.93, 15385.00, 25.03, 20.68, 20.77, 20.53, 106.76, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
2: 20.77, 20.87, 20.92, 21.25, 20.91, 21.01, 21.20, 21.50, 21.13, 21.46, 21.39, 21.55, 21.34, 21.74, 15385.00, 25.11, 21.67, 21.50, 20.67, 107.85, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
3: 21.69, 21.92, 22.05, 22.49, 22.09, 22.19, 22.39, 22.79, 22.33, 22.62, 22.42, 22.66, 22.45, 22.71, 15385.00, 23.59, 22.83, 22.55, 20.69, 109.30, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
4: 22.59, 22.97, 23.18, 23.68, 23.26, 23.36, 23.56, 23.95, 23.48, 23.75, 23.43, 23.81, 23.59, 23.67, 15385.00, 24.22, 23.99, 23.64, 20.53, 110.64, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
5: 23.50, 23.96, 24.27, 24.90, 24.42, 24.51, 24.71, 25.14, 24.63, 24.86, 24.43, 24.94, 24.73, 24.61, 15385.00, 25.30, 25.11, 24.71, 20.55, 112.06, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
6: 24.38, 24.95, 25.35, 25.98, 25.53, 25.63, 25.83, 26.26, 25.74, 25.91, 25.37, 26.06, 25.83, 25.53, 15385.00, 26.38, 26.21, 25.74, 20.54, 113.38, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
7: 25.29, 25.91, 26.40, 27.10, 26.65, 26.75, 26.92, 27.41, 26.84, 26.95, 26.35, 27.17, 26.92, 26.42, 15385.00, 27.41, 27.30, 26.77, 20.59, 114.70, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
8: 26.12, 26.82, 27.43, 28.19, 27.70, 27.80, 28.01, 28.49, 27.94, 27.95, 27.26, 28.23, 27.95, 27.25, 15385.00, 28.41, 28.36, 27.78, 20.68, 75.87, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
9: 26.96, 27.74, 28.41, 29.23, 28.75, 28.84, 29.06, 29.59, 28.95, 28.94, 28.20, 29.29, 28.94, 28.05, 15385.00, 29.65, 29.41, 28.74, 20.56, 76.57, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
10: 27.79, 28.62, 29.40, 30.26, 29.77, 29.87, 30.08, 30.65, 29.97, 29.93, 29.09, 30.28, 29.98, 28.87, 15385.00, 30.53, 30.43, 29.70, 20.57, 77.67, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
11: 28.59, 29.47, 30.35, 31.32, 30.79, 30.87, 31.09, 31.55, 30.98, 30.87, 29.97, 31.30, 30.96, 29.65, 15385.00, 31.59, 31.45, 30.64, 20.63, 78.80, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
12: 29.42, 30.33, 31.27, 32.38, 31.78, 31.88, 32.09, 32.60, 31.97, 31.80, 30.86, 32.31, 31.94, 30.37, 15385.00, 32.09, 32.43, 31.57, 20.60, 79.92, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
13: 30.18, 31.15, 32.21, 33.35, 32.77, 32.86, 33.09, 33.61, 32.97, 32.74, 31.73, 33.31, 32.89, 31.12, 15385.00, 33.21, 33.42, 32.49, 20.82, 81.04, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
14: 30.98, 31.99, 33.13, 34.36, 33.75, 33.83, 34.06, 34.63, 33.95, 33.66, 32.59, 34.29, 33.82, 31.88, 15385.00, 35.03, 34.42, 33.39, 20.99, 82.49, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
15: 31.76, 32.81, 34.03, 35.22, 34.70, 34.80, 35.04, 35.53, 34.85, 34.56, 33.41, 35.28, 34.75, 32.54, 15385.00, 36.10, 35.39, 34.30, 21.03, 84.34, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
16: 32.52, 33.63, 34.93, 36.16, 35.66, 35.76, 35.99, 36.48, 35.83, 35.46, 34.27, 36.23, 35.68, 33.19, 15385.00, 36.83, 36.35, 35.19, 20.98, 85.96, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,
17: 33.29, 34.42, 35.81, 37.07, 36.60, 36.70, 36.92, 37.43, 36.76, 36.35, 35.10, 37.19, 36.60, 33.85, 15385.00, 37.95, 37.30, 36.07, 20.91, 87.53, 15385.00, 15385.00, 15385.00, 15385.00, 0.00,

## TestFile2nd29Nov2021
Column1	Column2	Column3	Column4	Column5	Column6
=~=~=~=~=~=~=~=~=~=~=~=	PuTTY	log	2021.11.29	18:24:00	=~=~=~=~=~=~=~=~=~=~=~=
Starting	up	SPI
Please	enter	the	sampling	interval	(as
You	have	selected	to	read	the
If	you	are	unhappy	with	your
0:	19.88,	19.87,	19.92,	20.22,	19.84,
1:	19.98,	19.88,	19.96,	20.20,	19.89,
2:	20.77,	20.87,	20.92,	21.25,	20.91,
3:	21.69,	21.92,	22.05,	22.49,	22.09,
4:	22.59,	22.97,	23.18,	23.68,	23.26,
5:	23.50,	23.96,	24.27,	24.90,	24.42,
6:	24.38,	24.95,	25.35,	25.98,	25.53,
7:	25.29,	25.91,	26.40,	27.10,	26.65,
8:	26.12,	26.82,	27.43,	28.19,	27.70,
9:	26.96,	27.74,	28.41,	29.23,	28.75,
10:	27.79,	28.62,	29.40,	30.26,	29.77,
11:	28.59,	29.47,	30.35,	31.32,	30.79,
12:	29.42,	30.33,	31.27,	32.38,	31.78,
13:	30.18,	31.15,	32.21,	33.35,	32.77,
14:	30.98,	31.99,	33.13,	34.36,	33.75,
15:	31.76,	32.81,	34.03,	35.22,	34.70,
16:	32.52,	33.63,	34.93,	36.16,	35.66,
17:	33.29,	34.42,	35.81,	37.07,	36.60,
18:	34.06,	35.24,	36.70,	38.03,	37.55,
19:	34.83,	36.02,	37.56,	38.94,	38.48,
20:	35.58,	36.83,	38.44,	39.86,	39.39,
21:	36.34,	37.61,	39.28,	40.75,	40.31,
22:	37.07,	38.38,	40.14,	41.64,	41.21,
23:	37.82,	39.16,	40.96,	42.49,	42.09,
24:	38.54,	39.92,	41.79,	43.34,	42.97,
25:	39.28,	40.69,	42.61,	44.22,	43.84,
26:	40.00,	41.43,	43.41,	45.03,	44.69,
27:	40.70,	42.18,	44.23,	45.88,	45.56,
28:	41.42,	42.91,	45.01,	46.72,	46.40,
29:	42.11,	43.64,	45.80,	47.55,	47.25,
30:	42.82,	44.36,	46.59,	48.32,	48.05,
31:	43.50,	45.06,	47.34,	49.10,	48.85,
32:	44.16,	45.75,	48.08,	49.88,	49.63,