## Slide 1: 3 way valves
Ian
12 Jan 2024
Up dated 23 Jan 2024

## Slide 2
Specification
Stainless body 316 or 304 (brass can readily split it unions are over tightened
½ inch BSP pipe thread on all 3 orifices
DN15
There are two possible configurations “L” or “T”. It must be “L”.
Pressure classification “1000WOG”

## Slide 3
Companies/suppliers looked at
Aliexpress
RS (Uk and Fr)
CERN (Sagana and Trimatic)
Amazon.fr
Metaltek
Valvesonline.co.uk
Schwer.com
Syveco.com
Valtec.com

## Slide 4
Robinet à Bille 3 Voies en Acier Inoxydable 1/4 BSP Femelle 3/8, 1/2, 3/4, 304, 1 Pouce, Type T/L, Port Complet pour Eau, Huile, Air, Gaz, Chr25, Chr10, Chr15, Chr20 - AliExpress

## Slide 5
Robinet à Bille 3 Voies en Acier Inoxydable 1/4 BSP Femelle 3/8, 1/2, 3/4, 304, 1 Pouce, Type T/L, Port Complet pour Eau, Huile, Air, Gaz, Chr25, Chr10, Chr15, Chr20 - AliExpress

## Slide 6
Robinet à boisseau sphérique à trois voies en acier inoxydable 304, robinet à boisseau sphérique à trois voies fileté en forme de L en forme de T 2 points 3 points 4 points 6 p - AliExpress

## Slide 9
Robinet à Bille à Trois Voies en Acier Inoxydable, Filetage 1/4 BSP, Type T, Type L, Chr15, Chr20, Chr25, Chr32, 3/8, 1/2, 3/4, 304, 1, 2 Pouces (aliexpress.com)

## Slide 10
Robinet à Bille 3 Voies en Acier Inoxydable 1/4 BSP Femelle 3/8, 1/2, 3/4, 304, 1 Pouce, Type T/L, Port Complet pour Eau, Huile, Air, Gaz, Chr25, Chr10, Chr15, Chr20 - AliExpress

## Slide 13
https://www.amazon.fr/gp/product/B07NVJ42PN/ref=pe_22632301_903018031_em_2p_1_lm

## Slide 14
Stainless Steel Ball Valve 3 Way Screwed Reduced Bore Direct Mount - Valves Online

## Slide 15
3 Way Ball Valve | RS (rs-online.com)

## Slide 16
Pipe supports

## Slide 17
Cintre de tuyau en acier inoxydable, pince Suppoert avec étui bleu Homebrew, vis M8, 50mm, ajustement 8-108mm, tube OD, 304, nouveau, 1 pièce - AliExpress

## Slide 18
Tube En Acier Inoxydable 100, 15mm-304mm, Boucle De Tuyau En Cuivre Pour Plomberie Et Climatisation, Livraison Gratuite - Brides - AliExpress

## Slide 19
Collier de serrage fileté femelle en acier inoxydable 304, écrou de support rapide, tuyau d'eau, collier de serrage en PVC, collier de serrage M8 - AliExpress

## Slide 20
Brass body

## Slide 21
https://www.metaltek.com/alloy/stainless-steel-austenitic-mtek-316/

## Slide 22
Vanne à bille en laiton, 3 voies, 1/4 "3/8" 1/2 "3/4" -2 "Tee, Port complet t-port l-port - AliExpress

## Slide 23
Vanne à boisseau sphérique à trois voies en cuivre, interrupteur de vanne à fil intérieur, joint de chauffage de conduite d'eau, type T, type L, 1 po, 4 po, 3 po, 8 po, 1/2 po, 3/4 po (aliexpress.com)

## Slide 25
https://www.bonomiindustries.com/ball-valves/ball-valve-s7650-bspt-3-way-2-seats-l-port-diverting
The RuB s.7650 is the right choice for fluid diversion and is designed with robust maintenance-free components ensuring ease of operation and safety.With a simple 90° turn, you can divert flow from one downstream outlet to the other. It combines traditional manual operation with modern automation. It is also very easy to convert from its sturdy lever handle to ISO 5211 actuator flange assembly. It features low operating torque and a special wear reducing self-compensating valve seat design that meets our 100,000 cycle life test requirement. The valve can be purchased separately, with handle or with a RuB actuator already mounted

## Slide 26
https://www.schwer.com/en_GB/three-way-ball-valve/pr/A-3BVG-F

## Slide 27
https://www.syveco.com/en/stainless-steel-ball-valve-781-3-way-t-port.html

## Slide 28
https://www.valtec.com.tw/product-3-WAY-THREADED-END-BALL-VALVE-V-3WAY.html

## Slide 30
https://edh.cern.ch/edhcat/Images/295816/40.40.75.F.FTFR.pdf

## Slide 31
Sagana But is it “L” or “T” ?

## Slide 33
Conclusion
Aliexpress seems more expensive (7-18Euro) than last year , twice ?
Amazon (30-38Euro) is approx. twice the Aliexpress price.
European prices are from 100-300chf for similar item.
Delivery times from some European suppliers are similar to Aliexpress. Does this mean they have the same origine ?
Lets try Aliexpress for minimum 2-3 pieces.