## Slide 1: Info for new cooling circuit using ECAL manifolds
Ian
1 June 2021

## Slide 2
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/Components/CoolingUnionsRPCJan2016.xlsx

## Slide 3
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/YokeManiFolds/Photos/YEMinus1Oct2019/

## Slide 4
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/YE1/YE%20cooling.pdf
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/YE1/YEM1FromIPview.pdf
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Services2000/Cool/5599804e[1]IanModRE-2%20Model%20(1).pdf

## Slide 5
 | RE+1 Cooling Connexions |  |  | 
 |  |  | Checked for labelling 13 Jan 2010 | 
Chamber & Valve allocation |  |  |  | 
Return | Supply |  |  | 
RE+1/2 -36R | RE+1/2 -05S |  |  | 
RE+1/2 -30R | RE+1/2 -35S |  |  | 
RE+1/2 -24R | RE+1/2 -29S |  |  | 
RE+1/2 -18R | RE+1/2 -23S |  |  | 
RE+1/2 -12R | RE+1/2 -17S |  |  | 
RE+1/2 -06R | RE+1/2 -11S |  |  | 
RE+1/3 -36R | RE+1/3 -05S |  |  | 
RE+1/3 -30R | RE+1/3 -35S |  |  | 
RE+1/3 -24R | RE+1/3 -29S |  |  | 
RE+1/3 -118R | RE+1/3 -23S |  |  | 
RE+1/3 -12R | RE+1/3 -17S |  |  | 
RE+1/3 -06R | RE+1/3 -11S |  |  | 
 | An example of Valve labeling that should be. |  |  | 
Return Valve |  | RE-1/2 36R-05S |  | 
Supply Valve |  | RE-1/2 05S-36R |  | 
 |  | Ian Crotty13 Jan 2010 |  | 
In workspace dfs

## Slide 7
Dfs
Work space
Cms integration
3D Models
YE+1
YE1 cooling
Drawings
EE_Cooling_laterals……..
OR
Manifold ME RPC HE

## Slide 8
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/Components/CoolingUnionsRPCJan2016.xlsx
NOT FOR YE1
But this is similar to the material I had for YE1

## Slide 9
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/Components/CoolingUnionsRPCJan2016.xlsx