RE1/3/04 ispectio n

Test before going up

Not tightened by almost one sixth of the turn

Nut was tightened but then unscrewed very easily with one finger

Scratches on left of the picture are in fact on top of pipe, furthest from the chamber

Scratches and water stain on nut coincide if we remember that nut is now one sixth of the turn tightened

Csc cooling