## Slide 1: Pinched Cooling hose against YE-4
Ian
3 feb 2021

## Slide 2
Plus Z Far

## Slide 3
Plus Z Far
Here the Mini Manifold is mounted near the bottom of the green channel section

## Slide 4
The Minus Z end far

## Slide 5
The Minus Z end far
Here the Mini Manifold is mounted higher 5-10cm than the plus Z on the green channel section.
Here it is clear there is no return flow possible