## Slide 1: Ambient conditions in P5
3 Oct 2016

## Slide 2
Technical stop 12- 16 Sept 2016
RB temperatures

## Slide 3: WB0 temp response during TS

## Slide 4: RE Temperatures
Some level of instabilities after TS

## Slide 5: RE-1 and RE+1
0.1 DEG DIFFERENCE

## Slide 6: RE+2 & RE-2
0.8deg difference

## Slide 7: RE+3 & RE-3
0.75degC difference

## Slide 8: RE +1 has the only noisy channels
Temp. increase after TS
Greater oscillation in RE1s after TS
Noise is present only on RE+1

## Slide 9: RE temperatures 2016
Noise increase REP1
On 24 June 2016

## Slide 10: RE Decrease in temp since March
0.5 deg decrease

## Slide 11: RE+2 temp sensors

## Slide 12: Noisy channel RE+1
Nota Scale

## Slide 13: Noise at two distinct times

## Slide 14: RB Wheel-1
Imperceptible temp change since April 2016

## Slide 15: RB Wheel 0
0.1degC temp change since April 2016

## Slide 16: UXC Temp this year
Temp decrease over year
After 3 day jump April temp restablished

## Slide 17: Temp excursion in UXC
3 days (3-6 Oct) temp increase from 19.5 to 23degC

## Slide 18: The only one this year >1day

## Slide 19: Alarm in UXC55 >22degC
Large prolonged excursions are rare over the last 7 years

## Slide 20: FOS
Sensors on all chambers in stations RE2, RE3 & RE4.
An example, RE-2/2/19

## Slide 21: Humidity 2016
Capped at ~46% RH

## Slide 22: Humidity UXC since 2010
47% RH
11% RH
44% RH
Average is increasing ?

## Slide 23: Conclusions
Temperature instabilities in RE+1 & RE-1 after TS in September.
Temperature increase after TS.
Noisy channel RE+1/1/C01 after 24June2016
RE temperatures decrease since April by 0.5degC
Temp Alarm
Short term chamges and long term trends.