## Slide 1: Ambient conditions in P5
28 Nov 2016

## Slide 2: RE-1 and RE+1
0.1 DEG DIFFERENCE

## Slide 3: RE+2 & RE-2
0.8deg difference

## Slide 4: RE+3 & RE-3
0.75degC difference

## Slide 5: RE Decrease in temp since March
0.5 deg decrease

## Slide 6: RE+2 temp sensors

## Slide 7: Full 2016 FOS RE-3/3/1-6

## Slide 8: Full2016 RE-2/3/1-6 FOS

## Slide 9: Full 2016 RE-2/3/1-6 FOS

## Slide 10: RE-3/2/1,7,13 & 19

## Slide 11: RB Wheel-1
Imperceptible temp change since April 2016

## Slide 12: RB Wheel 0
0.1degC temp change since April 2016

## Slide 13: UXC Temp this year
Temp decrease over year
After 3 day jump April temp restablished

## Slide 14: Full 2015 & 2016

## Slide 15: Full 2016

## Slide 16: Full 2016

## Slide 18: Conclusions
Temperature instabilities in RE+1 & RE-1 after TS in September.
RE-2/3/6 increased in temp until XXX
Temperature increase after TS.
RE temperatures decrease since April by 0.5degC
Short term changes and long term trends.