## Slide 1: Gas mixing calibration by counting bubbles !
Ian, taken from NA61 slides on mRPC
By V. Babkin (?)
18 July 2023

## Slide 3
Chambers
Method
Set up the system as shown ready for chamber operation. Choose the calibrated glass tubes to correspond to the approximate ratio of the desired mixture, in this case 95:5 ~ 20:1. This can be taken for a low value of the SF6 (0.1-1.3l/h) and a high value of the R134a (0.3-3l/h)
Turn on one of the R134a gas supply.
Adjust the Flow controller (Rotameter) to the