## Sheet1
key | description | unit | units per loop | cost per item | RE1/2 & RE1/3 |  | RE2/1, RE2/2, RE2/3 |  | ME1/2 & ME1/3 |  | ME1/1
[5 empty] | total # | cost | total # | cost | total # | cost | total # | cost
| number of loops per station |  |  |  | 12 |  | 18 |  | 18 |  | 18
| Ladish # 32915 half coupling 1/4" pipe thread (welded to manifold) | each | 0 | 0.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ladish # 32915 half coupling 3/8" pipe thread (welded to manifold) | each | 0 | 0.64
| weld half-couplings to manifold |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A | Apollo # 7B-841-01 1/4" Ball valve w/ SS ball & stem & port | each | 2 | 12.09 | 48 | 580.32 | 72 | 870.48 | 72 | 870.48 | 72 | 870.48
| Apollo # 70-842-07 3/8" Ball valve w/ SS ball & stem & port | each | 2 | 9.65
B | B&G # RV-125A Bell & Gossett Readout Valve | each | 2 | 4.97 | 48 | 238.56 | 72 | 357.84 | 72 | 357.84 | 72 | 357.84
C | Parker # 30182-4-6B 1/4" MPT to 3/8" hose barb | each | 2 | 0.88 |  |  |  |  | 72 | 63.36 | 72 | 63.36
| Parker # 30182-4-4B 1/4" MPT to 1/4" hose barb | each | 2 | 0.85 | 48 | 48 | 72 | 61.2 | 72 | 61.2 | 72 | 61.2
| Parker # 30182-6-8B 3/8" MPT to 1/2" hose barb | each | 2 | 1
H | Parker # 831-4 1/4" Push lok hose (Green) | ft | 10 | 1.3 | 400 | 520 | 600 | 780 | 360 | 468 | 360 | 468
H | Parker # 831-6 3/8" Push lok hose (Red) | ft | 10 | 1.43 |  |  |  |  | 360 | 514.8 | 360 | 514.8
| Parker # 831-8 1/2" Push lok hose (Blue) | ft | 10 | 1.93
F | Parker # 30382-6-6B+ 3/8" male 37 deg to barb | each | 2 | 1.91 |  |  |  |  | 72 | 137.52 | 72 | 137.52
F | Parker # 30482-5-4B+ 5/16" male 45 deg to 1/4" barb | each | 2 | 1.39 | 48 | 66.72 | 72 | 100.08 | 72 | 100.08 | 72 | 100.08
| Parker # 30482-8-8B+ 1/2" male 45 deg to barb | each | 2 | 2
| Parker # 6 BTX B Nut | each | 2 | 0.49 |  |  |  |  | 72 | 35.28 | 72 | 35.28
| Parker #41FS-5 Brass Nut | each | 2 | 0.52 | 48 | 24.96 | 72 | 37.44 | 72 | 37.44 | 72 | 37.44
| Parker # 41FS-8 Brass Nut | each | 2 | 0.5 |  |  |  |  | 72 | 36 | 72 | 36
| Parker # 6 TX B Sleeve (3/8") | each | 2 | 0.5 |  |  |  |  | 72 | 36
| Parker # TX SS (10mm sleeve) | each | 2 | 1.41 | [5 empty] | 0 | 72 | 101.52
| Parker # 8 TX B Sleeve (1/2") (not used for 45 deg fittings) | each | 0 | 2 | [5 empty] | 0 | 0 | 0
| 3/8" Copper Tube | ft |  | 0.78 | [5 empty] | 0
| 10mm Copper Tube | m | 4 | 2.5 | [7 empty] | 0
D | Parker # 3JC82-6-6B (barb to female O-ring) | each | 1 | 14.86 |  |  |  |  | 36 | 534.96 |  | 0
G | Parker # 3J082-6-6B (barb to male O-ring) | each | 1 | 5.96 |  |  |  |  | 36 | 214.56 |  | 0
F | American coupling Co. #272-0602 3/16" MPT to 3/8" barb | each | 2 | 0.83
| Parker # 3 GTX B 3/16" MPT to 37 deg | each | 2 | 6.87
| Parker # 3 BTX B Nut | each | 2 | 0.76
| Parker # 3 TX B Sleeve | each | 2 | 1.24
L | Hayes Mesurflo # 2305-0021 1/4" flow regulator (0.5 GPM) | each | 1 | 18.56 | 24 | 445.44 | 36 | 668.16
| Hayes Mesurflo # 2305-1021 3/8" flow regulator (0.5 GPM) | each | 1 | 19.45
M | Parker # 216-4 1/4" Hex nipple - brass | each | 1 | 0.67 | 24 | 16.08 | 36 | 24.12 | 36 | 24.12 | 36 | 24.12
| Parker # 216-6 3/8" Hex nipple - brass | each | 1 | 0.8
[6 empty] | 1940.08 |  | 2899.32 |  | 3491.64 |  | 2807.64