## Sheet1 (2)
Flow rate measures of the Needle Purge Union used to do Leak Test on CSC/RE Manifold
Ian Crotty Oct 2007
| Pressure at Regulator | Flow rate on the 8m^3/hr
| [bar] | [m^3/hr]
| 1 | 0.9
| 1.5 | 1.2
| 2 | 1.4
| 2.5 | 1.7
| 3 | 2
| 4 | 2.6
| 5 | 3.1
| 6 | 3.6
| 7 | 4.15
| 8 | 4.7
| 9 | 5.15
| 10 | 5.7
Flow rate measures of the Needle Purge Union with 19.6m of 4-6mm dia PA pipe used for Leak Tests on CSC/RE Manifold
| Pressure at Regulator | Flow rate on the 8m^3/hr
EXP
| [bar] | [m^3/hr]
1
| 1.5 | 0.8
| 2 | 1
| 2.5 | 1.15
| 3 | 1.3
| 3.5 | 1.5
| 4 | 1.65
| 4.5 | 1.85
| 5 | 2
| 6 | 2.4
| 7 | 2.8
| 8 | 3.2
| 9 | 3.6
| 10 | 4

## Sheet1
Flow rate measures of the Needle Purge Union used to do Leak Test on CSC/RE Manifold
Ian Crotty Oct 2007
| Pressure at Reguklator | Flow rate on the 8m^3/hr
| [bar] | [m^3/hr]
| 1 | 0.9
| 1.5 | 1.2
| 2 | 1.4
| 2.5 | 1.7
| 3 | 2
| 4 | 2.6
| 5 | 3.1
| 6 | 3.6
| 7 | 4.15
| 8 | 4.7
| 9 | 5.15
| 10 | 5.7
Flow rate measures of the Needle Purge Union with 19.6m of 4-6mm dia PA pipe used for Leak Tests on CSC/RE Manifold
| Pressure at Regulator | Flow rate on the 8m^3/hr
EXP
| [bar] | [m^3/hr]
1
| 1.5 | 0.8
| 2 | 1
| 2.5 | 1.15
| 3 | 1.3
| 3.5 | 1.5
| 4 | 1.65
| 4.5 | 1.85
| 5 | 2
| 6 | 2.4
| 7 | 2.8
| 8 | 3.2
| 9 | 3.6
| 10 | 4