RPC Endcap		Station 2

- Gas Services

| RPC | Nos Chamber Station | Nos. Gas Gaps | Channel /chamber | Chambers /60 | Pipes /60 | Section /60 (mm2) 8mm | Total Nos. Pipes | Total Section /Endcap cm2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RE2/1 | 18 | 3 | 4 | 3 | 12 | 768 | 36 |  |
| RE2/2 | 36 | 3 | 4 | 6 | 24 | 1536 | 72 |  |
| RE2/3 | 36 | 3 | 4 | 6 | 24 | 1536 | 72 |  |
| Total | 90 |  |  | 15 | 60 | 3840 | 180 | 230.4 |
| Total/ Station/ Endcap | 90 |  |  |  |  |  |  | 230.4 |

# Pipes have an estimated diameter of  8mm up to the patch panel on the Yoke periphery.

Pipe section is 2 in mm2

IMC 03.2000