## Slide 1: Services and paths for GE1/1 in CMS
Slice test & Full Installation
Ian Crotty 26 Feb 2015

## Slide 2: Services and their Paths
HV
LV
Signal fibres
Alignment fibres
Gas
Cooling
Radmon

## Slide 3: HV multi Channel
Channels per Superchamber
2 options CSC based system or CAEN system
USC Rack Space
UXC Rack space

## Slide 4: USC HV Racks
Cooling both under and in the rack are not yet done , need heat load and crate position/sizes
Two racks have been added, next to RPC HV system, for GE1/1

## Slide 5: Cable chains & PP YE1
New HV cable for Slice test. Fire proof passage through into basement of USC
Cable clamps under YE1 PP
Space in RPC PP
Very little space in the YE1 PPs
RPC HV cables etc in Cable chain. Very difficult access.

## Slide 6: HV link from USC to UXC
Initial installation for Slice test
PP on YE-1
near
Cables for Slice test from PP to chamber are there
Need new connectors at both ends ?
A big team is necessary for one cable !

## Slide 7: LV Rack Space on -Z
X4S33
X2V33
GE1/1s
CAEN A3016 in the UXC
We have 2 rack volumes diametrically placed. They are available for GE1/1 today.
Rack access must be studied as most x-sections are taken

## Slide 8: Rack space on both endcaps

## Slide 9: RE1/1 Cable paths over ME1/1 CSCs
8x Signal cables and 2x DCS fit readily in the x-sections
There is a distinct difference between cabling for RE1/1 and GE1/1. There are no power cables over the CSCs, they are afraid of induced noise

## Slide 10: ME1/2 & ME1/3 path
Increasing Radius from HE nose to Green structure
Slack left in place so that MEs can me reoved without uncabling RE/GEs
Cables mounted directly onto CSC chambers, can be done in a more solid manner

## Slide 11: Fibre passage/path
GE1/1
Reserved Fibre passage through wall separating UXC & USC
YE1 Fibre PP UXC. Requires new installation for GE1/1
Trigger Racks in USC
Patch cords between Chamber and PP ?
Blow fibres from PP to Trigger Rack
Alignment fibres ?

## Slide 12: Gas
The RE1/1 gas system installed in the UXC will be used up to the chambers. Circuits are 60deg ie 6 chambers in series

## Slide 13: Cooling
Cooling circuits are 20deg with RBX
Use ME1/1 cooling pads as inspiration

## Slide 14: An example of integration work for all the services
16 Signal Cables dia 10mm
4 DCS cables dia 5mm
2 paths to reduce cable section over CSCs
Choice of Rack access from bottom or top

## Slide 15: Conclusion
All cables for slice test(except radmon) are installed between USV & UXC. The cables at each end have to be installed or modified (HV).
We will draw our conclusions as the WS proceeds today
It is really time to setup and ensure that we have all available material ready for installation both for the Slice test and 72 GE1/1 installation as soon as possible.
All Installation work in should go through the Integration office.
Work to be done to integrate the Services with Integration in 904

## Slide 16: Thanks for the many contributions