## Slide 1: Chamber Integration Update
Ian Crotty, Elena Voevodina
11/07/2017

## Slide 2
Return strip panel
1645 mm
1584 mm
319.7 mm
318.1 mm
565.3 mm
570 mm
1700 mm
1570 mm
Pick-up strip panel
341 mm
274.5 mm
495 mm
586 mm
Total: 88 strips

## Slide 3
Insulator layer, 300 µm
Graphite
Spacers, Ф 8 mm
Strips readout
HPL, 1.4 mm
Bar
Honey comb panel
Start of Active area
Mechanical details of RPC chambers
Frame

## Slide 4
Service panel
Gap Bottom
Strip panel
Gap Top
Effective areas
(graphite layers)
Topology of RPC chamber

## Slide 5
Probability using of RE2/2 ‘s gap top for prototype
1. Pick-up Strip panel

## Slide 6
Service panel
Gap Bottom
Gap Top
Strips
20 mm
for soldering
Schematic of the assembly RPC chamber with Pick-up Strip panel
Band

## Slide 7
Probability using of RE2/2 ‘s gap top for prototype
1. Return Strip panel
* We took into account dimensions of service passage
Top gap will not cover
about 3 strips !

## Slide 8
Connecters of Return Strip panel
79 mm
26 mm
10 mm
11.2 mm
Top gap will not cover
about 3 strips !