## Slide 1
YE2
ME3/1
RE 3/1
FEB
Neutron shield.
670 mm
between YE2 and YE3
RPC RE3/1 chambers
FEB
Cross section YE3 and YE2
YE3
96 mm
between CSC (high electronics board) and N.Sield.
FEB
Principle scheme
CSC, Highest Electronics Cover
36 mm
between RE3/1 and CSC (high electronics board)
CSC, Highest Electronics Cover

## Slide 2
FEB
FEB
RE3/1
“on”
RE3/1
“off”
Ri 1664 mm
1560 mm
1025 mm
Neutron Shielding
731 mm

## Slide 3: Design RPC RE3/1 and RE4/1 chambers
Cross section of double gap RPC chamber
Double gap RPC chamber
Thickness RPC chamber is of 25 mm!
Design Patch panel connections for RE3/1
Flat cable connectors
Cooling
connections
Gas connections
LV power connector

## Slide 4
HV connectors
FEB
PP

## Slide 5: Available value “Z” space for RPC RE4/1 chambers
Name of methods to determine the value “Z" | Distance between YE/ 4 and YE/3, mm | Thickness ME4/1 package, mm | Thickness neutron shielding, mm | Distance between YE/ 4 and ME4, mm
Main drawing of the CMS (3D model) | 655 | 504 | 63 | 151
Available value “Z” will be about (655-504-63) = 88 ± 1 mm
BUT
88 ± 1 mm is not enough space for RE4/1 RPC chambers with overlapping!
Because (88 ± 1) – ( 20 + 25+ 5 +25 + 8) = 5 ± 1 mm,
where
The space between ME4/1 and RE4/1 should be a minimum of 20 mm;
Thicknesses of the RE4/1 “on” yoke and “off” yoke is 25 mm;
The value gap is 5 mm;
Thickness Alu mounting plates is 8 mm.
Thus, we have the available space for RE4/1 chambers without overlapping!

## Slide 6
655 mm
between YE3 and YE4
YE3
YE4
RE 4/1
ME4/1
63 mm
thickness N. shield.
504 mm
Cross section YE3 and YE4
20 mm!!!
Clearance between ME4/1 and RE4/1
88 mm
between ME4/1 and N.shield.
FEB
23 mm
between FEB and N.shield

## Slide 7
Dimensions of RE41 chambers without overlapping