4

3

2

1

CERN Geographic

Information System

0

8

16

4

Mètres

CERN, SITG

02/03/2020

±

B904 - 1st floor

1

CERN Geographic

Information System

0

8

16

4

Mètres

CERN, SITG

02/03/2020

±

1 : storage area

Drops of water all along the beam

30 litres in less than 2 days

1 : storage area

The leak comes from the sky domes so the water follows the beams.

B904 - ground floor

2

3

4

CERN Geographic

Information System

0

8

16

4

Mètres

CERN, SITG

02/03/2020

±

Difficult to evaluate the quantity and the damage caused by the water on the clean room.

2 : GEM clean room

3 : GEM working area

Spare RPC detectors totally wet

4 : RPC working area