Yong Ban, Hyunchul Kim, Ian Crotty, Taejeong Kim  updated at 20.03.08    RE1/1 component list

| Item No | Component |  | Description or SCEM No or Drawing No. | Quantity per chamber | Quantity for 6 chamber | Consumed | In stock | To order | Check Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gas gaps (list) | Top narrow | KODEL(DN) | 1 | 6 | 1 | 8 | 0 |  |
| 2 |  | Top wide | KODEL(DN) | 1 | 6 | 1 | 8 | 0 |  |
| 3 |  | Bottom | KODEL(DN) | 1 | 6 | 1 | 8 | 0 |  |
| 4 | Chamber box mechanics | Al frame bars | KODEL(DN) | 4 | 24 | 4 | 24 | 0 |  |
| 5 |  | Al panels (top and bottom) | KODEL(DN) | 2 | 12 | 2 | 12 | 0 |  |
| 6 |  | Patch panel Rem: need modifying | KODEL(DN) | 1 | 6 | 1 | 5 | 0 |  |
| 7 |  | L shape locators pieces inside chamber | 6 different lengths and shape KODEL(DN) | 6 | 36 | 6 |  | 0 |  |
| 8 |  | Top mounting piece | KODEL(DN) | 1 | 6 | - | - | 0 |  |
| 8-1 |  | Long |  |  | 3 | 0 | 3 | 0 |  |
| 8-2 |  | Short |  |  | 3 | 0 | 3 | 0 |  |
| 9 |  | bottom mounting pieces | KODEL(DN) | 2 | 12 | - | 12 | 0 |  |
| 9-1 |  | Long |  |  | 6 | 0 | 8 | 0 |  |
| 9-2 |  | Short |  |  | 6 | 0 | 8 | 0 |  |
| 10 |  | Gap fixation plastic pieces | KODEL(DN) | 6 | 36 | - | - | 0 |  |
| 10-1 |  | Narrow pieces(top, bottom) |  | 4 | 24 | 4 | 28 | 0 |  |
| 10-2 |  | Wide pieces(middle) |  | 2 | 12 | 2 | 12 | 0 |  |
| 11 | Read-out strips | Read-out strips | KODEL(DN) | 2 | 12 | - |  | 0 |  |
| 11-1 |  | Top |  | 1 | 6 | 1 | 2 | 0 |  |
| 11-2 |  | Bottom |  | 1 | 6 | 1 | 2 | 0 |  |
| 12 |  | Copper signal ground sheets (corner need to be extended) Remark : below table! | KODEL(DN) For mylar : SCEM 44.84.50.390.0 | 8 | 48 | - | - | Make! |  |
| 12-1 |  | Top |  | 4 | 24 | 4 | 4 | Make >20! |  |
| 12-2 |  | bottom |  | 4 | 24 | 4 | 8 | Make >16! |  |
| 13 | Cooling system | Cooling and FEB support | KODEL(DN) | 1 set | 6 | 1 set | 6 set | 0 |  |
| 13-1 |  | Copper board |  | 2 | 12 | 2 | 2 | 0 |  |
| 13-2 |  | U shape copper tube |  | 1 | 6 | 1 | 1 | 0 |  |
| 14 |  | Unions for cooling tube at patch panel (Sagana) | 2 / chamber SCEM:41.35.06.513.1 | 2 | 12 | 0 | 12 | 0 |  |
| 15 |  | Red insulation sleeves on copper pipe(To avoid contact with FEB) | SCEM: ? KODEL? Inner 8.5mm, outer : 11.3mm, Length:175mm | 1 | 6 | 1 | 6 | 0 |  |
| 16 | Insulation Mylar sheets | Insulation Mylar between copper ground sheets and gas-gaps (inside the gaps) | 3 pieces: bottom, top up and top down) thickness : KODEL(DN) | 3 | 18 | 3 | 15 | 0 |  |
| 17 |  | Insulation Mylar between copper ground and Al panel (Should be larger than gas gap area) | 2 pieces: bottom and top thickness : KODEL(DN) Scem 44.84.50.390.0 175 micron | 2 | 12 | 2 | 0 | 10 make! |  |
| 18 |  | Insulation Mylar attached to the edge surface of the L shape fixation pieces | 5 pieces/chamber thickness: CERN(DN) Scem 44.84.50.390.0 | 6 | 30 | 6 | 0 | 24 make! |  |
| 19 |  | Insulation Mylar between FEB and copper board. (DO NOT USE PVC !! USE non Halogen.) | 198.5*117mm thickness : ~ 1mm KODEL(DN) | 4 | 24 | 4 | 0 | 20 make! |  |
| 21 | Screen | Up screen box (higher) | KODEL(DN) | 1 | 6 | 1 | 5 | 0 |  |
| 22 |  | Down screen box | KODEL(DN) | 1 | 6 | 1 | 5 | 0 |  |
| 23 |  | Al plates cover slots | KODEL(DN). | 1 set | 6 set | - | - | 0 |  |
| 23-1 |  | L-PP |  | 1 | 6 | 1 | 5 | 0 |  |
| 23-2 |  | R-PP |  | 1 | 6 | 1 | 5 | 0 |  |
| 23-3 |  | L-wing |  | 1 | 6 | 1 | 5 | 0 |  |
| 23-4 |  | R-wing |  | 1 | 6 | 1 | 5 | 0 |  |
| 24 | Electronics | FEB boards | 4 FEB/chamber | 4 | 24 | 4 | 6 | 14 |  |
| 25 |  | LV board | 1 /chamber | 1 | 6 | 1 | 2 | 3 |  |
| 26 |  | Adapter boards | 2 / FEB | 8 | 48 | 4 | 0 | 48 |  |
| 27 | Temperature sensor | Temperature sensor (lemo type socket, plug, sensor) | EDH 2655080 | 1 set | 6 set |  |  | ? |  |
| 27-1 |  | Cable plug | SCEM:09.31.28.001.8 | 1 | 6 | 0 | 2 | 5 |  |
| 27-2 |  | Chassis socket | SCEM:09.31.28.004.5 | 1 | 6 | 0 | 2 | 5 |  |
| 27-3 |  | sensor | SCEM | 1 | 6 |  |  | ? |  |
| 27-4 |  | Cable | SCEM |  |  |  |  | ? |  |
| 27 | Gas System in chmabers | Gas pipe connecting gas-gaps. PE dia. 6x4mm | 6 pieces / chamber, total length ? EDH 2588177 | 1 set (6 pieces) | 6 set (36 pieces) | 1 set (6 pieces) | 0 | 5 set make! |  |
| 27-2 |  | PE pipe | Angst Phister edh2588177 | ~4m | ~24m | ~4m? | >0.6*95=57m | 0 |  |
| 28 |  | Black Velcro to fix gas tubes inside chamber (long 2+short 4) | 6 pieces / chamber SCEM:04.76.81.320.3 CERN(DN) | 1 set | 6 set | - | OK | 5 set make! |  |
| 28-1 |  | Long veclro |  | 2 | 12 | 2 | 0 | 10 make! |  |
| 28-2 |  | Short velcro |  | 4 | 24 | 4 | 0 | 20 make! |  |
| 29 | Gas distribution box | Gas distribution box cover | KODEL(DN) | 1 | 6 | 1 | 2 | 0 |  |
| 30 |  | Gas distribution box frame | KODEL(DN) | 1 | 6 | 1 | 2 | 0 |  |
| 31 |  | Impedance gas tube connection T piece | 2 pieces / chamber Italy ? | 2 | 10 | 2 | 1 | 7 |  |
| 32 |  | Impedance gas tube connection L piece | 2 pieces / 6 chambers | - | 2 | 0 | 4 | 0 |  |
| 33 |  | Normal gas tube connection T piece | 2 pieces / chamber | 2 | 10 | 2 | 4 | 4 |  |
| 34 |  | Normal gas tube connection L piece | 2 pieces / 6 chambers | - | 2 | 0 | 10 | 0 |  |
| 35 |  | Long brass gas tube connector in distribution Box | 2*2, per chamber SCEM: Modified legris | 4 | 24 | 4 | 12 |  |  |
| 36 |  | Short brass gas tube connector in distribution Box | 2*2 per chamber SCEM: | 4 | 24 | 4 | 12 |  |  |
| 37 |  | Gas tubes in the distribution box | 8 pieces / box (DN) | 8 | 48 | 8 | 0 | 40 make ! |  |
| 38 |  | PE pipes for gas blocking block (top : 2, bottom : 2) | 4 pieces / chamber | 4 | 24 | 4 | 22 | 0 |  |
| 39 | HV and ground | HV connector | 1 / chamber SCEM: | 1 | 6 | 1 | 0 | 5 |  |
| 40 |  | HV and ground cable screen sleeves | SCR.TIN.COPPER SHEATH.INT.D. 5mm Length 1.7m SCEM:04.01.33.050.5 | 1.7m | 10.2m | 1.7m? | >3.33m | >7m |  |
| 41 |  | Heat shrinkable tubing halogen free - black | SCEM: 04.86.62.120. Lengths = 375mm | 375mm | 2250mm | 375mm? | 440mm | >2m |  |
| 42 |  | For Ground flexible wires (to HV screen sleeves, HV, LV and copper sheet), attached terminal | In green, blue, black and white color CERN(DN) | 1 set | 6 sets | 1 sets | OK | 0 |  |
| 42-1 |  | Flexible wire – cross-sectional area : – fine insulation - Green | Mm, diameter : 1.80mm SCEM :04.01.61.610.8 | 1 | 6 | 1 piece | ~100m | 0 |  |
| 42-2 |  | Flexible wire – cross-sectional area : 0.50mm^2 – fine insulation - Blue | 170mm, diameter : 1.80mm SCEM:04.01.61.665.3 | 1 170mm | 6 1020mm | 1 piece | ~100m | 0 |  |
| 42-3 |  | Flexible wire – cross-sectional area : 0.50mm^2 – fine insulation - Black | 275mm, diameter : 1.80mm SCEM:04.01.61.640.2 | 1 275mm | 6 1650mm | 1 piece | ~100m | 0 |  |
| 42-4 |  | Flexible wire – cross-sectional area : 0.50mm^2 – fine insulation - White | 290mm, diameter : 1.80mm SCEM:04.01.61.680.4 | 1 290mm | 6 1740mm | 1 piece | ~100m | 0 |  |
| 42-5 |  | Solder-type lugs | 04.76.26.420.3 (inner diameter:4.3mm) or 04.76.26.424.9 (inner diameter:5.3mm) | 4 | 24 | 0 | 0 | 24 |  |
| 43 |  | Bindings (PANDUIT) –felt-tip pen (Cable tie) for mounting the HV cable on the frame | SCEM:04.76.81.706.2 04.76.81.*.* -> OK | 1 | 6 | 1 | >6 | 0 |  |
| 44 | Signal cable | Coaxial cable 50 Ohm – type C-50-1-1 | (193*16*6+233*16*2)mm=26m /chamber SCEM: 04.61.11.105.3 | 128 (total 26 m) | 768 (total 156 m) | 128 (total 26m) | <140m | Make! Length OK |  |
| 45 |  | Ferrules – braid termination – crimping type (We will change the connecting methods) | 2 pieces / wire SCEM: 09.46.11.195.9 | 256 | 1536 | 256 | <500 | 1026+174 |  |
| 46 | Flat cable and connector | 40 wire twisted pair flat cables for IDC – pitch 1.27 mm | 8 pieces per chamber; length ~ 3.3m SCEM:04.21.22.440.0 | 8 (~3.3m) | 48 (~19.8m) | 8 (~3.3m?) | >100m | 0 |  |
| 47 |  | 40 pin flat cable connector – plug connector (FEB end of flat cable) | 8 per chamber; SCEM:09.55.04.540.4 | 8 | 48 | 48 | 20 | 0 |  |
| 47-2 |  | Extractor (for first mount) | SCEM:09.55.04.540.4 | 8 | 48 | 48 | 20 | 0 |  |
| 47-3 |  | Boucle anti-traction – metal (for second mount. metal) | SCEM:09.55.04.740.8 | 8 | 48 | 48 | 60 | 0 |  |
| 47-4 |  | W. round flat cable plug extractor – lever (2 pieces) | SCEM:09.55.04.610.7 | 16 | 96 | 96 | 323 | 0 |  |
| 47-5 |  | W. round flat cable plug extractor – pin (2 pieces) | SCEM:09.55.04.610.7 | 16 | 96 | 96 | 334 | 0 |  |
| 48 |  | 40 pin flat cable connector - socket connector – 2.54*2.54mm (patch panel end of flat cable) | 8 per chamber; SCEM:09.55.03.340.4 TYPE 3M : 3417-6600 | 8 | 48 | 48 | 0 | >8 (for spare) |  |
| 48-2 |  | Couvercle (for first mount) | SCEM:09.55.03.340.4 3Mtype: 3417-6600 | 8 | 48 | 48 | 7 | >1 (for spare) |  |
| 48-3 |  | Boucle anti-traction (for second mount) | SCEM:09.55.03.440.1 3Mtype: 3448-3040 | 8 | 48 | 48 | 0 | >8 (for spare) |  |
| 48-4 |  | Adhesive fasteners for flat cables | Type: 76mm length SCEM:04.21.19.300.8 | 4 | 24 | 6 | 10 | >20 |  |
| 49 | LV cable and connector | 26 wire flat cable (LV and DCS) | 1 pieces per chamber; length = 1670 mm,~1.7m SCEM:04.21.22.334.1 | 1.7m | 10.2m | 1.7m? | OK | >11m make! |  |
| 50 |  | 26 pin flat cable connector –socket connector – 2.54*2.54mm | 5 per chamber; SCEM:09.55.03.326.2 TYPE 3M : 3399-6600 | 5 | 30 | 5 | 40 | 0 |  |
| 50-2 |  | Couvercle (for first mount) | SCEM:09.55.03.326.2 | 5 | 30 | 5 | 20 | 10 |  |
| 50-3 |  | Boucle anti-traction (for second mount) | SCEM:09.55.03.426.9 | 5 | 30 | 5 | 10 | 20 |  |
| 51 | FEB and cooling system | Hexagon socket head cap screws to fix FEB on copper board (rounded) | Type:M3by16-1348779 SCEM:47.62.68.036.0 | 16 (= 4*4) | 96 (+others=192) |  | 197 | >100 (rare) |  |
| 52 |  | Insulation nut (white, over) | Type:M3-1400401 SCEM: | 4*4=16 | 96 (+ others =114) |  | 76 | >38 |  |
| 53 |  | Hexagon prevailing torque type lock nuts for FEB fixing (under) | Type: M3-1242377 SCEM:47.56.20.030.1 | 16 | 96 (+others =192) |  | 195+1 | >100 (rare) |  |
| 53-2 |  | Insulation red washer for lift off FEB (under) | Type: SCEM: | 4*2*4+4*4=48 | 288 |  | >300 (old) | 0 |  |
| 54 | LV board | Slotted cheese head screws for LV board (white, nylon) | Type:M3 by 8-1401181 SCEM:47.63.15.308.6 | 3 | 18 |  | 93+5(old) | 0 |  |
| 55 |  | Insulating spacers for lift off LV board (white) | Type: M6 by 10 SCEM:06.61.91.300.6 | 3 | 18 |  | 13 | >5 |  |
| 56 |  | Nut for lift off LV board (White) | Type:M3-1400401 SCEM:; | 3 | 18 |  | Ref. 52 | Ref. 52 |  |
| 56-2 |  | Hexagon socket head cap screws from Al panel(rounded) | Type:M3 by 6 SCEM:47.62.68.031.5 | 3 | 18 |  | 0 | 18 |  |
| 57 | Al panel (main frame) | Hexagon socket countersunk head flat screws for Al frame, (Top : 21, bottom : 24) | Type: M6 by 10-1100580 SCEM:47.62.42.100.3 A4 quality | 45 | 270 |  | 301 | 0 |  |
| 58 | Screen (cover) | Hexagon socket head cap screws for cover (6+12+8+8=34) | Type: M4 by 5-1208047 SCEM: | 34 | 204 |  | 266+1 | 0 |  |
| 58-2 |  | Not flat washers for cover(special!) (6+12+8+8=34) changed to outer diameter | Type: M4 (1250140) SCEM:47.78.15.004.2 | 34 | 204 |  | 400+13 | 0 |  |
| 58-3 |  | Hexagon socket countersunk head flat screws for low rl | Type: M6 by 16-1235362 SCEM:47.62.42.116.5 | 3 | 18 |  | Ref. 59 | Ref. 59 |  |
| 59 | Patch panel | Hexagon socket countersunk head flat screws for patch panel | Type: M6 by 16-1235362 SCEM:47.62.42.116.5 | 3 | 18 (+others 36) |  | 93 | 0 |  |
| 60 | Mounting pieces | Hexagon socket countersunk head flat screws for low r mounting guide pin | Type: M4 by 16 SCEM:47.62.42.036.4 | 4 | 24 |  | 50 | 0 |  |
| 60-2 |  | Hexagon socket countersunk head flat screws for High R mounting brackets | Type: M4 by 10-1235192 SCEM:47.62.42.030.0 | 6 | 36 |  | 100 | 0 |  |
| 60-3 |  | Adding components for low r mounting guide pin |  | 4 | 24 |  |  |  |  |
| 61 | Flat signal cable connector | Screw, nut, washer for flat signal cable |  | 16 set | 96 set |  |  | 0 (61-2rare) |  |
| 61-1 |  | Hexagon socket head cap screws (rounded) | Type:M3by16-1348779 SCEM: | 16 | 96 |  | Ref. 51 | Ref. 51 |  |
| 61-2 |  | Hexagon prevailing torque type lock nuts | Type: M3 SCEM:47.56.20.030.1 | 16 | 96 |  | Ref. 53 | Ref. 53 |  |
| 61-3 |  | Plain washers /– stainless steel | Type: M3-1253190 SCEM:47.78.15.003.3 | 32 | 192 |  | >300 | 0 |  |
| 62 | L shape bar | Hexagon socket head cap screws (rounded) for L shape fixation pieces inside chamber | Type: M4 by 6-1575252 SCEM:47.62.68.041.3 | 12 (+4) | 72 (+others=96) |  | 234 | 0 |  |
| 63 | Chamber GND point | Screw and nuts for chamber ground point |  | 1 set | 6 set |  | 6 set | 0 |  |
| 63-1 |  | Hexagon socket head cap screws (M5 by 20) | Type: M5 by 20-1349007 SCEM: | 1 | 6 |  | 100 | 0 |  |
| 63-2 |  | Hexagon nuts (BN 637) | Type: M5-1242393 SCEM:47.43.77.050.9 | 1 | 6 |  | 99 | 0 |  |
| 63-3 |  | Hexagon nuts(simple) (BN 628) | Type:M5-1241486 | 1 | 6 |  | 98 | 0 |  |
| 64 | Gas box | Hexagon socket countersunk head flat screws for gas box | Type: M4 by 8-1235184 SCEM:47.62.42.028.4 | 3 | 18 |  | 98 | 0 |  |
| 64-2 |  | Hexagon socket head cap screws (rounded) for gas box cover | Type: M4 by 6 SCEM:47.62.68.041.3 | 4 | 24 |  | Ref 62 | Ref. 62 |  |
| 65 |  | Hexagon socket headless screws with beveled edge for gas box (stainless-steel) | Type: M4 by 4 SCEM:47.62.87.155.8(with bevelled edge) Or 47.62.88.151.8(with cone points) | 16 | 96 (+others=120) |  | 27 | 100 |  |
| 65-2 |  | Hexagon socket headless screws with beveled edge for bottom mounting piece(stainless-steel) | Type: M4 by 4 SCEM:47.62.87.155.8 | 4 | 24 |  | Ref. 65 | Ref. 65 |  |
| 66 | Consuming materials | Industrial tapes, self-adhesive, copper foil (narrow) | width 12.7 mm SCEM: 04.95.20.112.8 | 1 | 1 |  | 1 | 0 |  |
| 67 |  | Conductive Copper tape (wide) | Type: width : 50mm From KODEL | 5*5*8= 200cm2 | 1200 cm2 | ~200 cm2 | >1200cm2 | OK! |  |
| 68 |  | Soldering tin | Brasure SN/PB+AG 62/36+2 F.1,2 SCEM: 29.20.01.362.9 | 1 | 1 |  | 2 | 0 |  |
| 69 |  | Flux (berol) | Type: green bottle SCEM:29.30.01.110.0 | 1 | 1 |  | 1 | 0 |  |
| 70 |  | Hot melt bar | Type: SCEM | 1 | 1 |  | >1 | 0 |  |
| 71 |  | For cleaning | SCEM | - | - | - | - | 0 |  |
| 71-1 |  | IPA |  | 1 | 1 |  | 1 | 0 |  |
| 71-2 |  | Ethyl alcohol |  | 1 | 1 |  | 1 | 0 |  |
| 71-3 |  | Acestone |  | 1 | 1 |  | 1 | 0 |  |
| 72 |  | Industrial tapes, double-sided self adhesive paper | Width : 20mm SCEM 04.95.60.225.0 | 1 | 1 |  | >1 | 0 |  |
| 73 |  | Electrical insulating tapes, self-adhesive PVC (red) for cooling part | Width: 25mm SCEM:04.94.30.396.3 | 1 | 1 |  | 2 | 0 |  |
| 74 |  | Industrial tapes, self-ahesive crepe paper-low adherence (paper tape) | Width : 25mm SCEM:04.95.45.225.0 | 1 | 1 |  | 2 | 0 |  |
| 75 |  | Industrial tapes, self-ahesive crepe paper-low adherence (paper tape) | Width : 38mm SCEM:04.95.45.238.5 We need? |  |  | 0 | 2 | 0 |  |
| 76 |  | Industrial tapes, self-adhesive, aluminium foil (Aluminium tape) | Width : 50mm SCEM:04.95.20.250.9 | 1 | 1 |  | 1 | 0 |  |
| 77 |  | Self-adhesive tapes for packing (scotch tape for insulation of the HV block part (brown)) | Width : 50mm SCEM:54.21.10.505.8 | 1 | 1 |  | 1 | 0 |  |
| 78 |  | Paper for cleaning |  | 1 | 1 |  | 2 | 0 |  |
| 79 |  | Electrical isulating tapes, self-adhesive polyester(3M yellow tape) | 04.94.20.225.6 width 25mm | 1 | 1 |  | 1 | 0 |  |

Remark

12 : (comments for mass production: 1. don’t cut corner of the sheets, 2. don’t cut off the HV block region, but cut it to make a roof for protection; 3. bottom sheet should be wider, in order to fold it over to colder with top sheets) - We need at least, mylar piece

** : How about changed to 04.94.10.119.2? Dielectric strength : 23 kV

04.94.60.B - ELECTRICAL INSULATING COMPOUNDS, BLACK, IN TAPE FORM

Technical information : product manager

Oredered list

EDH : 2588170

41.35.06.513.1 +12 PC

09.55.04.540.4 +20 PC (40PC none)

EDH : 2643434

09.55.04.740.8 +60 PC

All componeents must not be magnetic!!!(so steel, NO!!!)

04.94.10 - ELECTRICAL INSULATING TAPES, NON SELF-ADHESIVE f.H.V.,POLYCHLOROPRENE

Technical information : product manager

THICKNESS        : 0.76 mm

SPECIFICATIONS   : Dielectric strength : 23 kV

Heat class A        : -55 to +100°C

CHARACTERISTICS  : Ozone-resistant, even when stretched to 300%

Excellent self-welding without excessive elongation

MAKE             : 3M, type SCOTCH 23

IN ROLLS OF      : 9.14 m

| Buy | SCEM Code | Unit | Unit Price | WIDTH mm |
| --- | --- | --- | --- | --- |
|  | 04.94.10.119.2 | PC | 9.8 | 19 |

*** quality stadard : A4 is good!

Ordered list

Consumed, on stock, to order, check date

(at Monday morning, I will check the real quantity of the all components, after this we will decide components to order.