LV cables for Institutes and GIF

Molex Connectors.

X2 Molex 8 pin connectors						Ian Crotty  21 July 2016

Molex, conductive braid, polymer braid, ground wire and lug.

Heat shrink dia 9-3 mm

Molex with ground wire connected to conductive braid.

The 4 pins in the Molex body

Splice and Transparent heat shrink to cover labels

Transparent heat shrink to cover labels

Splice 600mm from Molex connectors

Heat shrink dia 12-4mm

D “Sub” connector

37 pins

Cable Nos

Molex Con.	A	B

3	7

2	6

4	8

1	5

“D” Sub housing.

Component List

- Heat shrink dia 9-3 mm

- Heat shrink dia 12-4 mm

- Transparent heat shrink (for labels) dia 12mm

x5 on D Sub

x5 on each of Molex end.

- Polymer braid dia 6mm

- Conductive braid dia 6mm

- Molex connectors

- “D” Sub connectors 37c

- Ground wire (0.5mm2) black

- Lug dia. M6 for ground wire

Full component list is available here;

http://project-cms-rpc-endcap.web.cern.ch/project-cms-rpc-endcap/rpc/Services/Cables/HV&LV/LV/GenericLV/Components.xlsx

D Sub Connector SCEM 09.21.20.460.4

Optional;

Molex and pins;

Molex pin

Radio Spares Ref 237-6747

9.70Euro for more than 25 (Prices from 2004)

Molex 8 pin body

233-2775

Series Number 43025 ( printed on body)

http://rpc-cms-re4-upscope.web.cern.ch/rpc-cms-re4-upscope/RPC/GIFPlusPlus/Services/LV/CAENA1513Adoc/LVSchematic.pptx

This doc is available here;

http://project-cms-rpc-endcap.web.cern.ch/project-cms-rpc-endcap/rpc/Services/Cables/HV&LV/LV/GenericLV/LVCablesGIFandInstitutes.pdf