LV Molex Connectors Chamber side.

Use the 4 marked pins on each connector.

Length from splice to Connector = 60cm

Use shield braid to shield wires.

SCEM 04.01.33.050.5

Use poly braid to cover wires.

SCEM 04.86.45.024.8 (diam 6)

Crimping tool 241-6299

Extractor 233-3071

2 x Molex connectors

43025 0800

Radiospares

Pins 233-3009

Connector 233-2775

LV Cable 8x0.75FMOH2M1-300

IEC 332-3-24 CERN IS23

Digital -ve

Digital +ve

Analog +ve

Analog -ve

Earth straps L= 150mm

terminated with lugs dia.6mm

SCEM 04.76.22.306.0

Ian Crotty

15 .07 2016

Cable 4

Cable 2

Cable 8

Cable 5

Cable  7

Cable 6

Cable 3

Cable 1

Cable 4/3 L=600mm

Cable 4/2 L= 600mm

A

B

AB

Analoge +ve37

Analoge -ve26

Digital +ve4 8

Digital-ve15