## CalibrationThermo8April2021
=~=~=~=~=~=~=~=~=~=~=~= PuTTY log 2021.04.08 09:23:38 =~=~=~=~=~=~=~=~=~=~=~=
Starting up SPI
Please enter the sampling interval (as an integer number of seconds):
You have selected to read the temperatures every 300 seconds.
|  |  |  | If you are unhappy with your choice | simply reset the Arduino by pressing the little button. | [5 empty] | 19.725
| Time | time | Real time | Time | [20 empty] | Average
| [secs] | [mins] |  |  | ch. 01 | Ch . 01 | Ch. 02 |  | Ch. 03 |  | Ch. 04 |  | Ch. 05 |  | Ch. 06 |  | Ch. 07 |  | Ch. 08 |  | Ch. 09 |  | Ch. 10 |  | Temp.
[6 empty] | correction | [18 empty] | [degC
to make
1 | 300 | 5 | ? | 0:00 | 19.49 | 0.235 | 19.73 | -0.005 | 19.55 | 0.175 | 19.59 | 0.135 | 19.62 | 0.105 | 19.63 | 0.095 | 19.73 | -0.005 | 19.9 | -0.175 | 20.14 | -0.415 | 19.87 | -0.145 | 19.725 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
2 | 600 | 10 |  | 0:01 | 19.57 | 0.222 | 19.8 | -0.008 | 19.63 | 0.162 | 19.66 | 0.132 | 19.68 | 0.112 | 19.69 | 0.102 | 19.78 | 0.012 | 19.97 | -0.178 | 20.21 | -0.418 | 19.93 | -0.138 | 19.792 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
3 | 900 | 15 |  | 0:02 | 19.61 | 0.228 | 19.83 | 0.008 | 19.68 | 0.158 | 19.73 | 0.108 | 19.73 | 0.108 | 19.74 | 0.098 | 19.83 | 0.008 | 20.01 | -0.172 | 20.26 | -0.422 | 19.96 | -0.122 | 19.838 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
4 | 1200 | 20 |  | 0:03 | 19.65 | 0.226 | 19.87 | 0.006 | 19.72 | 0.156 | 19.76 | 0.116 | 19.76 | 0.116 | 19.79 | 0.086 | 19.88 | -0.004 | 20.05 | -0.174 | 20.29 | -0.414 | 19.99 | -0.114 | 19.876 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
5 | 1500 | 25 |  | 0:04 | 19.69 | 0.228 | 19.91 | 0.008 | 19.76 | 0.158 | 19.8 | 0.118 | 19.81 | 0.108 | 19.83 | 0.088 | 19.92 | -0.002 | 20.1 | -0.182 | 20.33 | -0.412 | 20.03 | -0.112 | 19.918 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
6 | 1800 | 30 |  | 0:05 | 19.73 | 0.226 | 19.94 | 0.016 | 19.79 | 0.166 | 19.84 | 0.116 | 19.85 | 0.106 | 19.87 | 0.086 | 19.95 | 0.006 | 20.14 | -0.184 | 20.38 | -0.424 | 20.07 | -0.114 | 19.956 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
7 | 2100 | 35 |  | 0:06 | 19.77 | 0.222 | 19.98 | 0.012 | 19.83 | 0.162 | 19.88 | 0.112 | 19.89 | 0.102 | 19.91 | 0.082 | 19.99 | 0.002 | 20.16 | -0.168 | 20.4 | -0.408 | 20.11 | -0.118 | 19.992 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
8 | 2400 | 40 |  | 0:07 | 19.81 | 0.219 | 20.01 | 0.019 | 19.87 | 0.159 | 19.92 | 0.109 | 19.93 | 0.099 | 19.95 | 0.079 | 20.03 | -0.001 | 20.2 | -0.171 | 20.43 | -0.401 | 20.14 | -0.111 | 20.029 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
9 | 2700 | 45 |  | 0:08 | 19.83 | 0.232 | 20.06 | 0.002 | 19.9 | 0.162 | 19.95 | 0.112 | 19.95 | 0.112 | 19.98 | 0.082 | 20.06 | 0.002 | 20.24 | -0.178 | 20.47 | -0.408 | 20.18 | -0.118 | 20.062 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
10 | 3000 | 50 |  | 0:09 | 19.88 | 0.221 | 20.09 | 0.011 | 19.94 | 0.161 | 19.99 | 0.111 | 19.99 | 0.111 | 20.02 | 0.081 | 20.1 | 0.001 | 20.28 | -0.179 | 20.51 | -0.409 | 20.21 | -0.109 | 20.101 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
11 | 3300 | 55 |  | 0:10 | 19.92 | 0.221 | 20.12 | 0.021 | 19.99 | 0.151 | 20.04 | 0.101 | 20.03 | 0.111 | 20.06 | 0.081 | 20.13 | 0.011 | 20.32 | -0.179 | 20.55 | -0.409 | 20.25 | -0.109 | 20.141 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
12 | 3600 | 60 |  | 0:11 | 19.95 | 0.23 | 20.16 | 0.02 | 20.03 | 0.15 | 20.07 | 0.11 | 20.07 | 0.11 | 20.1 | 0.08 | 20.17 | 0.01 | 20.36 | -0.18 | 20.59 | -0.41 | 20.3 | -0.12 | 20.18 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
13 | 3900 | 65 |  | 0:12 | 20 | 0.222 | 20.21 | 0.012 | 20.07 | 0.152 | 20.12 | 0.102 | 20.11 | 0.112 | 20.14 | 0.082 | 20.21 | 0.012 | 20.4 | -0.178 | 20.63 | -0.408 | 20.33 | -0.108 | 20.222 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
14 | 4200 | 70 |  | 0:13 | 20.04 | 0.224 | 20.24 | 0.024 | 20.11 | 0.154 | 20.17 | 0.094 | 20.15 | 0.114 | 20.19 | 0.074 | 20.25 | 0.014 | 20.45 | -0.186 | 20.67 | -0.406 | 20.37 | -0.106 | 20.264 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
15 | 4500 | 75 |  | 0:14 | 20.07 | 0.229 | 20.28 | 0.019 | 20.15 | 0.149 | 20.21 | 0.089 | 20.18 | 0.119 | 20.22 | 0.079 | 20.29 | 0.009 | 20.48 | -0.181 | 20.7 | -0.401 | 20.41 | -0.111 | 20.299 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
16 | 4800 | 80 |  | 0:15 | 20.12 | 0.216 | 20.32 | 0.016 | 20.18 | 0.156 | 20.24 | 0.096 | 20.22 | 0.116 | 20.26 | 0.076 | 20.32 | 0.016 | 20.52 | -0.184 | 20.73 | -0.394 | 20.45 | -0.114 | 20.336 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
17 | 5100 | 85 |  | 0:16 | 20.15 | 0.22 | 20.35 | 0.02 | 20.22 | 0.15 | 20.27 | 0.1 | 20.25 | 0.12 | 20.29 | 0.08 | 20.36 | 0.01 | 20.55 | -0.18 | 20.77 | -0.4 | 20.49 | -0.12 | 20.37 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
18 | 5400 | 90 |  | 0:17 | 20.19 | 0.214 | 20.38 | 0.024 | 20.25 | 0.154 | 20.31 | 0.094 | 20.29 | 0.114 | 20.32 | 0.084 | 20.4 | 0.004 | 20.58 | -0.176 | 20.8 | -0.396 | 20.52 | -0.116 | 20.404 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
19 | 5700 | 95 |  | 0:18 | 20.21 | 0.227 | 20.42 | 0.017 | 20.29 | 0.147 | 20.34 | 0.097 | 20.33 | 0.107 | 20.36 | 0.077 | 20.42 | 0.017 | 20.62 | -0.183 | 20.83 | -0.393 | 20.55 | -0.113 | 20.437 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
20 | 6000 | 100 |  | 0:19 | 20.25 | 0.22 | 20.45 | 0.02 | 20.32 | 0.15 | 20.37 | 0.1 | 20.36 | 0.11 | 20.39 | 0.08 | 20.46 | 0.01 | 20.65 | -0.18 | 20.87 | -0.4 | 20.58 | -0.11 | 20.47 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
21 | 6300 | 105 |  | 0:20 | 20.29 | 0.216 | 20.48 | 0.026 | 20.35 | 0.156 | 20.41 | 0.096 | 20.39 | 0.116 | 20.43 | 0.076 | 20.5 | 0.006 | 20.69 | -0.184 | 20.9 | -0.394 | 20.62 | -0.114 | 20.506 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
22 | 6600 | 110 |  | 0:21 | 20.32 | 0.213 | 20.51 | 0.023 | 20.38 | 0.153 | 20.44 | 0.093 | 20.42 | 0.113 | 20.46 | 0.073 | 20.52 | 0.013 | 20.71 | -0.177 | 20.92 | -0.387 | 20.65 | -0.117 | 20.533 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
23 | 6900 | 115 |  | 0:22 | 20.35 | 0.219 | 20.55 | 0.019 | 20.42 | 0.149 | 20.47 | 0.099 | 20.46 | 0.109 | 20.51 | 0.059 | 20.56 | 0.009 | 20.74 | -0.171 | 20.96 | -0.391 | 20.67 | -0.101 | 20.569 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
24 | 7200 | 120 |  | 0:23 | 20.38 | 0.217 | 20.58 | 0.017 | 20.45 | 0.147 | 20.49 | 0.107 | 20.49 | 0.107 | 20.52 | 0.077 | 20.59 | 0.007 | 20.78 | -0.183 | 20.98 | -0.383 | 20.71 | -0.113 | 20.597 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
25 | 7500 | 125 |  | 0:24 | 20.4 | 0.223 | 20.6 | 0.023 | 20.47 | 0.153 | 20.52 | 0.103 | 20.52 | 0.103 | 20.56 | 0.063 | 20.62 | 0.003 | 20.8 | -0.177 | 21.01 | -0.387 | 20.73 | -0.107 | 20.623 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
26 | 7800 | 130 |  | 0:25 | 20.43 | 0.221 | 20.63 | 0.021 | 20.5 | 0.151 | 20.55 | 0.101 | 20.55 | 0.101 | 20.58 | 0.071 | 20.64 | 0.011 | 20.83 | -0.179 | 21.04 | -0.389 | 20.76 | -0.109 | 20.651 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
27 | 8100 | 135 |  | 0:26 | 20.45 | 0.229 | 20.66 | 0.019 | 20.53 | 0.149 | 20.59 | 0.089 | 20.58 | 0.099 | 20.6 | 0.079 | 20.67 | 0.009 | 20.86 | -0.181 | 21.06 | -0.381 | 20.79 | -0.111 | 20.679 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
28 | 8400 | 140 |  | 0:27 | 20.49 | 0.219 | 20.69 | 0.019 | 20.56 | 0.149 | 20.6 | 0.109 | 20.6 | 0.109 | 20.64 | 0.069 | 20.71 | -0.001 | 20.88 | -0.171 | 21.1 | -0.391 | 20.82 | -0.111 | 20.709 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
29 | 8700 | 145 |  | 0:28 | 20.52 | 0.216 | 20.72 | 0.016 | 20.58 | 0.156 | 20.64 | 0.096 | 20.63 | 0.106 | 20.66 | 0.076 | 20.73 | 0.006 | 20.91 | -0.174 | 21.12 | -0.384 | 20.85 | -0.114 | 20.736 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
30 | 9000 | 150 |  | 0:29 | 20.54 | 0.231 | 20.75 | 0.021 | 20.62 | 0.151 | 20.67 | 0.101 | 20.67 | 0.101 | 20.7 | 0.071 | 20.77 | 0.001 | 20.95 | -0.179 | 21.16 | -0.389 | 20.88 | -0.109 | 20.771 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
31 | 9300 | 155 |  | 0:30 | 20.58 | 0.222 | 20.78 | 0.022 | 20.65 | 0.152 | 20.7 | 0.102 | 20.7 | 0.102 | 20.72 | 0.082 | 20.79 | 0.012 | 20.99 | -0.188 | 21.2 | -0.398 | 20.91 | -0.108 | 20.802 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
32 | 9600 | 160 |  | 0:31 | 20.62 | 0.22 | 20.82 | 0.02 | 20.69 | 0.15 | 20.75 | 0.09 | 20.73 | 0.11 | 20.74 | 0.1 | 20.83 | 0.01 | 21.03 | -0.19 | 21.24 | -0.4 | 20.95 | -0.11 | 20.84 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
33 | 9900 | 165 |  | 0:32 | 20.66 | 0.224 | 20.86 | 0.024 | 20.74 | 0.144 | 20.78 | 0.104 | 20.77 | 0.114 | 20.8 | 0.084 | 20.87 | 0.014 | 21.07 | -0.186 | 21.29 | -0.406 | 21 | -0.116 | 20.884 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
34 | 10200 | 170 |  | 0:33 | 20.7 | 0.22 | 20.89 | 0.03 | 20.77 | 0.15 | 20.83 | 0.09 | 20.79 | 0.13 | 20.83 | 0.09 | 20.9 | 0.02 | 21.12 | -0.2 | 21.33 | -0.41 | 21.04 | -0.12 | 20.92 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0
[6 empty] | Ch01 |  | Ch02 |  | Ch03 |  | Ch04 |  | Ch05 |  | Ch06 |  | Ch07 |  | Ch08 |  | Ch09 |  | Ch10
[5 empty] | Avg corretcion | 0.22271 |  | 0.016529 |  | 0.15418 |  | 0.10388 |  | 0.10976 |  | 0.080647 |  | 0.0074118 |  | -0.17965 |  | -0.40112 |  | -0.11435