## Sheet1
	Temp calibration of 8 new sensors
						11-May-21
						Ian
						Nota the senor 15 and now 20 are bad 25deg or 1.45
	New sensors 12 - 19 are inside Champagne Calib. Box. Sensors 1 - 11 are in the insulated cable tray rig

				Event every 60s
				Was raining in the am, now sun is coming out. Doors are open					Calibration 1st day / Time [s] / Temperature [deg C]

Event recorded in Notepad					Time	Temp Hg.	Temp	Temp	Temp	Termp
			Time	Event No.	[s]	[deg C]	sensor 1	sensor 5	sensor 12	Sensor 19
						in cable tray
						[degC]		[degC]	[degC]

	Start time		1218	0	0		22.50	22.51	23.02	22.95
				1	60		22.51	22.51	23.02	22.94
		11.05.21	1250	2	120	23.2	22.51	22.51	23.02	22.94
		11.05.21		5	300	23.3	22.51	22.51	23.03	22.94
		11.05.21	1256	7	420	23.3	22.52	22.51	23.02	22.94
		11.05.21	1308	19	1140	23.3	22.52	22.52	23.04	22.96
		11.05.21	1328	39	2340	23.4	22.53	22.54	23.11	23.02
		11.05.21	1357	68	4080	23.4	22.55	22.56	23.11	23.02
		11.05.21	1652	243	14580	23.4	22.66	22.68	23.09	23.01
	4.26 hrs		1710	256	15360
	20.18hrs		~0800	1211	72660
256		12.05.21	1102	1333	79980	23.1	22.28	22.29	22.80	22.71	door opened
			1210	1400	84000	23.2	22.37	22.38	22.90	22.81
				1420	85200	23.2	22.41	22.43	22.87	22.79

	s in a day	86400	[s]

						Interruption of data from 256 to 1211 event number !!
	Calibration 8 new sensors / Time [s] / Temperature [degC]					The data also stopped in notepad at 1710 but did not restart next day