## Sheet1
		High Temp run after putty question
						2021-06-04
						Ian

		2 new 1.5kW twin PS 4 June 2021				There is bug in this version MS 365 of ecxcel it " hangs" oftem in the middle of data taking !!
						and tries to save a different file when requesting save.
		2nd run with new PSs				And printa our another file !!!!

						Sensor 19 is hanging from the edge of the bench
				Period 60s

			Event	Voltage	Current	Power	PS	Voltage	Current	Power	PS	temp					Chart Title / Axis Title / Axis Title
		Time	No	Delta SM35-45			Temp	Delta SM 52-30			temp

							ambient
		[s]		[V]	[I]	[W]	[Deg C]	[V]	[I]	[W]	[Deg C]	Sensor	Sensor	Sensor	T3
							5	12	19	LOGO
		0				0				0
	Power off	0	0	0	0	0		0	0	0		22.06	22.55	23.27
		600	10	0	0	0	25.3	0	0	0	26.0	22.09	22.64	23.31	23.4
Power on	CV mode	840	14	25.4	30.0	762		50.8	15.0	762		22.53	22.99	23.53
		1080	18	25.4	29.4	747	28.3	50.8	14.6	742	28.6	27.12	27.42	23.31	34.4
		1800	30	25.4			30.6	50.8			31.1	39.33	39.57	23.50	41.3
Lost ability to write in .ods		2400	40	25.4	27.4	696	33.9	50.8	13.6	691	33.8	48.44	48.54	23.50	49.9
		3000	50	25.4	27.1	688	34.4	50.8	13.5	686	34.9	56.75	56.48	23.74	57.5
Off !!		3600	60	0	0	0		0.0	0	0		63.29	62.54	23.86	62.1	Auto Power off !!
Power back on		4080	68	25.4	26.8	681	35.4	50.8	13.3	676	39.4	61.59	60.12	24.05	60.6	Reset
		4200	70	25.4	26.7	678		50.8	13.3	676		63.02	61.11	23.94	62.5
		4800	80	25.4		0		50.8		0					65.8	Auto Power off !!
		0		25.4		0		50.8		0
		0		25.4		0		50.8		0
		0		25.4		0		50.8		0
		0		25.4		0		50.8		0
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0					Temp vs Time / Time [s] / Temp. [Deg C]
		0				0				0
		0				0				0
		0				0				0
		0				0				0
		0				0				0