## Sheet1
	High Temp run after putty and Interlock question and fix
					2021-06-15
					Ian

	2 new 1.5kW twin PS 4 June 2021

	4nd run with new PSs				And printa our another file !!!!

					Sensor 19 is hanging from the edge of the bench
			Period 60s					Outside tempwerature

		Event	Voltage	Current	Power	PS	Voltage	Current	Power	PS	temp
	Time	No	Delta SM35-45			Temp	Delta SM 52-30			temp

						ambient
	[s]		[V]	[I]	[W]	[Deg C]	[V]	[I]	[W]	[Deg C]	Sensor	Sensor	Sensor	T3
						5	12	19	LOGO
	0				0				0
Power off	0	0	0	0	0	23.0	0	0	0	24.1	23.74	25.05	25.22	27.3	temp vs Time / Time [s] / Temp [deg C]
On	300	5	0	30	0	27.4	0	15	0	27.9
CV mode	600	10	25.7	30.0	771		49.7	15.0	746		28.81	29.81	25.33	23.4
	1200	20	25.7	28.4	730	31.0	49.7	13.7	681	31.5	38.80	39.72	25.36	30.9
	1800	30	25.7	27.7	712	33.4	49.7	13.4	666	34.6	47.83	48.66	25.37	49.9
	2400	40	25.7	27.3	702	34.9	49.7	13.2	656	35.5	56.01	56.62	25.49	57.6
	3000	50	25.7	26.8	689	35.3	49.7	12.9	641	36.1	63.50	63.51	25.58	64.6
	3600	60	25.7	26.4	678	35.5	49.7	12.7	631	37.8	70.31	69.30	25.56	70.4
	4080	68	19.6	20	392		39.5	10	395		75.37	73.04	25.80	74.4
	4200	70	19.6		0		39.5		0		76.13	73.63	25.74
	4800	80	19.6		0		39.5		0
	5400	90	19.6		0		39.5		0
	6000	100	19.6		0		39.5		0		83.49	76.20	25.63
	6600	110	19.6		0		39.5		0
	7200	120	19.6		0		39.5		0
	7800	130	19.6		0		39.5		0
	8400	140	19.6	19.8	388	36.0	39	9.9	386		90.92	77.83	25.58	78
	9000	150	19.6		0				0		95.00	78.00		78.4
	9600	160	19.6	19.7	386	35.8	39	9.9	386	38.9	94.66	78.35	25.56	78.5
OFF	9720	162	0	0	0		0	0	0
	9900	165	0	0	0		0	0	0		94.13	77.34	25.58	76.3
	10200	170	0	0	0	35.4			0	36.3	92.33	74.88	25.69	75.3
	10800	180	0	0	0	33.8	0	0	0	35.4	88.89	70.12	25.68	68.1
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0