## PuttyProbRunLowPower28May2021
Investigate problem of missed data
2021-05-28
| Ian | [5 empty] | Power of approx 1W is applied to each circuit at event number 16.
=~=~=~=~=~=~=~=~=~=~=~= PuTTY log 2021.05.28 12 | 6 | 24 =~=~=~=~=~=~=~=~=~=~=~=
Starting up SPI
Please enter the sampling interval (as an integer number of seconds)
You have selected to read the temperatures every 60 seconds.
If you are unhappy with your choice | simply reset the Arduino by pressing the little button.
0 | 22.67 | 22.57 | 22.7 | 22.67 | 22.63 | 22.67 | 22.61 | 22.56 | 22.41 | 22.34 | 22.17 | 22.31 | 22.17 | 22.25 | 25 | 22.35 | 22.13 | 22.23 | 21.45 | 40.35 | 25 | 25 | 25 | 25 | 0
1 | 22.65 | 22.56 | 22.7 | 22.67 | 22.63 | 22.66 | 22.62 | 22.56 | 22.41 | 22.33 | 22.17 | 22.32 | 22.18 | 22.24 | 25 | 22.35 | 22.13 | 22.23 | 21.65 | 40.36 | 25 | 25 | 25 | 25 | 0
2 | 22.64 | 22.55 | 22.7 | 22.67 | 22.62 | 22.66 | 22.6 | 22.55 | 22.42 | 22.33 | 22.17 | 22.32 | 22.17 | 22.25 | 25 | 22.35 | 22.13 | 22.23 | 21.66 | 40.35 | 25 | 25 | 25 | 25 | 0
3 | 22.65 | 22.56 | 22.7 | 22.67 | 22.63 | 22.65 | 22.6 | 22.55 | 22.41 | 22.33 | 22.17 | 22.32 | 22.17 | 22.25 | 25 | 22.36 | 22.13 | 22.23 | 21.61 | 40.33 | 25 | 25 | 25 | 25 | 0
4 | 22.65 | 22.56 | 22.69 | 22.66 | 22.62 | 22.65 | 22.6 | 22.55 | 22.4 | 22.33 | 22.17 | 22.32 | 22.17 | 22.24 | 25 | 22.35 | 22.13 | 22.24 | 21.61 | 40.37 | 25 | 25 | 25 | 25 | 0
5 | 22.64 | 22.56 | 22.69 | 22.66 | 22.61 | 22.65 | 22.6 | 22.55 | 22.41 | 22.33 | 22.17 | 22.32 | 22.18 | 22.23 | 25 | 22.35 | 22.13 | 22.23 | 21.53 | 40.36 | 25 | 25 | 25 | 25 | 0
6 | 22.64 | 22.56 | 22.7 | 22.65 | 22.62 | 22.64 | 22.59 | 22.55 | 22.4 | 22.33 | 22.17 | 22.32 | 22.18 | 22.24 | 25 | 22.35 | 22.13 | 22.22 | 21.49 | 40.38 | 25 | 25 | 25 | 25 | 0
7 | 22.64 | 22.55 | 22.69 | 22.65 | 22.62 | 22.64 | 22.59 | 22.55 | 22.4 | 22.33 | 22.17 | 22.32 | 22.17 | 22.24 | 25 | 22.35 | 22.14 | 22.23 | 21.41 | 40.38 | 25 | 25 | 25 | 25 | 0
8 | 22.63 | 22.55 | 22.68 | 22.65 | 22.61 | 22.63 | 22.59 | 22.54 | 22.4 | 22.33 | 22.17 | 22.33 | 22.18 | 22.25 | 25 | 22.35 | 22.14 | 22.23 | 21.43 | 40.37 | 25 | 25 | 25 | 25 | 0
9 | 22.63 | 22.55 | 22.67 | 22.65 | 22.6 | 22.63 | 22.58 | 22.54 | 22.39 | 22.32 | 22.16 | 22.32 | 22.18 | 22.24 | 25 | 22.35 | 22.14 | 22.23 | 21.46 | 40.37 | 25 | 25 | 25 | 25 | 0
10 | 22.63 | 22.54 | 22.68 | 22.64 | 22.61 | 22.63 | 22.58 | 22.54 | 22.4 | 22.32 | 22.17 | 22.32 | 22.18 | 22.25 | 25 | 22.36 | 22.14 | 22.23 | 21.53 | 40.34 | 25 | 25 | 25 | 25 | 0
11 | 22.62 | 22.53 | 22.68 | 22.64 | 22.6 | 22.63 | 22.58 | 22.54 | 22.4 | 22.33 | 22.17 | 22.32 | 22.18 | 22.25 | 25 | 22.36 | 22.13 | 22.24 | 21.57 | 40.36 | 25 | 25 | 25 | 25 | 0
12 | 22.63 | 22.54 | 22.67 | 22.64 | 22.6 | 22.63 | 22.57 | 22.54 | 22.39 | 22.33 | 22.17 | 22.33 | 22.18 | 22.26 | 25 | 22.37 | 22.13 | 22.24 | 21.69 | 40.38 | 25 | 25 | 25 | 25 | 0