## Sheet1
			27 05 2021
2nd run			Ian

	2 new 1.5kW twin PS 26 May 2021				27-May-21
			Ian
	2nd run with new PSs							Temp vs time / Time [s] / temp. [Deg C]
					Sensor 19 is hanging from the edge of the bench
			Period 60s

		Event	Voltage	Current	Power	PS	Voltage	Current	Power	PS	temp
	Time	No	Delta SM35-45			Temp	Delta SM 52-30			temp

								ambient
	[s]		[V]	[I]	[W]	[Deg C]	[V]	[I]	[W]	[Deg C]	Sensor	Sensor	Sensor	T3
								5	12	19	LOGO
	0				0				0
Power off	0	0	0	0	0		0	0	0		22.35	22.66	21.76
CV mode	1800	30	16.9	20.0	338	24.4	34.0	10.0	340	25.0	22.36	22.68	21.79	23.8
	2100	35	16.9	19.8	335	25.9	34.0	9.9	337	26.1	24.52	24.71	21.82	26.6
	2400	40	16.9	19.6	331	26.8	34.0	9.8	333	27	27.02	27.2	21.79
	3000	50	26.2	30	786		52.4	15	786		31.67	31.78	21.79	34.4
	3300	55	26.2	29.2	765	30.3	52.4	14.6	765	30.4	36.61	36.52	21.77	39.1
	3600	60	26.2		0		52.4		0		41.72	41.54	21.75
	4200	70	26.2		0		52.4		0		51.27	50.79	21.77
fans on	4800	80	26.2	27.6	723	34.8	52.4	13.8	723	32.9	59.94	58.9	21.78	60.8
	5100	85	26.2	27.4	718	35.3	52.4	13.7	718	33.5	63.98	62.54	21.77	63.1
	5220	87	0	0	0		0	0	0
	#VALUE!	86 data is all wrong again			0				0
	#VALUE!	4 to 9 and ?			0				0
	0				0				0					Putty still running next am at 1120hrs
	0				0				0					All values appear recovered
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0