## Sheet1
	2 new 1.5kW twin PS 26 May 2021				26-May-21
			Ian
	First run with new PSs
					Sensor 19 is hanging fromn the edge of the bench
			Period 60s

		Event	Voltage	Current	Power	PS	Voltage	Current	Power	PS	temp
	Time	No	Delta SM35-45			Temp	Delta SM 52-30			temp

										ambient
	[s]		[V]	[I]	[W]	[Deg C]	[V]	[I]	[W]	[Deg C]	Sensor	Sensor	Sensor	T3
										5	12	19	LOGO
	0				0				0
Power off	0	0	0	0	0	25.3	0	0	0	24.8	21.20	22.14	22.51
CV mode	720	12	8.5	10.0	85		17.1	5.0	86		21.26	22.23	23.10		Temp vs time / Time [s] / Temperatre [Deg C]
	1200	20	8.5	10.0	85		17.1	5.0	86		22.33	23.29	22.87
	1260	21	17.0	20.0	340	27.1	34.2	10.0	342	26.1	22.46	23.42	22.90
	1800	30	17.0	20.0	340	28.4	34.2	10.0	342	27.1	26.74	27.61	22.79
	0		17.0	19.7	335		34.2	9.9	339
	2040	34	26.0	30.0	780	29.1	52.0	15.0	780	28.0	29.05	29.81	22.67
	2160	36	26.0	29.6	770		52.0	14.8	770			31.96
	2520	42	26.0	29.0	754	31.0	52.0	14.5	754	30.1	37.56	38.32	22.19
CV mode	3000	50	26.0	28.4	738	32.8	52.0	14.2	738	31.5	45.48	46.23	22.07
	3300	55	26.0	28.0	728		52.0	14.0	728		50.15	50.76	22.11
PS fans on	3600	60	26.0	27.8	723	34.6	52.0	13.9	723	32.0	54.63	54.81	22.07
	3900	65	26.0	27.6	718	35.1	52.0	13.7	712	32.3	58.87	58.37	21.89	59.60
	4200	70	26.0	27.3	710	35.8	52.0	13.6	707	32.9	62.83	61.83	22.03	62.5
5, 6 ,7 ,8 lines failed	4320	72	26.0		0		52.0		0
	4500	75	26.0	27.0	702		52.0	13.5	702		2.34	61.20		66.1
	0				0				0
	4800	80			0				0		62.57	61.86	22.48	69	lines 5 and 12 are dead			Numbers in red are not 5 and 19
Turned down to "0" volts	4980	83	0.0	0.0	0	35.5	0.0	0.0	0	33.4			22.31	69.5	lines 2 - 10 dead !! 12 & 13, 17 & 18
Cables feel "hot"	0				0				0					Multipl putty failures
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0
	0				0				0

## Sheet2
=~=~=~=~=~=~=~=~=~=~=~= PuTTY log 2021.05.26 15:40:08 =~=~=~=~=~=~=~=~=~=~=~=
Starting up SPI
Please enter the sampling interval (as an integer number of seconds):
You have selected to read the temperatures every 60 seconds.
If you are unhappy with your choice, simply reset the Arduino by pressing the little button.
0: 21.17, 21.10, 21.23, 21.21, 21.20, 21.26, 21.34, 21.45, 21.60, 21.84, 21.99, 22.14, 21.94, 22.30, 25.00, 40.22, 21.89, 22.11, 22.51, 37.60, 25.00, 25.00, 25.00, 25.00, 0.00,
1: 21.17, 21.11, 21.22, 21.21, 21.21, 21.26, 21.34, 21.46, 21.60, 21.84, 21.99, 22.15, 21.94, 22.32, 25.00, 40.14, 21.90, 22.11, 22.56, 35.33, 25.00, 25.00, 25.00, 25.00, 0.00,
2: 21.17, 21.11, 21.24, 21.21, 21.21, 21.27, 21.35, 21.46, 21.61, 21.85, 22.00, 22.16, 21.95, 22.32, 25.00, 41.23, 21.90, 22.11, 22.67, 35.40, 25.00, 25.00, 25.00, 25.00, 0.00,
3: 21.17, 21.12, 21.24, 21.22, 21.21, 21.27, 21.35, 21.46, 21.61, 21.86, 22.01, 22.16, 21.95, 22.33, 25.00, 46.06, 21.90, 22.13, 22.79, 35.47, 25.00, 25.00, 25.00, 25.00, 0.00,
4: 21.19, 21.11, 21.24, 21.23, 21.22, 21.28, 21.36, 21.47, 21.62, 21.86, 22.01, 22.17, 21.97, 22.35, 25.00, 47.15, 21.92, 22.12, 22.60, 35.49, 25.00, 25.00, 25.00, 25.00, 0.00,
5: 21.19, 21.12, 21.24, 21.23, 21.22, 21.29, 21.36, 21.47, 21.63, 21.87, 22.01, 22.18, 21.97, 22.35, 25.00, 47.61, 21.91, 22.14, 22.57, 35.52, 25.00, 25.00, 25.00, 25.00, 0.00,
6: 21.20, 21.13, 21.25, 21.24, 21.23, 21.29, 21.37, 21.47, 21.63, 21.87, 22.03, 22.18, 21.98, 22.35, 25.00, 48.11, 21.93, 22.15, 22.61, 35.55, 25.00, 25.00, 25.00, 25.00, 0.00,
7: 21.19, 21.12, 21.25, 21.23, 21.23, 21.29, 21.37, 21.48, 21.63, 21.89, 22.03, 22.19, 21.98, 22.37, 25.00, 48.52, 21.93, 22.15, 22.63, 35.54, 25.00, 25.00, 25.00, 25.00, 0.00,
8: 21.20, 21.14, 21.26, 21.25, 21.24, 21.30, 21.38, 21.49, 21.65, 21.88, 22.03, 22.20, 21.99, 22.37, 25.00, 48.92, 21.94, 22.16, 22.64, 35.62, 25.00, 25.00, 25.00, 25.00, 0.00,
9: 21.21, 21.15, 21.26, 21.25, 21.24, 21.31, 21.39, 21.50, 21.65, 21.89, 22.05, 22.21, 22.00, 22.39, 25.00, 49.25, 21.95, 22.16, 22.68, 35.65, 25.00, 25.00, 25.00, 25.00, 0.00,
10: 21.21, 21.14, 21.28, 21.25, 21.26, 21.31, 21.38, 21.50, 21.65, 21.90, 22.06, 22.22, 22.01, 22.40, 25.00, 49.49, 21.96, 22.18, 22.77, 35.67, 25.00, 25.00, 25.00, 25.00, 0.00,
11: 21.22, 21.15, 21.28, 21.25, 21.26, 21.31, 21.39, 21.50, 21.66, 21.90, 22.05, 22.22, 22.01, 22.41, 25.00, 50.00, 21.96, 22.19, 22.81, 35.70, 25.00, 25.00, 25.00, 25.00, 0.00,
12: 21.22, 21.15, 21.28, 21.27, 21.26, 21.32, 21.40, 21.51, 21.67, 21.91, 22.06, 22.23, 22.01, 22.42, 25.00, 50.02, 21.97, 22.19, 23.10, 35.73, 25.00, 25.00, 25.00, 25.00, 0.00,
13: 21.29, 21.26, 21.38, 21.37, 21.37, 21.42, 21.51, 21.62, 21.76, 22.01, 22.16, 22.32, 22.09, 22.50, 25.00, 53.26, 22.07, 22.26, 22.92, 35.83, 25.00, 25.00, 25.00, 25.00, 0.00,
14: 21.39, 21.38, 21.51, 21.50, 21.50, 21.56, 21.65, 21.75, 21.91, 22.15, 22.30, 22.45, 22.23, 22.60, 25.00, 25.00, 22.19, 22.38, 22.89, 35.98, 25.00, 25.00, 25.00, 25.00, 0.00,
15: 21.49, 21.50, 21.64, 21.65, 21.64, 21.69, 21.79, 21.90, 22.04, 22.29, 22.42, 22.59, 22.35, 22.72, 25.00, 47.41, 22.35, 22.50, 22.88, 36.12, 25.00, 25.00, 25.00, 25.00, 0.00,
16: 21.60, 21.63, 21.77, 21.78, 21.77, 21.83, 21.92, 22.04, 22.18, 22.42, 22.55, 22.73, 22.50, 22.83, 25.00, 51.21, 22.49, 22.63, 22.82, 36.26, 25.00, 25.00, 25.00, 25.00, 0.00,
17: 21.70, 21.74, 21.90, 21.92, 21.92, 21.98, 22.07, 22.18, 22.32, 22.55, 22.68, 22.87, 22.64, 22.94, 25.00, 63.20, 22.63, 22.78, 22.93, 36.44, 25.00, 25.00, 25.00, 25.00, 0.00,
18: 21.81, 21.86, 22.04, 22.05, 22.05, 22.12, 22.20, 22.32, 22.46, 22.68, 22.80, 23.01, 22.77, 23.06, 25.00, 25.00, 22.77, 22.89, 22.90, 36.58, 25.00, 25.00, 25.00, 25.00, 0.00,
19: 21.90, 21.98, 22.16, 22.19, 22.18, 22.25, 22.33, 22.45, 22.60, 22.81, 22.92, 23.15, 22.91, 23.17, 25.00, 34.31, 22.91, 23.02, 22.85, 36.73, 25.00, 25.00, 25.00, 25.00, 0.00,
20: 22.00, 22.09, 22.30, 22.32, 22.33, 22.38, 22.47, 22.59, 22.73, 22.94, 23.06, 23.29, 23.05, 23.28, 25.00, 42.50, 23.04, 23.15, 22.87, 36.87, 25.00, 25.00, 25.00, 25.00, 0.00,
21: 22.10, 22.20, 22.43, 22.46, 22.46, 22.52, 22.61, 22.73, 22.88, 23.08, 23.19, 23.42, 23.19, 23.38, 25.00, 42.56, 23.18, 23.27, 22.90, 37.02, 25.00, 25.00, 25.00, 25.00, 0.00,
22: 22.26, 22.37, 22.62, 22.65, 22.67, 22.71, 22.85, 22.97, 23.06, 23.29, 23.36, 23.63, 23.36, 23.51, 25.00, 43.07, 23.38, 23.45, 23.06, 37.25, 25.00, 25.00, 25.00, 25.00, 0.00,
23: 22.61, 22.83, 23.09, 23.15, 23.16, 23.22, 23.34, 23.45, 23.57, 23.76, 23.82, 24.06, 23.78, 23.88, 25.00, 31.06, 23.85, 23.82, 23.08, 37.99, 25.00, 25.00, 25.00, 25.00, 0.00,
24: 22.99, 23.30, 23.58, 23.67, 23.69, 23.75, 23.86, 23.97, 24.09, 24.26, 24.32, 24.57, 24.28, 24.29, 25.00, 32.11, 24.36, 24.27, 23.06, 41.29, 25.00, 25.00, 25.00, 25.00, 0.00,
25: 23.38, 23.76, 24.08, 24.18, 24.21, 24.26, 24.38, 24.50, 24.62, 24.77, 24.79, 25.08, 24.79, 24.69, 25.00, 32.86, 24.88, 24.74, 23.04, 53.73, 25.00, 25.00, 25.00, 25.00, 0.00,
26: 23.76, 24.19, 24.58, 24.69, 24.72, 24.77, 24.89, 25.02, 25.13, 25.26, 25.26, 25.60, 25.29, 25.08, 25.00, 25.50, 25.41, 25.22, 23.02, 19.35, 25.00, 25.00, 25.00, 25.00, 0.00,
27: 24.13, 24.62, 25.07, 25.20, 25.24, 25.29, 25.41, 25.53, 25.64, 25.74, 25.72, 26.12, 25.80, 25.48, 25.00, 28.64, 25.91, 25.67, 22.84, 48.71, 25.00, 25.00, 25.00, 25.00, 0.00,
28: 24.52, 25.06, 25.54, 25.70, 25.74, 25.80, 25.92, 26.04, 26.13, 26.22, 26.18, 26.61, 26.28, 25.84, 25.00, 38.15, 26.41, 26.13, 22.72, 8.36, 25.00, 25.00, 25.00, 25.00, 0.00,
29: 24.88, 25.48, 26.01, 26.19, 26.25, 26.29, 26.41, 26.54, 26.65, 26.69, 26.62, 27.12, 26.76, 26.20, 25.00, 7.97, 26.92, 26.58, 22.78, 22.29, 25.00, 25.00, 25.00, 25.00, 0.00,
30: 25.25, 25.89, 26.48, 26.68, 26.74, 26.78, 26.91, 27.04, 27.13, 27.15, 27.07, 27.61, 27.24, 26.56, 25.00, 25.00, 27.42, 27.03, 22.79, 39.95, 25.00, 25.00, 25.00, 25.00, 0.00,
31: 25.62, 26.31, 26.94, 27.15, 27.23, 27.27, 27.40, 27.52, 27.63, 27.61, 27.51, 28.10, 27.71, 26.91, 25.00, 25.00, 27.89, 27.48, 22.78, 26.13, 25.00, 25.00, 25.00, 25.00, 0.00,
32: 25.99, 26.71, 27.39, 27.63, 27.71, 27.75, 27.88, 28.02, 28.10, 28.06, 27.95, 28.58, 28.17, 27.26, 25.00, 25.00, 28.37, 27.91, 22.72, 63.23, 25.00, 25.00, 25.00, 25.00, 0.00,
33: 26.35, 27.12, 27.84, 28.10, 28.19, 28.22, 28.36, 28.49, 28.58, 28.51, 28.39, 29.06, 28.61, 27.59, 25.00, 25.00, 28.85, 28.34, 22.49, 0.92, 25.00, 25.00, 25.00, 25.00, 0.00,
34: 26.97, 27.89, 28.64, 28.94, 29.05, 29.10, 29.24, 29.36, 29.42, 29.31, 29.17, 29.81, 29.32, 28.13, 25.00, 25.00, 29.65, 28.98, 22.67, 12.47, 25.00, 25.00, 25.00, 25.00, 0.00,
35: 27.79, 28.84, 29.70, 30.04, 30.15, 30.18, 30.36, 30.50, 30.52, 30.40, 30.20, 30.88, 30.33, 28.84, 25.00, 29.97, 30.75, 29.90, 22.60, 38.71, 25.00, 25.00, 25.00, 25.00, 0.00,
36: 28.61, 29.79, 30.72, 31.12, 31.25, 31.26, 31.43, 31.59, 31.61, 31.46, 31.20, 31.96, 31.38, 29.61, 25.00, 30.27, 31.82, 30.86, 22.53, 27.30, 25.00, 25.00, 25.00, 25.00, 0.00,
37: 29.40, 30.70, 31.75, 32.17, 32.31, 32.33, 32.51, 32.66, 32.68, 32.49, 32.17, 33.03, 32.41, 30.39, 25.00, 25.00, 32.88, 31.84, 22.49, 48.01, 25.00, 25.00, 25.00, 25.00, 0.00,
38: 30.19, 31.61, 32.74, 33.21, 33.38, 33.39, 33.57, 33.73, 33.74, 33.50, 33.14, 34.10, 33.45, 31.17, 25.00, 61.75, 33.95, 32.80, 22.23, 48.80, 25.00, 25.00, 25.00, 25.00, 0.00,
39: 30.97, 32.50, 33.74, 34.25, 34.44, 34.44, 34.62, 34.80, 34.80, 34.50, 34.08, 35.17, 34.46, 31.86, 25.00, 25.00, 35.01, 33.75, 22.27, 49.78, 25.00, 25.00, 25.00, 25.00, 0.00,
40: 31.76, 33.37, 34.72, 35.28, 35.48, 35.47, 35.67, 35.86, 35.85, 35.49, 35.03, 36.22, 35.48, 32.61, 25.00, 25.00, 36.06, 34.71, 22.29, 50.90, 25.00, 25.00, 25.00, 25.00, 0.00,
41: 32.55, 34.25, 35.70, 36.30, 36.53, 36.52, 36.72, 36.90, 36.88, 36.47, 35.98, 37.28, 36.47, 33.34, 25.00, 25.00, 37.11, 35.64, 22.32, 52.05, 25.00, 25.00, 25.00, 25.00, 0.00,
42: 33.33, 35.10, 36.67, 37.32, 37.56, 37.55, 37.75, 37.95, 37.92, 37.44, 36.90, 38.32, 37.46, 34.01, 25.00, 25.00, 38.14, 36.58, 22.23, 53.17, 25.00, 25.00, 25.00, 25.00, 0.00,
43: 34.11, 35.96, 37.63, 38.32, 38.59, 38.58, 38.78, 38.99, 38.94, 38.40, 37.81, 39.35, 38.42, 34.57, 25.00, 25.00, 39.17, 37.49, 22.15, 54.27, 25.00, 25.00, 25.00, 25.00, 0.00,
44: 34.87, 36.81, 38.57, 39.32, 39.62, 39.59, 39.80, 40.02, 39.96, 39.34, 38.72, 40.36, 39.36, 35.10, 25.00, 25.00, 40.17, 38.39, 22.19, 55.12, 25.00, 25.00, 25.00, 25.00, 0.00,
45: 35.64, 37.64, 39.51, 40.30, 40.61, 40.59, 40.79, 41.01, 40.94, 40.28, 39.61, 41.38, 40.29, 35.75, 25.00, 25.00, 41.17, 39.26, 22.26, 56.27, 25.00, 25.00, 25.00, 25.00, 0.00,
46: 36.41, 38.47, 40.42, 41.28, 41.59, 41.56, 41.79, 42.03, 41.93, 41.20, 40.50, 42.37, 41.21, 36.35, 25.00, 25.00, 42.15, 40.14, 22.26, 57.36, 25.00, 25.00, 25.00, 25.00, 0.00,
47: 37.16, 39.28, 41.34, 42.22, 42.58, 42.54, 42.77, 43.00, 42.90, 42.10, 41.35, 43.35, 42.10, 36.93, 25.00, 25.00, 43.13, 41.00, 22.06, 58.47, 25.00, 25.00, 25.00, 25.00, 0.00,
48: 37.91, 40.08, 42.23, 43.17, 43.55, 43.50, 43.74, 43.98, 43.86, 42.99, 42.19, 44.32, 42.99, 37.64, 25.00, 25.00, 44.08, 41.86, 22.05, 59.65, 25.00, 25.00, 25.00, 25.00, 0.00,
49: 38.64, 40.88, 43.13, 44.11, 44.52, 44.46, 44.70, 44.96, 44.81, 43.88, 43.02, 45.28, 43.85, 38.14, 25.00, 25.00, 45.04, 42.72, 22.01, 61.04, 25.00, 25.00, 25.00, 25.00, 0.00,
50: 39.38, 41.66, 44.01, 45.04, 45.48, 45.42, 45.66, 45.93, 45.75, 44.74, 43.85, 46.23, 44.71, 38.65, 25.00, 25.00, 45.98, 43.57, 22.07, 62.23, 25.00, 25.00, 25.00, 25.00, 0.00,
51: 40.11, 42.46, 44.89, 45.97, 46.42, 46.36, 46.62, 46.89, 46.68, 45.60, 44.66, 47.17, 45.54, 39.26, 25.00, 25.00, 46.90, 44.40, 21.99, 63.49, 25.00, 25.00, 25.00, 25.00, 0.00,
52: 40.84, 43.24, 45.76, 46.89, 47.36, 47.31, 47.55, 47.84, 47.60, 46.45, 45.43, 48.08, 46.37, 39.78, 25.00, 25.00, 47.82, 45.20, 21.92, 0.96, 25.00, 25.00, 25.00, 25.00, 0.00,
53: 41.58, 44.02, 46.64, 47.80, 48.30, 48.23, 48.50, 48.78, 48.51, 47.28, 46.22, 48.99, 47.16, 40.09, 25.00, 25.00, 48.71, 45.97, 21.94, 2.93, 25.00, 25.00, 25.00, 25.00, 0.00,
54: 42.31, 44.78, 47.49, 48.71, 49.24, 49.15, 49.41, 49.71, 49.40, 48.10, 46.98, 49.88, 47.96, 40.53, 25.00, 25.00, 49.58, 46.74, 22.13, 7.25, 25.00, 25.00, 25.00, 25.00, 0.00,
55: 43.03, 45.55, 48.34, 49.61, 50.15, 50.07, 50.33, 50.64, 50.28, 48.90, 47.71, 50.76, 48.71, 40.87, 25.00, 25.00, 50.46, 47.50, 22.14, 10.13, 25.00, 25.00, 25.00, 25.00, 0.00,
56: 43.76, 46.30, 49.19, 50.49, 51.06, 50.99, 51.24, 51.55, 51.16, 49.70, 48.43, 51.61, 49.46, 41.42, 25.00, 25.00, 51.30, 48.24, 22.11, 14.20, 25.00, 25.00, 25.00, 25.00, 0.00,
57: 44.48, 47.07, 50.02, 51.38, 51.97, 51.88, 52.15, 52.46, 52.01, 50.46, 49.13, 52.45, 50.19, 42.10, 25.00, 25.00, 52.12, 49.01, 21.93, 33.73, 25.00, 25.00, 25.00, 25.00, 0.00,
58: 45.20, 47.82, 50.85, 52.25, 52.86, 52.78, 53.05, 53.35, 52.87, 51.23, 49.79, 53.26, 50.90, 42.46, 25.00, 25.00, 52.93, 49.72, 21.88, 25.00, 25.00, 25.00, 25.00, 25.00, 0.00,
59: 45.92, 48.56, 51.67, 53.11, 53.75, 53.66, 53.93, 54.24, 53.69, 51.97, 50.44, 54.05, 51.59, 43.06, 25.00, 25.00, 53.71, 50.45, 21.89, 46.01, 25.00, 25.00, 25.00, 25.00, 0.00,
60: 46.63, 49.30, 52.49, 53.97, 54.63, 54.54, 54.81, 55.11, 54.52, 52.68, 51.06, 54.81, 52.27, 43.38, 25.00, 25.00, 54.46, 51.12, 22.05, 50.23, 25.00, 25.00, 25.00, 25.00, 0.00,
61: 47.34, 50.02, 53.30, 54.82, 55.50, 55.40, 55.67, 55.98, 55.32, 53.37, 51.69, 55.55, 52.90, 43.88, 25.00, 25.00, 55.21, 51.80, 22.07, 53.29, 25.00, 25.00, 25.00, 25.00, 0.00,
62: 48.04, 50.76, 54.10, 55.66, 56.35, 56.26, 56.53, 56.82, 56.12, 54.05, 52.30, 56.27, 53.53, 44.14, 25.00, 25.00, 55.92, 52.43, 21.93, 56.15, 25.00, 25.00, 25.00, 25.00, 0.00,
63: 48.74, 51.48, 54.89, 56.49, 57.20, 57.10, 57.36, 57.66, 56.87, 54.70, 52.91, 56.98, 54.16, 44.48, 25.00, 25.00, 56.62, 53.04, 22.04, 59.21, 25.00, 25.00, 25.00, 25.00, 0.00,
64: 49.42, 52.19, 55.68, 57.31, 58.04, 57.93, 58.20, 58.49, 57.61, 55.35, 53.51, 57.68, 54.78, 44.74, 25.00, 25.00, 57.31, 53.60, 21.91, 63.65, 25.00, 25.00, 25.00, 25.00, 0.00,
65: 50.12, 52.91, 56.44, 58.11, 58.87, 58.76, 59.02, 59.30, 58.32, 55.98, 54.06, 58.37, 55.39, 45.21, 25.00, 25.00, 57.98, 54.20, 21.89, 1.98, 25.00, 25.00, 25.00, 25.00, 0.00,
66: 50.80, 53.61, 57.22, 58.92, 59.68, 59.58, 59.83, 60.09, 59.01, 56.62, 54.66, 59.08, 56.00, 45.57, 25.00, 25.00, 58.65, 54.83, 21.86, 4.35, 25.00, 25.00, 25.00, 25.00, 0.00,
67: 51.48, 54.31, 57.98, 59.71, 60.49, 60.39, 60.63, 60.86, 59.70, 57.26, 55.25, 59.78, 56.59, 46.06, 25.00, 25.00, 59.34, 55.44, 21.99, 6.61, 25.00, 25.00, 25.00, 25.00, 0.00,
68: 52.15, 55.00, 58.73, 60.49, 61.28, 61.18, 61.42, 61.60, 60.38, 57.88, 55.82, 60.46, 57.20, 46.40, 25.00, 25.00, 60.02, 56.04, 21.91, 8.28, 25.00, 25.00,

## Sheet4
0: 21.17, 21.10, 21.23, 21.21, 21.20, 21.26, 21.34, 21.45, 21.60, 21.84, 21.99, 22.14, 21.94, 22.30, 25.00, 40.22, 21.89, 22.11, 22.51, 37.60, 25.00, 25.00, 25.00, 25.00, 0.00,
1: 21.17, 21.11, 21.22, 21.21, 21.21, 21.26, 21.34, 21.46, 21.60, 21.84, 21.99, 22.15, 21.94, 22.32, 25.00, 40.14, 21.90, 22.11, 22.56, 35.33, 25.00, 25.00, 25.00, 25.00, 0.00,
2: 21.17, 21.11, 21.24, 21.21, 21.21, 21.27, 21.35, 21.46, 21.61, 21.85, 22.00, 22.16, 21.95, 22.32, 25.00, 41.23, 21.90, 22.11, 22.67, 35.40, 25.00, 25.00, 25.00, 25.00, 0.00,
3: 21.17, 21.12, 21.24, 21.22, 21.21, 21.27, 21.35, 21.46, 21.61, 21.86, 22.01, 22.16, 21.95, 22.33, 25.00, 46.06, 21.90, 22.13, 22.79, 35.47, 25.00, 25.00, 25.00, 25.00, 0.00,
4: 21.19, 21.11, 21.24, 21.23, 21.22, 21.28, 21.36, 21.47, 21.62, 21.86, 22.01, 22.17, 21.97, 22.35, 25.00, 47.15, 21.92, 22.12, 22.60, 35.49, 25.00, 25.00, 25.00, 25.00, 0.00,
5: 21.19, 21.12, 21.24, 21.23, 21.22, 21.29, 21.36, 21.47, 21.63, 21.87, 22.01, 22.18, 21.97, 22.35, 25.00, 47.61, 21.91, 22.14, 22.57, 35.52, 25.00, 25.00, 25.00, 25.00, 0.00,
6: 21.20, 21.13, 21.25, 21.24, 21.23, 21.29, 21.37, 21.47, 21.63, 21.87, 22.03, 22.18, 21.98, 22.35, 25.00, 48.11, 21.93, 22.15, 22.61, 35.55, 25.00, 25.00, 25.00, 25.00, 0.00,
7: 21.19, 21.12, 21.25, 21.23, 21.23, 21.29, 21.37, 21.48, 21.63, 21.89, 22.03, 22.19, 21.98, 22.37, 25.00, 48.52, 21.93, 22.15, 22.63, 35.54, 25.00, 25.00, 25.00, 25.00, 0.00,
8: 21.20, 21.14, 21.26, 21.25, 21.24, 21.30, 21.38, 21.49, 21.65, 21.88, 22.03, 22.20, 21.99, 22.37, 25.00, 48.92, 21.94, 22.16, 22.64, 35.62, 25.00, 25.00, 25.00, 25.00, 0.00,
9: 21.21, 21.15, 21.26, 21.25, 21.24, 21.31, 21.39, 21.50, 21.65, 21.89, 22.05, 22.21, 22.00, 22.39, 25.00, 49.25, 21.95, 22.16, 22.68, 35.65, 25.00, 25.00, 25.00, 25.00, 0.00,
10: 21.21, 21.14, 21.28, 21.25, 21.26, 21.31, 21.38, 21.50, 21.65, 21.90, 22.06, 22.22, 22.01, 22.40, 25.00, 49.49, 21.96, 22.18, 22.77, 35.67, 25.00, 25.00, 25.00, 25.00, 0.00,
11: 21.22, 21.15, 21.28, 21.25, 21.26, 21.31, 21.39, 21.50, 21.66, 21.90, 22.05, 22.22, 22.01, 22.41, 25.00, 50.00, 21.96, 22.19, 22.81, 35.70, 25.00, 25.00, 25.00, 25.00, 0.00,
12: 21.22, 21.15, 21.28, 21.27, 21.26, 21.32, 21.40, 21.51, 21.67, 21.91, 22.06, 22.23, 22.01, 22.42, 25.00, 50.02, 21.97, 22.19, 23.10, 35.73, 25.00, 25.00, 25.00, 25.00, 0.00,
13: 21.29, 21.26, 21.38, 21.37, 21.37, 21.42, 21.51, 21.62, 21.76, 22.01, 22.16, 22.32, 22.09, 22.50, 25.00, 53.26, 22.07, 22.26, 22.92, 35.83, 25.00, 25.00, 25.00, 25.00, 0.00,
14: 21.39, 21.38, 21.51, 21.50, 21.50, 21.56, 21.65, 21.75, 21.91, 22.15, 22.30, 22.45, 22.23, 22.60, 25.00, 25.00, 22.19, 22.38, 22.89, 35.98, 25.00, 25.00, 25.00, 25.00, 0.00,
15: 21.49, 21.50, 21.64, 21.65, 21.64, 21.69, 21.79, 21.90, 22.04, 22.29, 22.42, 22.59, 22.35, 22.72, 25.00, 47.41, 22.35, 22.50, 22.88, 36.12, 25.00, 25.00, 25.00, 25.00, 0.00,
16: 21.60, 21.63, 21.77, 21.78, 21.77, 21.83, 21.92, 22.04, 22.18, 22.42, 22.55, 22.73, 22.50, 22.83, 25.00, 51.21, 22.49, 22.63, 22.82, 36.26, 25.00, 25.00, 25.00, 25.00, 0.00,
17: 21.70, 21.74, 21.90, 21.92, 21.92, 21.98, 22.07, 22.18, 22.32, 22.55, 22.68, 22.87, 22.64, 22.94, 25.00, 63.20, 22.63, 22.78, 22.93, 36.44, 25.00, 25.00, 25.00, 25.00, 0.00,
18: 21.81, 21.86, 22.04, 22.05, 22.05, 22.12, 22.20, 22.32, 22.46, 22.68, 22.80, 23.01, 22.77, 23.06, 25.00, 25.00, 22.77, 22.89, 22.90, 36.58, 25.00, 25.00, 25.00, 25.00, 0.00,
19: 21.90, 21.98, 22.16, 22.19, 22.18, 22.25, 22.33, 22.45, 22.60, 22.81, 22.92, 23.15, 22.91, 23.17, 25.00, 34.31, 22.91, 23.02, 22.85, 36.73, 25.00, 25.00, 25.00, 25.00, 0.00,
20: 22.00, 22.09, 22.30, 22.32, 22.33, 22.38, 22.47, 22.59, 22.73, 22.94, 23.06, 23.29, 23.05, 23.28, 25.00, 42.50, 23.04, 23.15, 22.87, 36.87, 25.00, 25.00, 25.00, 25.00, 0.00,
21: 22.10, 22.20, 22.43, 22.46, 22.46, 22.52, 22.61, 22.73, 22.88, 23.08, 23.19, 23.42, 23.19, 23.38, 25.00, 42.56, 23.18, 23.27, 22.90, 37.02, 25.00, 25.00, 25.00, 25.00, 0.00,
22: 22.26, 22.37, 22.62, 22.65, 22.67, 22.71, 22.85, 22.97, 23.06, 23.29, 23.36, 23.63, 23.36, 23.51, 25.00, 43.07, 23.38, 23.45, 23.06, 37.25, 25.00, 25.00, 25.00, 25.00, 0.00,
23: 22.61, 22.83, 23.09, 23.15, 23.16, 23.22, 23.34, 23.45, 23.57, 23.76, 23.82, 24.06, 23.78, 23.88, 25.00, 31.06, 23.85, 23.82, 23.08, 37.99, 25.00, 25.00, 25.00, 25.00, 0.00,
24: 22.99, 23.30, 23.58, 23.67, 23.69, 23.75, 23.86, 23.97, 24.09, 24.26, 24.32, 24.57, 24.28, 24.29, 25.00, 32.11, 24.36, 24.27, 23.06, 41.29, 25.00, 25.00, 25.00, 25.00, 0.00,
25: 23.38, 23.76, 24.08, 24.18, 24.21, 24.26, 24.38, 24.50, 24.62, 24.77, 24.79, 25.08, 24.79, 24.69, 25.00, 32.86, 24.88, 24.74, 23.04, 53.73, 25.00, 25.00, 25.00, 25.00, 0.00,
26: 23.76, 24.19, 24.58, 24.69, 24.72, 24.77, 24.89, 25.02, 25.13, 25.26, 25.26, 25.60, 25.29, 25.08, 25.00, 25.50, 25.41, 25.22, 23.02, 19.35, 25.00, 25.00, 25.00, 25.00, 0.00,
27: 24.13, 24.62, 25.07, 25.20, 25.24, 25.29, 25.41, 25.53, 25.64, 25.74, 25.72, 26.12, 25.80, 25.48, 25.00, 28.64, 25.91, 25.67, 22.84, 48.71, 25.00, 25.00, 25.00, 25.00, 0.00,
28: 24.52, 25.06, 25.54, 25.70, 25.74, 25.80, 25.92, 26.04, 26.13, 26.22, 26.18, 26.61, 26.28, 25.84, 25.00, 38.15, 26.41, 26.13, 22.72, 8.36, 25.00, 25.00, 25.00, 25.00, 0.00,
29: 24.88, 25.48, 26.01, 26.19, 26.25, 26.29, 26.41, 26.54, 26.65, 26.69, 26.62, 27.12, 26.76, 26.20, 25.00, 7.97, 26.92, 26.58, 22.78, 22.29, 25.00, 25.00, 25.00, 25.00, 0.00,
30: 25.25, 25.89, 26.48, 26.68, 26.74, 26.78, 26.91, 27.04, 27.13, 27.15, 27.07, 27.61, 27.24, 26.56, 25.00, 25.00, 27.42, 27.03, 22.79, 39.95, 25.00, 25.00, 25.00, 25.00, 0.00,
31: 25.62, 26.31, 26.94, 27.15, 27.23, 27.27, 27.40, 27.52, 27.63, 27.61, 27.51, 28.10, 27.71, 26.91, 25.00, 25.00, 27.89, 27.48, 22.78, 26.13, 25.00, 25.00, 25.00, 25.00, 0.00,
32: 25.99, 26.71, 27.39, 27.63, 27.71, 27.75, 27.88, 28.02, 28.10, 28.06, 27.95, 28.58, 28.17, 27.26, 25.00, 25.00, 28.37, 27.91, 22.72, 63.23, 25.00, 25.00, 25.00, 25.00, 0.00,
33: 26.35, 27.12, 27.84, 28.10, 28.19, 28.22, 28.36, 28.49, 28.58, 28.51, 28.39, 29.06, 28.61, 27.59, 25.00, 25.00, 28.85, 28.34, 22.49, 0.92, 25.00, 25.00, 25.00, 25.00, 0.00,
34: 26.97, 27.89, 28.64, 28.94, 29.05, 29.10, 29.24, 29.36, 29.42, 29.31, 29.17, 29.81, 29.32, 28.13, 25.00, 25.00, 29.65, 28.98, 22.67, 12.47, 25.00, 25.00, 25.00, 25.00, 0.00,
35: 27.79, 28.84, 29.70, 30.04, 30.15, 30.18, 30.36, 30.50, 30.52, 30.40, 30.20, 30.88, 30.33, 28.84, 25.00, 29.97, 30.75, 29.90, 22.60, 38.71, 25.00, 25.00, 25.00, 25.00, 0.00,
36: 28.61, 29.79, 30.72, 31.12, 31.25, 31.26, 31.43, 31.59, 31.61, 31.46, 31.20, 31.96, 31.38, 29.61, 25.00, 30.27, 31.82, 30.86, 22.53, 27.30, 25.00, 25.00, 25.00, 25.00, 0.00,
37: 29.40, 30.70, 31.75, 32.17, 32.31, 32.33, 32.51, 32.66, 32.68, 32.49, 32.17, 33.03, 32.41, 30.39, 25.00, 25.00, 32.88, 31.84, 22.49, 48.01, 25.00, 25.00, 25.00, 25.00, 0.00,
38: 30.19, 31.61, 32.74, 33.21, 33.38, 33.39, 33.57, 33.73, 33.74, 33.50, 33.14, 34.10, 33.45, 31.17, 25.00, 61.75, 33.95, 32.80, 22.23, 48.80, 25.00, 25.00, 25.00, 25.00, 0.00,
39: 30.97, 32.50, 33.74, 34.25, 34.44, 34.44, 34.62, 34.80, 34.80, 34.50, 34.08, 35.17, 34.46, 31.86, 25.00, 25.00, 35.01, 33.75, 22.27, 49.78, 25.00, 25.00, 25.00, 25.00, 0.00,
40: 31.76, 33.37, 34.72, 35.28, 35.48, 35.47, 35.67, 35.86, 35.85, 35.49, 35.03, 36.22, 35.48, 32.61, 25.00, 25.00, 36.06, 34.71, 22.29, 50.90, 25.00, 25.00, 25.00, 25.00, 0.00,
41: 32.55, 34.25, 35.70, 36.30, 36.53, 36.52, 36.72, 36.90, 36.88, 36.47, 35.98, 37.28, 36.47, 33.34, 25.00, 25.00, 37.11, 35.64, 22.32, 52.05, 25.00, 25.00, 25.00, 25.00, 0.00,
42: 33.33, 35.10, 36.67, 37.32, 37.56, 37.55, 37.75, 37.95, 37.92, 37.44, 36.90, 38.32, 37.46, 34.01, 25.00, 25.00, 38.14, 36.58, 22.23, 53.17, 25.00, 25.00, 25.00, 25.00, 0.00,
43: 34.11, 35.96, 37.63, 38.32, 38.59, 38.58, 38.78, 38.99, 38.94, 38.40, 37.81, 39.35, 38.42, 34.57, 25.00, 25.00, 39.17, 37.49, 22.15, 54.27, 25.00, 25.00, 25.00, 25.00, 0.00,
44: 34.87, 36.81, 38.57, 39.32, 39.62, 39.59, 39.80, 40.02, 39.96, 39.34, 38.72, 40.36, 39.36, 35.10, 25.00, 25.00, 40.17, 38.39, 22.19, 55.12, 25.00, 25.00, 25.00, 25.00, 0.00,
45: 35.64, 37.64, 39.51, 40.30, 40.61, 40.59, 40.79, 41.01, 40.94, 40.28, 39.61, 41.38, 40.29, 35.75, 25.00, 25.00, 41.17, 39.26, 22.26, 56.27, 25.00, 25.00, 25.00, 25.00, 0.00,
46: 36.41, 38.47, 40.42, 41.28, 41.59, 41.56, 41.79, 42.03, 41.93, 41.20, 40.50, 42.37, 41.21, 36.35, 25.00, 25.00, 42.15, 40.14, 22.26, 57.36, 25.00, 25.00, 25.00, 25.00, 0.00,
47: 37.16, 39.28, 41.34, 42.22, 42.58, 42.54, 42.77, 43.00, 42.90, 42.10, 41.35, 43.35, 42.10, 36.93, 25.00, 25.00, 43.13, 41.00, 22.06, 58.47, 25.00, 25.00, 25.00, 25.00, 0.00,
48: 37.91, 40.08, 42.23, 43.17, 43.55, 43.50, 43.74, 43.98, 43.86, 42.99, 42.19, 44.32, 42.99, 37.64, 25.00, 25.00, 44.08, 41.86, 22.05, 59.65, 25.00, 25.00, 25.00, 25.00, 0.00,
49: 38.64, 40.88, 43.13, 44.11, 44.52, 44.46, 44.70, 44.96, 44.81, 43.88, 43.02, 45.28, 43.85, 38.14, 25.00, 25.00, 45.04, 42.72, 22.01, 61.04, 25.00, 25.00, 25.00, 25.00, 0.00,
50: 39.38, 41.66, 44.01, 45.04, 45.48, 45.42, 45.66, 45.93, 45.75, 44.74, 43.85, 46.23, 44.71, 38.65, 25.00, 25.00, 45.98, 43.57, 22.07, 62.23, 25.00, 25.00, 25.00, 25.00, 0.00,
51: 40.11, 42.46, 44.89, 45.97, 46.42, 46.36, 46.62, 46.89, 46.68, 45.60, 44.66, 47.17, 45.54, 39.26, 25.00, 25.00, 46.90, 44.40, 21.99, 63.49, 25.00, 25.00, 25.00, 25.00, 0.00,
52: 40.84, 43.24, 45.76, 46.89, 47.36, 47.31, 47.55, 47.84, 47.60, 46.45, 45.43, 48.08, 46.37, 39.78, 25.00, 25.00, 47.82, 45.20, 21.92, 0.96, 25.00, 25.00, 25.00, 25.00, 0.00,
53: 41.58, 44.02, 46.64, 47.80, 48.30, 48.23, 48.50, 48.78, 48.51, 47.28, 46.22, 48.99, 47.16, 40.09, 25.00, 25.00, 48.71, 45.97, 21.94, 2.93, 25.00, 25.00, 25.00, 25.00, 0.00,
54: 42.31, 44.78, 47.49, 48.71, 49.24, 49.15, 49.41, 49.71, 49.40, 48.10, 46.98, 49.88, 47.96, 40.53, 25.00, 25.00, 49.58, 46.74, 22.13, 7.25, 25.00, 25.00, 25.00, 25.00, 0.00,
55: 43.03, 45.55, 48.34, 49.61, 50.15, 50.07, 50.33, 50.64, 50.28, 48.90, 47.71, 50.76, 48.71, 40.87, 25.00, 25.00, 50.46, 47.50, 22.14, 10.13, 25.00, 25.00, 25.00, 25.00, 0.00,
56: 43.76, 46.30, 49.19, 50.49, 51.06, 50.99, 51.24, 51.55, 51.16, 49.70, 48.43, 51.61, 49.46, 41.42, 25.00, 25.00, 51.30, 48.24, 22.11, 14.20, 25.00, 25.00, 25.00, 25.00, 0.00,
57: 44.48, 47.07, 50.02, 51.38, 51.97, 51.88, 52.15, 52.46, 52.01, 50.46, 49.13, 52.45, 50.19, 42.10, 25.00, 25.00, 52.12, 49.01, 21.93, 33.73, 25.00, 25.00, 25.00, 25.00, 0.00,
58: 45.20, 47.82, 50.85, 52.25, 52.86, 52.78, 53.05, 53.35, 52.87, 51.23, 49.79, 53.26, 50.90, 42.46, 25.00, 25.00, 52.93, 49.72, 21.88, 25.00, 25.00, 25.00, 25.00, 25.00, 0.00,
59: 45.92, 48.56, 51.67, 53.11, 53.75, 53.66, 53.93, 54.24, 53.69, 51.97, 50.44, 54.05, 51.59, 43.06, 25.00, 25.00, 53.71, 50.45, 21.89, 46.01, 25.00, 25.00, 25.00, 25.00, 0.00,
60: 46.63, 49.30, 52.49, 53.97, 54.63, 54.54, 54.81, 55.11, 54.52, 52.68, 51.06, 54.81, 52.27, 43.38, 25.00, 25.00, 54.46, 51.12, 22.05, 50.23, 25.00, 25.00, 25.00, 25.00, 0.00,
61: 47.34, 50.02, 53.30, 54.82, 55.50, 55.40, 55.67, 55.98, 55.32, 53.37, 51.69, 55.55, 52.90, 43.88, 25.00, 25.00, 55.21, 51.80, 22.07, 53.29, 25.00, 25.00, 25.00, 25.00, 0.00,
62: 48.04, 50.76, 54.10, 55.66, 56.35, 56.26, 56.53, 56.82, 56.12, 54.05, 52.30, 56.27, 53.53, 44.14, 25.00, 25.00, 55.92, 52.43, 21.93, 56.15, 25.00, 25.00, 25.00, 25.00, 0.00,
63: 48.74, 51.48, 54.89, 56.49, 57.20, 57.10, 57.36, 57.66, 56.87, 54.70, 52.91, 56.98, 54.16, 44.48, 25.00, 25.00, 56.62, 53.04, 22.04, 59.21, 25.00, 25.00, 25.00, 25.00, 0.00,
64: 49.42, 52.19, 55.68, 57.31, 58.04, 57.93, 58.20, 58.49, 57.61, 55.35, 53.51, 57.68, 54.78, 44.74, 25.00, 25.00, 57.31, 53.60, 21.91, 63.65, 25.00, 25.00, 25.00, 25.00, 0.00,
65: 50.12, 52.91, 56.44, 58.11, 58.87, 58.76, 59.02, 59.30, 58.32, 55.98, 54.06, 58.37, 55.39, 45.21, 25.00, 25.00, 57.98, 54.20, 21.89, 1.98, 25.00, 25.00, 25.00, 25.00, 0.00,
66: 50.80, 53.61, 57.22, 58.92, 59.68, 59.58, 59.83, 60.09, 59.01, 56.62, 54.66, 59.08, 56.00, 45.57, 25.00, 25.00, 58.65, 54.83, 21.86, 4.35, 25.00, 25.00, 25.00, 25.00, 0.00,
67: 51.48, 54.31, 57.98, 59.71, 60.49, 60.39, 60.63, 60.86, 59.70, 57.26, 55.25, 59.78, 56.59, 46.06, 25.00, 25.00, 59.34, 55.44, 21.99, 6.61, 25.00, 25.00, 25.00, 25.00, 0.00,
68: 52.15, 55.00, 58.73, 60.49, 61.28, 61.18, 61.42, 61.60, 60.38, 57.88, 55.82, 60.46, 57.20, 46.40, 25.00, 25.00, 60.02, 56.04, 21.91, 8.28, 25.00, 25.00,

## 2NewPS1500Wwith1ParralandOn_(2)
Column1
=~=~=~=~=~=~=~=~=~=~=~= PuTTY log 2021.05.26 15:40:08 =~=~=~=~=~=~=~=~=~=~=~=
Starting up SPI
Please enter the sampling interval (as an integer number of seconds):
You have selected to read the temperatures every 60 seconds.
If you are unhappy with your choice
0: 21.17
1: 21.17
2: 21.17
3: 21.17
4: 21.19
5: 21.19
6: 21.20
7: 21.19
8: 21.20
9: 21.21
10: 21.21
11: 21.22
12: 21.22
13: 21.29
14: 21.39
15: 21.49
16: 21.60
17: 21.70
18: 21.81
19: 21.90
20: 22.00
21: 22.10
22: 22.26
23: 22.61
24: 22.99
25: 23.38
26: 23.76
27: 24.13
28: 24.52
29: 24.88
30: 25.25
31: 25.62
32: 25.99
33: 26.35
34: 26.97
35: 27.79
36: 28.61
37: 29.40
38: 30.19
39: 30.97
40: 31.76
41: 32.55
42: 33.33
43: 34.11
44: 34.87
45: 35.64
46: 36.41
47: 37.16
48: 37.91
49: 38.64
50: 39.38
51: 40.11
52: 40.84
53: 41.58
54: 42.31
55: 43.03
56: 43.76
57: 44.48
58: 45.20
59: 45.92
60: 46.63
61: 47.34
62: 48.04
63: 48.74
64: 49.42
65: 50.12
66: 50.80
67: 51.48
68: 52.15
69: 52.81
70: 53.47
71: 54.13
72: 54.77
73: 55.41
74: 56.04
75: 56.67
76: 57.28
77: 57.88
78: 58.48
79: 59.03
80: 59.58
81: 60.13
82: 60.68
83: 61.23
84: 61.59
85: 61.53
86: 61.44
87: 61.34
88: 61.24
89: 61.14
90: 61.04
91: 60.92
92: 60.81
93: 60.70
94: 60.59
95: 60.48
96: 60.36
97: 60.24
98: 60.13
99: 60.01

## Sheet7
~=~=~=~=~=~=~=~=~=~=~= PuTTY log 2021.05.26 15:40:08 =~=~=~=~=~=~=~=~=~=~=~=
Starting up SPI
Please enter the sampling interval (as an integer number of seconds):
You have selected to read the temperatures every 60 seconds.
If you are unhappy with your choice, simply reset the Arduino by pressing the little button.
0: 21.17, 21.10, 21.23, 21.21, 21.20, 21.26, 21.34, 21.45, 21.60, 21.84, 21.99, 22.14, 21.94, 22.30, 25.00, 40.22, 21.89, 22.11, 22.51, 37.60, 25.00, 25.00, 25.00, 25.00, 0.00,
1: 21.17, 21.11, 21.22, 21.21, 21.21, 21.26, 21.34, 21.46, 21.60, 21.84, 21.99, 22.15, 21.94, 22.32, 25.00, 40.14, 21.90, 22.11, 22.56, 35.33, 25.00, 25.00, 25.00, 25.00, 0.00,
2: 21.17, 21.11, 21.24, 21.21, 21.21, 21.27, 21.35, 21.46, 21.61, 21.85, 22.00, 22.16, 21.95, 22.32, 25.00, 41.23, 21.90, 22.11, 22.67, 35.40, 25.00, 25.00, 25.00, 25.00, 0.00,
3: 21.17, 21.12, 21.24, 21.22, 21.21, 21.27, 21.35, 21.46, 21.61, 21.86, 22.01, 22.16, 21.95, 22.33, 25.00, 46.06, 21.90, 22.13, 22.79, 35.47, 25.00, 25.00, 25.00, 25.00, 0.00,
4: 21.19, 21.11, 21.24, 21.23, 21.22, 21.28, 21.36, 21.47, 21.62, 21.86, 22.01, 22.17, 21.97, 22.35, 25.00, 47.15, 21.92, 22.12, 22.60, 35.49, 25.00, 25.00, 25.00, 25.00, 0.00,
5: 21.19, 21.12, 21.24, 21.23, 21.22, 21.29, 21.36, 21.47, 21.63, 21.87, 22.01, 22.18, 21.97, 22.35, 25.00, 47.61, 21.91, 22.14, 22.57, 35.52, 25.00, 25.00, 25.00, 25.00, 0.00,
6: 21.20, 21.13, 21.25, 21.24, 21.23, 21.29, 21.37, 21.47, 21.63, 21.87, 22.03, 22.18, 21.98, 22.35, 25.00, 48.11, 21.93, 22.15, 22.61, 35.55, 25.00, 25.00, 25.00, 25.00, 0.00,
7: 21.19, 21.12, 21.25, 21.23, 21.23, 21.29, 21.37, 21.48, 21.63, 21.89, 22.03, 22.19, 21.98, 22.37, 25.00, 48.52, 21.93, 22.15, 22.63, 35.54, 25.00, 25.00, 25.00, 25.00, 0.00,
8: 21.20, 21.14, 21.26, 21.25, 21.24, 21.30, 21.38, 21.49, 21.65, 21.88, 22.03, 22.20, 21.99, 22.37, 25.00, 48.92, 21.94, 22.16, 22.64, 35.62, 25.00, 25.00, 25.00, 25.00, 0.00,
9: 21.21, 21.15, 21.26, 21.25, 21.24, 21.31, 21.39, 21.50, 21.65, 21.89, 22.05, 22.21, 22.00, 22.39, 25.00, 49.25, 21.95, 22.16, 22.68, 35.65, 25.00, 25.00, 25.00, 25.00, 0.00,
10: 21.21, 21.14, 21.28, 21.25, 21.26, 21.31, 21.38, 21.50, 21.65, 21.90, 22.06, 22.22, 22.01, 22.40, 25.00, 49.49, 21.96, 22.18, 22.77, 35.67, 25.00, 25.00, 25.00, 25.00, 0.00,
11: 21.22, 21.15, 21.28, 21.25, 21.26, 21.31, 21.39, 21.50, 21.66, 21.90, 22.05, 22.22, 22.01, 22.41, 25.00, 50.00, 21.96, 22.19, 22.81, 35.70, 25.00, 25.00, 25.00, 25.00, 0.00,
12: 21.22, 21.15, 21.28, 21.27, 21.26, 21.32, 21.40, 21.51, 21.67, 21.91, 22.06, 22.23, 22.01, 22.42, 25.00, 50.02, 21.97, 22.19, 23.10, 35.73, 25.00, 25.00, 25.00, 25.00, 0.00,
13: 21.29, 21.26, 21.38, 21.37, 21.37, 21.42, 21.51, 21.62, 21.76, 22.01, 22.16, 22.32, 22.09, 22.50, 25.00, 53.26, 22.07, 22.26, 22.92, 35.83, 25.00, 25.00, 25.00, 25.00, 0.00,
14: 21.39, 21.38, 21.51, 21.50, 21.50, 21.56, 21.65, 21.75, 21.91, 22.15, 22.30, 22.45, 22.23, 22.60, 25.00, 25.00, 22.19, 22.38, 22.89, 35.98, 25.00, 25.00, 25.00, 25.00, 0.00,
15: 21.49, 21.50, 21.64, 21.65, 21.64, 21.69, 21.79, 21.90, 22.04, 22.29, 22.42, 22.59, 22.35, 22.72, 25.00, 47.41, 22.35, 22.50, 22.88, 36.12, 25.00, 25.00, 25.00, 25.00, 0.00,
16: 21.60, 21.63, 21.77, 21.78, 21.77, 21.83, 21.92, 22.04, 22.18, 22.42, 22.55, 22.73, 22.50, 22.83, 25.00, 51.21, 22.49, 22.63, 22.82, 36.26, 25.00, 25.00, 25.00, 25.00, 0.00,
17: 21.70, 21.74, 21.90, 21.92, 21.92, 21.98, 22.07, 22.18, 22.32, 22.55, 22.68, 22.87, 22.64, 22.94, 25.00, 63.20, 22.63, 22.78, 22.93, 36.44, 25.00, 25.00, 25.00, 25.00, 0.00,
18: 21.81, 21.86, 22.04, 22.05, 22.05, 22.12, 22.20, 22.32, 22.46, 22.68, 22.80, 23.01, 22.77, 23.06, 25.00, 25.00, 22.77, 22.89, 22.90, 36.58, 25.00, 25.00, 25.00, 25.00, 0.00,
19: 21.90, 21.98, 22.16, 22.19, 22.18, 22.25, 22.33, 22.45, 22.60, 22.81, 22.92, 23.15, 22.91, 23.17, 25.00, 34.31, 22.91, 23.02, 22.85, 36.73, 25.00, 25.00, 25.00, 25.00, 0.00,
20: 22.00, 22.09, 22.30, 22.32, 22.33, 22.38, 22.47, 22.59, 22.73, 22.94, 23.06, 23.29, 23.05, 23.28, 25.00, 42.50, 23.04, 23.15, 22.87, 36.87, 25.00, 25.00, 25.00, 25.00, 0.00,
21: 22.10, 22.20, 22.43, 22.46, 22.46, 22.52, 22.61, 22.73, 22.88, 23.08, 23.19, 23.42, 23.19, 23.38, 25.00, 42.56, 23.18, 23.27, 22.90, 37.02, 25.00, 25.00, 25.00, 25.00, 0.00,
22: 22.26, 22.37, 22.62, 22.65, 22.67, 22.71, 22.85, 22.97, 23.06, 23.29, 23.36, 23.63, 23.36, 23.51, 25.00, 43.07, 23.38, 23.45, 23.06, 37.25, 25.00, 25.00, 25.00, 25.00, 0.00,
23: 22.61, 22.83, 23.09, 23.15, 23.16, 23.22, 23.34, 23.45, 23.57, 23.76, 23.82, 24.06, 23.78, 23.88, 25.00, 31.06, 23.85, 23.82, 23.08, 37.99, 25.00, 25.00, 25.00, 25.00, 0.00,
24: 22.99, 23.30, 23.58, 23.67, 23.69, 23.75, 23.86, 23.97, 24.09, 24.26, 24.32, 24.57, 24.28, 24.29, 25.00, 32.11, 24.36, 24.27, 23.06, 41.29, 25.00, 25.00, 25.00, 25.00, 0.00,
25: 23.38, 23.76, 24.08, 24.18, 24.21, 24.26, 24.38, 24.50, 24.62, 24.77, 24.79, 25.08, 24.79, 24.69, 25.00, 32.86, 24.88, 24.74, 23.04, 53.73, 25.00, 25.00, 25.00, 25.00, 0.00,
26: 23.76, 24.19, 24.58, 24.69, 24.72, 24.77, 24.89, 25.02, 25.13, 25.26, 25.26, 25.60, 25.29, 25.08, 25.00, 25.50, 25.41, 25.22, 23.02, 19.35, 25.00, 25.00, 25.00, 25.00, 0.00,
27: 24.13, 24.62, 25.07, 25.20, 25.24, 25.29, 25.41, 25.53, 25.64, 25.74, 25.72, 26.12, 25.80, 25.48, 25.00, 28.64, 25.91, 25.67, 22.84, 48.71, 25.00, 25.00, 25.00, 25.00, 0.00,
28: 24.52, 25.06, 25.54, 25.70, 25.74, 25.80, 25.92, 26.04, 26.13, 26.22, 26.18, 26.61, 26.28, 25.84, 25.00, 38.15, 26.41, 26.13, 22.72, 8.36, 25.00, 25.00, 25.00, 25.00, 0.00,
29: 24.88, 25.48, 26.01, 26.19, 26.25, 26.29, 26.41, 26.54, 26.65, 26.69, 26.62, 27.12, 26.76, 26.20, 25.00, 7.97, 26.92, 26.58, 22.78, 22.29, 25.00, 25.00, 25.00, 25.00, 0.00,
30: 25.25, 25.89, 26.48, 26.68, 26.74, 26.78, 26.91, 27.04, 27.13, 27.15, 27.07, 27.61, 27.24, 26.56, 25.00, 25.00, 27.42, 27.03, 22.79, 39.95, 25.00, 25.00, 25.00, 25.00, 0.00,
31: 25.62, 26.31, 26.94, 27.15, 27.23, 27.27, 27.40, 27.52, 27.63, 27.61, 27.51, 28.10, 27.71, 26.91, 25.00, 25.00, 27.89, 27.48, 22.78, 26.13, 25.00, 25.00, 25.00, 25.00, 0.00,
32: 25.99, 26.71, 27.39, 27.63, 27.71, 27.75, 27.88, 28.02, 28.10, 28.06, 27.95, 28.58, 28.17, 27.26, 25.00, 25.00, 28.37, 27.91, 22.72, 63.23, 25.00, 25.00, 25.00, 25.00, 0.00,
33: 26.35, 27.12, 27.84, 28.10, 28.19, 28.22, 28.36, 28.49, 28.58, 28.51, 28.39, 29.06, 28.61, 27.59, 25.00, 25.00, 28.85, 28.34, 22.49, 0.92, 25.00, 25.00, 25.00, 25.00, 0.00,
34: 26.97, 27.89, 28.64, 28.94, 29.05, 29.10, 29.24, 29.36, 29.42, 29.31, 29.17, 29.81, 29.32, 28.13, 25.00, 25.00, 29.65, 28.98, 22.67, 12.47, 25.00, 25.00, 25.00, 25.00, 0.00,
35: 27.79, 28.84, 29.70, 30.04, 30.15, 30.18, 30.36, 30.50, 30.52, 30.40, 30.20, 30.88, 30.33, 28.84, 25.00, 29.97, 30.75, 29.90, 22.60, 38.71, 25.00, 25.00, 25.00, 25.00, 0.00,
36: 28.61, 29.79, 30.72, 31.12, 31.25, 31.26, 31.43, 31.59, 31.61, 31.46, 31.20, 31.96, 31.38, 29.61, 25.00, 30.27, 31.82, 30.86, 22.53, 27.30, 25.00, 25.00, 25.00, 25.00, 0.00,
37: 29.40, 30.70, 31.75, 32.17, 32.31, 32.33, 32.51, 32.66, 32.68, 32.49, 32.17, 33.03, 32.41, 30.39, 25.00, 25.00, 32.88, 31.84, 22.49, 48.01, 25.00, 25.00, 25.00, 25.00, 0.00,
38: 30.19, 31.61, 32.74, 33.21, 33.38, 33.39, 33.57, 33.73, 33.74, 33.50, 33.14, 34.10, 33.45, 31.17, 25.00, 61.75, 33.95, 32.80, 22.23, 48.80, 25.00, 25.00, 25.00, 25.00, 0.00,
39: 30.97, 32.50, 33.74, 34.25, 34.44, 34.44, 34.62, 34.80, 34.80, 34.50, 34.08, 35.17, 34.46, 31.86, 25.00, 25.00, 35.01, 33.75, 22.27, 49.78, 25.00, 25.00, 25.00, 25.00, 0.00,
40: 31.76, 33.37, 34.72, 35.28, 35.48, 35.47, 35.67, 35.86, 35.85, 35.49, 35.03, 36.22, 35.48, 32.61, 25.00, 25.00, 36.06, 34.71, 22.29, 50.90, 25.00, 25.00, 25.00, 25.00, 0.00,
41: 32.55, 34.25, 35.70, 36.30, 36.53, 36.52, 36.72, 36.90, 36.88, 36.47, 35.98, 37.28, 36.47, 33.34, 25.00, 25.00, 37.11, 35.64, 22.32, 52.05, 25.00, 25.00, 25.00, 25.00, 0.00,
42: 33.33, 35.10, 36.67, 37.32, 37.56, 37.55, 37.75, 37.95, 37.92, 37.44, 36.90, 38.32, 37.46, 34.01, 25.00, 25.00, 38.14, 36.58, 22.23, 53.17, 25.00, 25.00, 25.00, 25.00, 0.00,
43: 34.11, 35.96, 37.63, 38.32, 38.59, 38.58, 38.78, 38.99, 38.94, 38.40, 37.81, 39.35, 38.42, 34.57, 25.00, 25.00, 39.17, 37.49, 22.15, 54.27, 25.00, 25.00, 25.00, 25.00, 0.00,
44: 34.87, 36.81, 38.57, 39.32, 39.62, 39.59, 39.80, 40.02, 39.96, 39.34, 38.72, 40.36, 39.36, 35.10, 25.00, 25.00, 40.17, 38.39, 22.19, 55.12, 25.00, 25.00, 25.00, 25.00, 0.00,
45: 35.64, 37.64, 39.51, 40.30, 40.61, 40.59, 40.79, 41.01, 40.94, 40.28, 39.61, 41.38, 40.29, 35.75, 25.00, 25.00, 41.17, 39.26, 22.26, 56.27, 25.00, 25.00, 25.00, 25.00, 0.00,
46: 36.41, 38.47, 40.42, 41.28, 41.59, 41.56, 41.79, 42.03, 41.93, 41.20, 40.50, 42.37, 41.21, 36.35, 25.00, 25.00, 42.15, 40.14, 22.26, 57.36, 25.00, 25.00, 25.00, 25.00, 0.00,
47: 37.16, 39.28, 41.34, 42.22, 42.58, 42.54, 42.77, 43.00, 42.90, 42.10, 41.35, 43.35, 42.10, 36.93, 25.00, 25.00, 43.13, 41.00, 22.06, 58.47, 25.00, 25.00, 25.00, 25.00, 0.00,
48: 37.91, 40.08, 42.23, 43.17, 43.55, 43.50, 43.74, 43.98, 43.86, 42.99, 42.19, 44.32, 42.99, 37.64, 25.00, 25.00, 44.08, 41.86, 22.05, 59.65, 25.00, 25.00, 25.00, 25.00, 0.00,
49: 38.64, 40.88, 43.13, 44.11, 44.52, 44.46, 44.70, 44.96, 44.81, 43.88, 43.02, 45.28, 43.85, 38.14, 25.00, 25.00, 45.04, 42.72, 22.01, 61.04, 25.00, 25.00, 25.00, 25.00, 0.00,
50: 39.38, 41.66, 44.01, 45.04, 45.48, 45.42, 45.66, 45.93, 45.75, 44.74, 43.85, 46.23, 44.71, 38.65, 25.00, 25.00, 45.98, 43.57, 22.07, 62.23, 25.00, 25.00, 25.00, 25.00, 0.00,
51: 40.11, 42.46, 44.89, 45.97, 46.42, 46.36, 46.62, 46.89, 46.68, 45.60, 44.66, 47.17, 45.54, 39.26, 25.00, 25.00, 46.90, 44.40, 21.99, 63.49, 25.00, 25.00, 25.00, 25.00, 0.00,
52: 40.84, 43.24, 45.76, 46.89, 47.36, 47.31, 47.55, 47.84, 47.60, 46.45, 45.43, 48.08, 46.37, 39.78, 25.00, 25.00, 47.82, 45.20, 21.92, 0.96, 25.00, 25.00, 25.00, 25.00, 0.00,
53: 41.58, 44.02, 46.64, 47.80, 48.30, 48.23, 48.50, 48.78, 48.51, 47.28, 46.22, 48.99, 47.16, 40.09, 25.00, 25.00, 48.71, 45.97, 21.94, 2.93, 25.00, 25.00, 25.00, 25.00, 0.00,
54: 42.31, 44.78, 47.49, 48.71, 49.24, 49.15, 49.41, 49.71, 49.40, 48.10, 46.98, 49.88, 47.96, 40.53, 25.00, 25.00, 49.58, 46.74, 22.13, 7.25, 25.00, 25.00, 25.00, 25.00, 0.00,
55: 43.03, 45.55, 48.34, 49.61, 50.15, 50.07, 50.33, 50.64, 50.28, 48.90, 47.71, 50.76, 48.71, 40.87, 25.00, 25.00, 50.46, 47.50, 22.14, 10.13, 25.00, 25.00, 25.00, 25.00, 0.00,
56: 43.76, 46.30, 49.19, 50.49, 51.06, 50.99, 51.24, 51.55, 51.16, 49.70, 48.43, 51.61, 49.46, 41.42, 25.00, 25.00, 51.30, 48.24, 22.11, 14.20, 25.00, 25.00, 25.00, 25.00, 0.00,
57: 44.48, 47.07, 50.02, 51.38, 51.97, 51.88, 52.15, 52.46, 52.01, 50.46, 49.13, 52.45, 50.19, 42.10, 25.00, 25.00, 52.12, 49.01, 21.93, 33.73, 25.00, 25.00, 25.00, 25.00, 0.00,
58: 45.20, 47.82, 50.85, 52.25, 52.86, 52.78, 53.05, 53.35, 52.87, 51.23, 49.79, 53.26, 50.90, 42.46, 25.00, 25.00, 52.93, 49.72, 21.88, 25.00, 25.00, 25.00, 25.00, 25.00, 0.00,
59: 45.92, 48.56, 51.67, 53.11, 53.75, 53.66, 53.93, 54.24, 53.69, 51.97, 50.44, 54.05, 51.59, 43.06, 25.00, 25.00, 53.71, 50.45, 21.89, 46.01, 25.00, 25.00, 25.00, 25.00, 0.00,
60: 46.63, 49.30, 52.49, 53.97, 54.63, 54.54, 54.81, 55.11, 54.52, 52.68, 51.06, 54.81, 52.27, 43.38, 25.00, 25.00, 54.46, 51.12, 22.05, 50.23, 25.00, 25.00, 25.00, 25.00, 0.00,
61: 47.34, 50.02, 53.30, 54.82, 55.50, 55.40, 55.67, 55.98, 55.32, 53.37, 51.69, 55.55, 52.90, 43.88, 25.00, 25.00, 55.21, 51.80, 22.07, 53.29, 25.00, 25.00, 25.00, 25.00, 0.00,
62: 48.04, 50.76, 54.10, 55.66, 56.35, 56.26, 56.53, 56.82, 56.12, 54.05, 52.30, 56.27, 53.53, 44.14, 25.00, 25.00, 55.92, 52.43, 21.93, 56.15, 25.00, 25.00, 25.00, 25.00, 0.00,
63: 48.74, 51.48, 54.89, 56.49, 57.20, 57.10, 57.36, 57.66, 56.87, 54.70, 52.91, 56.98, 54.16, 44.48, 25.00, 25.00, 56.62, 53.04, 22.04, 59.21, 25.00, 25.00, 25.00, 25.00, 0.00,
64: 49.42, 52.19, 55.68, 57.31, 58.04, 57.93, 58.20, 58.49, 57.61, 55.35, 53.51, 57.68, 54.78, 44.74, 25.00, 25.00, 57.31, 53.60, 21.91, 63.65, 25.00, 25.00, 25.00, 25.00, 0.00,
65: 50.12, 52.91, 56.44, 58.11, 58.87, 58.76, 59.02, 59.30, 58.32, 55.98, 54.06, 58.37, 55.39, 45.21, 25.00, 25.00, 57.98, 54.20, 21.89, 1.98, 25.00, 25.00, 25.00, 25.00, 0.00,
66: 50.80, 53.61, 57.22, 58.92, 59.68, 59.58, 59.83, 60.09, 59.01, 56.62, 54.66, 59.08, 56.00, 45.57, 25.00, 25.00, 58.65, 54.83, 21.86, 4.35, 25.00, 25.00, 25.00, 25.00, 0.00,
67: 51.48, 54.31, 57.98, 59.71, 60.49, 60.39, 60.63, 60.86, 59.70, 57.26, 55.25, 59.78, 56.59, 46.06, 25.00, 25.00, 59.34, 55.44, 21.99, 6.61, 25.00, 25.00, 25.00, 25.00, 0.00,
68: 52.15, 55.00, 58.73, 60.49, 61.28, 61.18, 61.42, 61.60, 60.38, 57.88, 55.82, 60.46, 57.20, 46.40, 25.00, 25.00, 60.02, 56.04, 21.91, 8.28, 25.00, 25.00, 25.00, 25.00, 0.00,
69: 52.81, 55.68, 59.47, 61.26, 62.07, 61.97, 62.19, 62.32, 61.05, 58.50, 56.36, 61.16, 57.78, 46.87, 25.00, 25.00, 60.69, 56.64, 21.99, 9.82, 25.00, 25.00, 25.00, 25.00, 0.00,
70: 53.47, 56.36, 60.20, 62.02, 62.83, 62.74, 62.94, 63.01, 61.74, 59.10, 56.92, 61.83, 58.37, 47.23, 25.00, 25.00, 61.35, 57.26, 22.03, 12.88, 25.00, 25.00, 25.00, 25.00, 0.00,
71: 54.13, 57.03, 60.92, 62.77, 63.58, 63.48, 63.66, 63.69, 62.42, 59.72, 57.45, 62.50, 58.95, 47.44, 25.00, 25.00, 62.01, 57.83, 22.08, 42.62, 25.00, 25.00, 25.00, 25.00, 0.00,
72: 54.77, 57.69, 61.63, 63.50, 0.33, 0.21, 0.34, 0.38, 63.08, 60.32, 57.98, 63.16, 59.52, 47.76, 25.00, 25.00, 62.66, 58.38, 22.03, 27.28, 25.00, 25.00, 25.00, 25.00, 0.00,
73: 55.41, 58.34, 62.33, 0.20, 1.02, 0.89, 1.00, 1.07, 63.76, 60.92, 58.49, 63.82, 60.10, 48.33, 25.00, 25.00, 63.30, 58.97, 21.93, 37.92, 25.00, 25.00, 25.00, 25.00, 0.00,
74: 56.04, 58.99, 63.00, 0.87, 1.69, 1.57, 1.69, 1.78, 0.43, 61.50, 58.99, 0.46, 60.66, 48.60, 25.00, 25.00, 63.93, 59.53, 22.02, 51.13, 25.00, 25.00, 25.00, 25.00, 0.00,
75: 56.67, 59.63, 63.65, 1.53, 2.34, 2.24, 2.36, 2.46, 1.08, 62.08, 59.49, 1.08, 61.20, 48.78, 25.00, 25.00, 0.53, 60.10, 22.10, 55.02, 25.00, 25.00, 25.00, 25.00, 0.00,
76: 57.28, 60.25, 0.28, 2.18, 3.02, 2.90, 3.04, 3.15, 1.72, 62.65, 59.98, 1.71, 61.73, 49.00, 25.00, 25.00, 1.15, 60.61, 22.14, 29.50, 25.00, 25.00, 25.00, 25.00, 0.00,
77: 57.88, 60.84, 0.90, 2.83, 3.69, 3.57, 3.72, 3.84, 2.37, 63.21, 60.48, 2.32, 62.27, 49.62, 25.00, 25.00, 1.75, 61.21, 22.11, 14.28, 25.00, 25.00, 25.00, 25.00, 0.00,
78: 58.48, 61.44, 1.52, 3.48, 4.36, 4.25, 4.41, 4.51, 3.00, 63.76, 60.94, 2.93, 62.79, 49.91, 25.00, 25.00, 2.34, 61.71, 22.20, 43.43, 25.00, 25.00, 25.00, 25.00, 0.00,
79: 59.03, 62.00, 2.14, 4.15, 5.03, 4.93, 5.09, 5.18, 3.64, 0.32, 61.40, 3.52, 63.32, 50.20, 25.00, 25.00, 2.92, 62.27, 23.00, 0.51, 25.00, 25.00, 25.00, 25.00, 0.00,
80: 59.58, 62.57, 2.77, 4.80, 5.71, 5.60, 5.76, 5.86, 4.26, 0.84, 61.86, 4.11, 63.83, 50.59, 25.00, 25.00, 3.49, 62.76, 22.48, 8.78, 25.00, 25.00, 25.00, 25.00, 0.00,
81: 60.13, 63.13, 3.39, 5.46, 6.36, 6.27, 6.43, 6.51, 4.87, 1.37, 62.30, 4.68, 0.32, 51.00, 25.00, 25.00, 4.06, 63.29, 22.39, 9.45, 25.00, 25.00, 25.00, 25.00, 0.00,
82: 60.68, 63.70, 4.02, 6.11, 7.04, 6.94, 7.10, 7.17, 5.48, 1.90, 62.77, 5.25, 0.81, 51.15, 25.00, 25.00, 4.62, 63.78, 22.42, 31.68, 25.00, 25.00, 25.00, 25.00, 0.00,
83: 61.23, 0.26, 4.66, 6.77, 7.70, 7.59, 7.75, 7.81, 6.08, 2.42, 63.20, 5.80, 1.30, 51.65, 25.00, 25.00, 5.15, 0.31, 22.31, 39.76, 25.00, 25.00, 25.00, 25.00, 0.00,
84: 61.59, 0.63, 5.09, 7.21, 8.14, 8.07, 8.17, 8.21, 6.48, 2.72, 63.46, 6.21, 1.67, 51.85, 25.00, 25.00, 5.50, 0.71, 22.41, 54.15, 25.00, 25.00, 25.00, 25.00, 0.00,
85: 61.53, 0.41, 4.88, 6.99, 7.96, 7.88, 7.99, 8.00, 6.22, 2.37, 63.02, 6.05, 1.51, 51.23, 25.00, 25.00, 5.22, 0.55, 22.44, 20.89, 25.00, 25.00, 25.00, 25.00, 0.00,
86: 61.44, 0.20, 4.67, 6.78, 7.74, 7.65, 7.76, 7.75, 5.92, 1.99, 62.59, 5.73, 1.13, 51.07, 25.00, 25.00, 4.89, 0.23, 22.47, 8.95, 25.00, 25.00, 25.00, 25.00, 0.00,
87: 61.34, 0.00, 4.45, 6.54, 7.50, 7.41, 7.51, 7.50, 5.60, 1.61, 62.18, 5.38, 0.71, 50.62, 25.00, 25.00, 4.52, 63.92, 22.55, 53.54, 25.00, 25.00, 25.00, 25.00, 0.00,
88: 61.24, 63.81, 4.21, 6.30, 7.26, 7.18, 7.26, 7.23, 5.27, 1.22, 61.77, 5.00, 0.29, 50.06, 25.00, 25.00, 4.13, 63.55, 22.55, 5.88, 25.00, 25.00, 25.00, 25.00, 0.00,
89: 61.14, 63.62, 3.98, 6.05, 7.01, 6.93, 7.01, 6.95, 4.95, 0.84, 61.37, 4.61, 63.85, 49.87, 25.00, 25.00, 3.74, 63.19, 22.52, 28.57, 25.00, 25.00, 25.00, 25.00, 0.00,
90: 61.04, 63.44, 3.74, 5.79, 6.76, 6.67, 6.74, 6.67, 4.60, 0.46, 60.93, 4.21, 63.41, 49.84, 25.00, 25.00, 3.35, 62.86, 22.53, 27.26, 25.00, 25.00, 25.00, 25.00, 0.00,
91: 60.92, 63.26, 3.50, 5.53, 6.49, 6.41, 6.48, 6.39, 4.25, 0.08, 60.51, 3.81, 62.98, 49.41, 25.00, 25.00, 2.95, 62.47, 22.71, 1.14, 25.00, 25.00, 25.00, 25.00, 0.00,
92: 60.81, 63.09, 3.26, 5.29, 6.24, 6.16, 6.21, 6.10, 3.92, 63.70, 60.08, 3.40, 62.56, 48.82, 25.00, 25.00, 2.54, 62.06, 22.88, 5.39, 25.00, 25.00, 25.00, 25.00, 0.00,
93: 60.70, 62.92, 3.03, 5.02, 5.98, 5.90, 5.93, 5.79, 3.56, 63.31, 59.64, 3.00, 62.16, 48.67, 25.00, 25.00, 2.18, 61.77, 22.81, 51.99, 25.00, 25.00, 25.00, 25.00, 0.00,
94: 60.59, 62.74, 2.79, 4.78, 5.72, 5.64, 5.66, 5.50, 3.21, 62.92, 59.21, 2.62, 61.83, 48.51, 25.00, 25.00, 1.85, 61.56, 22.62, 43.00, 25.00, 25.00, 25.00, 25.00, 0.00,
95: 60.48, 62.58, 2.57, 4.51, 5.45, 5.37, 5.39, 5.21, 2.87, 62.55, 58.79, 2.22, 61.43, 48.29, 25.00, 25.00, 1.46, 61.24, 22.47, 42.20, 25.00, 25.00, 25.00, 25.00, 0.00,
96: 60.36, 62.40, 2.33, 4.26, 5.18, 5.11, 5.11, 4.91, 2.52, 62.16, 58.35, 1.81, 61.02, 47.88, 25.00, 25.00, 1.05, 60.87, 22.54, 42.32, 25.00, 25.00, 25.00, 25.00, 0.00,
97: 60.24, 62.25, 2.10, 4.00, 4.93, 4.84, 4.84, 4.61, 2.17, 61.78, 57.93, 1.40, 60.62, 47.45, 25.00, 25.00, 0.65, 60.46, 22.64, 42.42, 25.00, 25.00, 25.00, 25.00, 0.00,
98: 60.13, 62.08, 1.88, 3.75, 4.67, 4.58, 4.57, 4.31, 1.82, 61.41, 57.51, 0.99, 60.22, 46.93, 25.00, 25.00, 0.25, 60.06, 22.66, 43.66, 25.00, 25.00, 25.00, 25.00, 0.00,
99: 60.01, 61.92, 1.65, 3.50, 4.40, 4.32, 4.29, 4.01, 1.48, 61.03, 57.11, 0.58, 59.82, 46.70, 25.00, 25.00, 63.83, 59.74, 22.73, 54.23, 25.00, 25.00, 25.00, 25.00, 0.00,

## Sheet8
0: 21.17, 21.10, 21.23, 21.21, 21.20, 21.26, 21.34, 21.45, 21.60, 21.84, 21.99, 22.14, 21.94, 22.30, 25.00, 40.22, 21.89, 22.11, 22.51, 37.60, 25.00, 25.00, 25.00, 25.00, 0.00,
1: 21.17, 21.11, 21.22, 21.21, 21.21, 21.26, 21.34, 21.46, 21.60, 21.84, 21.99, 22.15, 21.94, 22.32, 25.00, 40.14, 21.90, 22.11, 22.56, 35.33, 25.00, 25.00, 25.00, 25.00, 0.00,
2: 21.17, 21.11, 21.24, 21.21, 21.21, 21.27, 21.35, 21.46, 21.61, 21.85, 22.00, 22.16, 21.95, 22.32, 25.00, 41.23, 21.90, 22.11, 22.67, 35.40, 25.00, 25.00, 25.00, 25.00, 0.00,
3: 21.17, 21.12, 21.24, 21.22, 21.21, 21.27, 21.35, 21.46, 21.61, 21.86, 22.01, 22.16, 21.95, 22.33, 25.00, 46.06, 21.90, 22.13, 22.79, 35.47, 25.00, 25.00, 25.00, 25.00, 0.00,
4: 21.19, 21.11, 21.24, 21.23, 21.22, 21.28, 21.36, 21.47, 21.62, 21.86, 22.01, 22.17, 21.97, 22.35, 25.00, 47.15, 21.92, 22.12, 22.60, 35.49, 25.00, 25.00, 25.00, 25.00, 0.00,
5: 21.19, 21.12, 21.24, 21.23, 21.22, 21.29, 21.36, 21.47, 21.63, 21.87, 22.01, 22.18, 21.97, 22.35, 25.00, 47.61, 21.91, 22.14, 22.57, 35.52, 25.00, 25.00, 25.00, 25.00, 0.00,
6: 21.20, 21.13, 21.25, 21.24, 21.23, 21.29, 21.37, 21.47, 21.63, 21.87, 22.03, 22.18, 21.98, 22.35, 25.00, 48.11, 21.93, 22.15, 22.61, 35.55, 25.00, 25.00, 25.00, 25.00, 0.00,
7: 21.19, 21.12, 21.25, 21.23, 21.23, 21.29, 21.37, 21.48, 21.63, 21.89, 22.03, 22.19, 21.98, 22.37, 25.00, 48.52, 21.93, 22.15, 22.63, 35.54, 25.00, 25.00, 25.00, 25.00, 0.00,
8: 21.20, 21.14, 21.26, 21.25, 21.24, 21.30, 21.38, 21.49, 21.65, 21.88, 22.03, 22.20, 21.99, 22.37, 25.00, 48.92, 21.94, 22.16, 22.64, 35.62, 25.00, 25.00, 25.00, 25.00, 0.00,
9: 21.21, 21.15, 21.26, 21.25, 21.24, 21.31, 21.39, 21.50, 21.65, 21.89, 22.05, 22.21, 22.00, 22.39, 25.00, 49.25, 21.95, 22.16, 22.68, 35.65, 25.00, 25.00, 25.00, 25.00, 0.00,
10: 21.21, 21.14, 21.28, 21.25, 21.26, 21.31, 21.38, 21.50, 21.65, 21.90, 22.06, 22.22, 22.01, 22.40, 25.00, 49.49, 21.96, 22.18, 22.77, 35.67, 25.00, 25.00, 25.00, 25.00, 0.00,
11: 21.22, 21.15, 21.28, 21.25, 21.26, 21.31, 21.39, 21.50, 21.66, 21.90, 22.05, 22.22, 22.01, 22.41, 25.00, 50.00, 21.96, 22.19, 22.81, 35.70, 25.00, 25.00, 25.00, 25.00, 0.00,
12: 21.22, 21.15, 21.28, 21.27, 21.26, 21.32, 21.40, 21.51, 21.67, 21.91, 22.06, 22.23, 22.01, 22.42, 25.00, 50.02, 21.97, 22.19, 23.10, 35.73, 25.00, 25.00, 25.00, 25.00, 0.00,
13: 21.29, 21.26, 21.38, 21.37, 21.37, 21.42, 21.51, 21.62, 21.76, 22.01, 22.16, 22.32, 22.09, 22.50, 25.00, 53.26, 22.07, 22.26, 22.92, 35.83, 25.00, 25.00, 25.00, 25.00, 0.00,
14: 21.39, 21.38, 21.51, 21.50, 21.50, 21.56, 21.65, 21.75, 21.91, 22.15, 22.30, 22.45, 22.23, 22.60, 25.00, 25.00, 22.19, 22.38, 22.89, 35.98, 25.00, 25.00, 25.00, 25.00, 0.00,
15: 21.49, 21.50, 21.64, 21.65, 21.64, 21.69, 21.79, 21.90, 22.04, 22.29, 22.42, 22.59, 22.35, 22.72, 25.00, 47.41, 22.35, 22.50, 22.88, 36.12, 25.00, 25.00, 25.00, 25.00, 0.00,
16: 21.60, 21.63, 21.77, 21.78, 21.77, 21.83, 21.92, 22.04, 22.18, 22.42, 22.55, 22.73, 22.50, 22.83, 25.00, 51.21, 22.49, 22.63, 22.82, 36.26, 25.00, 25.00, 25.00, 25.00, 0.00,
17: 21.70, 21.74, 21.90, 21.92, 21.92, 21.98, 22.07, 22.18, 22.32, 22.55, 22.68, 22.87, 22.64, 22.94, 25.00, 63.20, 22.63, 22.78, 22.93, 36.44, 25.00, 25.00, 25.00, 25.00, 0.00,
18: 21.81, 21.86, 22.04, 22.05, 22.05, 22.12, 22.20, 22.32, 22.46, 22.68, 22.80, 23.01, 22.77, 23.06, 25.00, 25.00, 22.77, 22.89, 22.90, 36.58, 25.00, 25.00, 25.00, 25.00, 0.00,
19: 21.90, 21.98, 22.16, 22.19, 22.18, 22.25, 22.33, 22.45, 22.60, 22.81, 22.92, 23.15, 22.91, 23.17, 25.00, 34.31, 22.91, 23.02, 22.85, 36.73, 25.00, 25.00, 25.00, 25.00, 0.00,
20: 22.00, 22.09, 22.30, 22.32, 22.33, 22.38, 22.47, 22.59, 22.73, 22.94, 23.06, 23.29, 23.05, 23.28, 25.00, 42.50, 23.04, 23.15, 22.87, 36.87, 25.00, 25.00, 25.00, 25.00, 0.00,
21: 22.10, 22.20, 22.43, 22.46, 22.46, 22.52, 22.61, 22.73, 22.88, 23.08, 23.19, 23.42, 23.19, 23.38, 25.00, 42.56, 23.18, 23.27, 22.90, 37.02, 25.00, 25.00, 25.00, 25.00, 0.00,
22: 22.26, 22.37, 22.62, 22.65, 22.67, 22.71, 22.85, 22.97, 23.06, 23.29, 23.36, 23.63, 23.36, 23.51, 25.00, 43.07, 23.38, 23.45, 23.06, 37.25, 25.00, 25.00, 25.00, 25.00, 0.00,
23: 22.61, 22.83, 23.09, 23.15, 23.16, 23.22, 23.34, 23.45, 23.57, 23.76, 23.82, 24.06, 23.78, 23.88, 25.00, 31.06, 23.85, 23.82, 23.08, 37.99, 25.00, 25.00, 25.00, 25.00, 0.00,
24: 22.99, 23.30, 23.58, 23.67, 23.69, 23.75, 23.86, 23.97, 24.09, 24.26, 24.32, 24.57, 24.28, 24.29, 25.00, 32.11, 24.36, 24.27, 23.06, 41.29, 25.00, 25.00, 25.00, 25.00, 0.00,
25: 23.38, 23.76, 24.08, 24.18, 24.21, 24.26, 24.38, 24.50, 24.62, 24.77, 24.79, 25.08, 24.79, 24.69, 25.00, 32.86, 24.88, 24.74, 23.04, 53.73, 25.00, 25.00, 25.00, 25.00, 0.00,
26: 23.76, 24.19, 24.58, 24.69, 24.72, 24.77, 24.89, 25.02, 25.13, 25.26, 25.26, 25.60, 25.29, 25.08, 25.00, 25.50, 25.41, 25.22, 23.02, 19.35, 25.00, 25.00, 25.00, 25.00, 0.00,
27: 24.13, 24.62, 25.07, 25.20, 25.24, 25.29, 25.41, 25.53, 25.64, 25.74, 25.72, 26.12, 25.80, 25.48, 25.00, 28.64, 25.91, 25.67, 22.84, 48.71, 25.00, 25.00, 25.00, 25.00, 0.00,
28: 24.52, 25.06, 25.54, 25.70, 25.74, 25.80, 25.92, 26.04, 26.13, 26.22, 26.18, 26.61, 26.28, 25.84, 25.00, 38.15, 26.41, 26.13, 22.72, 8.36, 25.00, 25.00, 25.00, 25.00, 0.00,
29: 24.88, 25.48, 26.01, 26.19, 26.25, 26.29, 26.41, 26.54, 26.65, 26.69, 26.62, 27.12, 26.76, 26.20, 25.00, 7.97, 26.92, 26.58, 22.78, 22.29, 25.00, 25.00, 25.00, 25.00, 0.00,
30: 25.25, 25.89, 26.48, 26.68, 26.74, 26.78, 26.91, 27.04, 27.13, 27.15, 27.07, 27.61, 27.24, 26.56, 25.00, 25.00, 27.42, 27.03, 22.79, 39.95, 25.00, 25.00, 25.00, 25.00, 0.00,
31: 25.62, 26.31, 26.94, 27.15, 27.23, 27.27, 27.40, 27.52, 27.63, 27.61, 27.51, 28.10, 27.71, 26.91, 25.00, 25.00, 27.89, 27.48, 22.78, 26.13, 25.00, 25.00, 25.00, 25.00, 0.00,
32: 25.99, 26.71, 27.39, 27.63, 27.71, 27.75, 27.88, 28.02, 28.10, 28.06, 27.95, 28.58, 28.17, 27.26, 25.00, 25.00, 28.37, 27.91, 22.72, 63.23, 25.00, 25.00, 25.00, 25.00, 0.00,
33: 26.35, 27.12, 27.84, 28.10, 28.19, 28.22, 28.36, 28.49, 28.58, 28.51, 28.39, 29.06, 28.61, 27.59, 25.00, 25.00, 28.85, 28.34, 22.49, 0.92, 25.00, 25.00, 25.00, 25.00, 0.00,
34: 26.97, 27.89, 28.64, 28.94, 29.05, 29.10, 29.24, 29.36, 29.42, 29.31, 29.17, 29.81, 29.32, 28.13, 25.00, 25.00, 29.65, 28.98, 22.67, 12.47, 25.00, 25.00, 25.00, 25.00, 0.00,
35: 27.79, 28.84, 29.70, 30.04, 30.15, 30.18, 30.36, 30.50, 30.52, 30.40, 30.20, 30.88, 30.33, 28.84, 25.00, 29.97, 30.75, 29.90, 22.60, 38.71, 25.00, 25.00, 25.00, 25.00, 0.00,
36: 28.61, 29.79, 30.72, 31.12, 31.25, 31.26, 31.43, 31.59, 31.61, 31.46, 31.20, 31.96, 31.38, 29.61, 25.00, 30.27, 31.82, 30.86, 22.53, 27.30, 25.00, 25.00, 25.00, 25.00, 0.00,
37: 29.40, 30.70, 31.75, 32.17, 32.31, 32.33, 32.51, 32.66, 32.68, 32.49, 32.17, 33.03, 32.41, 30.39, 25.00, 25.00, 32.88, 31.84, 22.49, 48.01, 25.00, 25.00, 25.00, 25.00, 0.00,
38: 30.19, 31.61, 32.74, 33.21, 33.38, 33.39, 33.57, 33.73, 33.74, 33.50, 33.14, 34.10, 33.45, 31.17, 25.00, 61.75, 33.95, 32.80, 22.23, 48.80, 25.00, 25.00, 25.00, 25.00, 0.00,
39: 30.97, 32.50, 33.74, 34.25, 34.44, 34.44, 34.62, 34.80, 34.80, 34.50, 34.08, 35.17, 34.46, 31.86, 25.00, 25.00, 35.01, 33.75, 22.27, 49.78, 25.00, 25.00, 25.00, 25.00, 0.00,
40: 31.76, 33.37, 34.72, 35.28, 35.48, 35.47, 35.67, 35.86, 35.85, 35.49, 35.03, 36.22, 35.48, 32.61, 25.00, 25.00, 36.06, 34.71, 22.29, 50.90, 25.00, 25.00, 25.00, 25.00, 0.00,
41: 32.55, 34.25, 35.70, 36.30, 36.53, 36.52, 36.72, 36.90, 36.88, 36.47, 35.98, 37.28, 36.47, 33.34, 25.00, 25.00, 37.11, 35.64, 22.32, 52.05, 25.00, 25.00, 25.00, 25.00, 0.00,
42: 33.33, 35.10, 36.67, 37.32, 37.56, 37.55, 37.75, 37.95, 37.92, 37.44, 36.90, 38.32, 37.46, 34.01, 25.00, 25.00, 38.14, 36.58, 22.23, 53.17, 25.00, 25.00, 25.00, 25.00, 0.00,
43: 34.11, 35.96, 37.63, 38.32, 38.59, 38.58, 38.78, 38.99, 38.94, 38.40, 37.81, 39.35, 38.42, 34.57, 25.00, 25.00, 39.17, 37.49, 22.15, 54.27, 25.00, 25.00, 25.00, 25.00, 0.00,
44: 34.87, 36.81, 38.57, 39.32, 39.62, 39.59, 39.80, 40.02, 39.96, 39.34, 38.72, 40.36, 39.36, 35.10, 25.00, 25.00, 40.17, 38.39, 22.19, 55.12, 25.00, 25.00, 25.00, 25.00, 0.00,
45: 35.64, 37.64, 39.51, 40.30, 40.61, 40.59, 40.79, 41.01, 40.94, 40.28, 39.61, 41.38, 40.29, 35.75, 25.00, 25.00, 41.17, 39.26, 22.26, 56.27, 25.00, 25.00, 25.00, 25.00, 0.00,
46: 36.41, 38.47, 40.42, 41.28, 41.59, 41.56, 41.79, 42.03, 41.93, 41.20, 40.50, 42.37, 41.21, 36.35, 25.00, 25.00, 42.15, 40.14, 22.26, 57.36, 25.00, 25.00, 25.00, 25.00, 0.00,
47: 37.16, 39.28, 41.34, 42.22, 42.58, 42.54, 42.77, 43.00, 42.90, 42.10, 41.35, 43.35, 42.10, 36.93, 25.00, 25.00, 43.13, 41.00, 22.06, 58.47, 25.00, 25.00, 25.00, 25.00, 0.00,
48: 37.91, 40.08, 42.23, 43.17, 43.55, 43.50, 43.74, 43.98, 43.86, 42.99, 42.19, 44.32, 42.99, 37.64, 25.00, 25.00, 44.08, 41.86, 22.05, 59.65, 25.00, 25.00, 25.00, 25.00, 0.00,
49: 38.64, 40.88, 43.13, 44.11, 44.52, 44.46, 44.70, 44.96, 44.81, 43.88, 43.02, 45.28, 43.85, 38.14, 25.00, 25.00, 45.04, 42.72, 22.01, 61.04, 25.00, 25.00, 25.00, 25.00, 0.00,
50: 39.38, 41.66, 44.01, 45.04, 45.48, 45.42, 45.66, 45.93, 45.75, 44.74, 43.85, 46.23, 44.71, 38.65, 25.00, 25.00, 45.98, 43.57, 22.07, 62.23, 25.00, 25.00, 25.00, 25.00, 0.00,
51: 40.11, 42.46, 44.89, 45.97, 46.42, 46.36, 46.62, 46.89, 46.68, 45.60, 44.66, 47.17, 45.54, 39.26, 25.00, 25.00, 46.90, 44.40, 21.99, 63.49, 25.00, 25.00, 25.00, 25.00, 0.00,
52: 40.84, 43.24, 45.76, 46.89, 47.36, 47.31, 47.55, 47.84, 47.60, 46.45, 45.43, 48.08, 46.37, 39.78, 25.00, 25.00, 47.82, 45.20, 21.92, 0.96, 25.00, 25.00, 25.00, 25.00, 0.00,
53: 41.58, 44.02, 46.64, 47.80, 48.30, 48.23, 48.50, 48.78, 48.51, 47.28, 46.22, 48.99, 47.16, 40.09, 25.00, 25.00, 48.71, 45.97, 21.94, 2.93, 25.00, 25.00, 25.00, 25.00, 0.00,
54: 42.31, 44.78, 47.49, 48.71, 49.24, 49.15, 49.41, 49.71, 49.40, 48.10, 46.98, 49.88, 47.96, 40.53, 25.00, 25.00, 49.58, 46.74, 22.13, 7.25, 25.00, 25.00, 25.00, 25.00, 0.00,
55: 43.03, 45.55, 48.34, 49.61, 50.15, 50.07, 50.33, 50.64, 50.28, 48.90, 47.71, 50.76, 48.71, 40.87, 25.00, 25.00, 50.46, 47.50, 22.14, 10.13, 25.00, 25.00, 25.00, 25.00, 0.00,
56: 43.76, 46.30, 49.19, 50.49, 51.06, 50.99, 51.24, 51.55, 51.16, 49.70, 48.43, 51.61, 49.46, 41.42, 25.00, 25.00, 51.30, 48.24, 22.11, 14.20, 25.00, 25.00, 25.00, 25.00, 0.00,
57: 44.48, 47.07, 50.02, 51.38, 51.97, 51.88, 52.15, 52.46, 52.01, 50.46, 49.13, 52.45, 50.19, 42.10, 25.00, 25.00, 52.12, 49.01, 21.93, 33.73, 25.00, 25.00, 25.00, 25.00, 0.00,
58: 45.20, 47.82, 50.85, 52.25, 52.86, 52.78, 53.05, 53.35, 52.87, 51.23, 49.79, 53.26, 50.90, 42.46, 25.00, 25.00, 52.93, 49.72, 21.88, 25.00, 25.00, 25.00, 25.00, 25.00, 0.00,
59: 45.92, 48.56, 51.67, 53.11, 53.75, 53.66, 53.93, 54.24, 53.69, 51.97, 50.44, 54.05, 51.59, 43.06, 25.00, 25.00, 53.71, 50.45, 21.89, 46.01, 25.00, 25.00, 25.00, 25.00, 0.00,
60: 46.63, 49.30, 52.49, 53.97, 54.63, 54.54, 54.81, 55.11, 54.52, 52.68, 51.06, 54.81, 52.27, 43.38, 25.00, 25.00, 54.46, 51.12, 22.05, 50.23, 25.00, 25.00, 25.00, 25.00, 0.00,
61: 47.34, 50.02, 53.30, 54.82, 55.50, 55.40, 55.67, 55.98, 55.32, 53.37, 51.69, 55.55, 52.90, 43.88, 25.00, 25.00, 55.21, 51.80, 22.07, 53.29, 25.00, 25.00, 25.00, 25.00, 0.00,
62: 48.04, 50.76, 54.10, 55.66, 56.35, 56.26, 56.53, 56.82, 56.12, 54.05, 52.30, 56.27, 53.53, 44.14, 25.00, 25.00, 55.92, 52.43, 21.93, 56.15, 25.00, 25.00, 25.00, 25.00, 0.00,
63: 48.74, 51.48, 54.89, 56.49, 57.20, 57.10, 57.36, 57.66, 56.87, 54.70, 52.91, 56.98, 54.16, 44.48, 25.00, 25.00, 56.62, 53.04, 22.04, 59.21, 25.00, 25.00, 25.00, 25.00, 0.00,
64: 49.42, 52.19, 55.68, 57.31, 58.04, 57.93, 58.20, 58.49, 57.61, 55.35, 53.51, 57.68, 54.78, 44.74, 25.00, 25.00, 57.31, 53.60, 21.91, 63.65, 25.00, 25.00, 25.00, 25.00, 0.00,
65: 50.12, 52.91, 56.44, 58.11, 58.87, 58.76, 59.02, 59.30, 58.32, 55.98, 54.06, 58.37, 55.39, 45.21, 25.00, 25.00, 57.98, 54.20, 21.89, 1.98, 25.00, 25.00, 25.00, 25.00, 0.00,
66: 50.80, 53.61, 57.22, 58.92, 59.68, 59.58, 59.83, 60.09, 59.01, 56.62, 54.66, 59.08, 56.00, 45.57, 25.00, 25.00, 58.65, 54.83, 21.86, 4.35, 25.00, 25.00, 25.00, 25.00, 0.00,
67: 51.48, 54.31, 57.98, 59.71, 60.49, 60.39, 60.63, 60.86, 59.70, 57.26, 55.25, 59.78, 56.59, 46.06, 25.00, 25.00, 59.34, 55.44, 21.99, 6.61, 25.00, 25.00, 25.00, 25.00, 0.00,
68: 52.15, 55.00, 58.73, 60.49, 61.28, 61.18, 61.42, 61.60, 60.38, 57.88, 55.82, 60.46, 57.20, 46.40, 25.00, 25.00, 60.02, 56.04, 21.91, 8.28, 25.00, 25.00, 25.00, 25.00, 0.00,
69: 52.81, 55.68, 59.47, 61.26, 62.07, 61.97, 62.19, 62.32, 61.05, 58.50, 56.36, 61.16, 57.78, 46.87, 25.00, 25.00, 60.69, 56.64, 21.99, 9.82, 25.00, 25.00, 25.00, 25.00, 0.00,
70: 53.47, 56.36, 60.20, 62.02, 62.83, 62.74, 62.94, 63.01, 61.74, 59.10, 56.92, 61.83, 58.37, 47.23, 25.00, 25.00, 61.35, 57.26, 22.03, 12.88, 25.00, 25.00, 25.00, 25.00, 0.00,
71: 54.13, 57.03, 60.92, 62.77, 63.58, 63.48, 63.66, 63.69, 62.42, 59.72, 57.45, 62.50, 58.95, 47.44, 25.00, 25.00, 62.01, 57.83, 22.08, 42.62, 25.00, 25.00, 25.00, 25.00, 0.00,
72: 54.77, 57.69, 61.63, 63.50, 0.33, 0.21, 0.34, 0.38, 63.08, 60.32, 57.98, 63.16, 59.52, 47.76, 25.00, 25.00, 62.66, 58.38, 22.03, 27.28, 25.00, 25.00, 25.00, 25.00, 0.00,
73: 55.41, 58.34, 62.33, 0.20, 1.02, 0.89, 1.00, 1.07, 63.76, 60.92, 58.49, 63.82, 60.10, 48.33, 25.00, 25.00, 63.30, 58.97, 21.93, 37.92, 25.00, 25.00, 25.00, 25.00, 0.00,
74: 56.04, 58.99, 63.00, 0.87, 1.69, 1.57, 1.69, 1.78, 0.43, 61.50, 58.99, 0.46, 60.66, 48.60, 25.00, 25.00, 63.93, 59.53, 22.02, 51.13, 25.00, 25.00, 25.00, 25.00, 0.00,
75: 56.67, 59.63, 63.65, 1.53, 2.34, 2.24, 2.36, 2.46, 1.08, 62.08, 59.49, 1.08, 61.20, 48.78, 25.00, 25.00, 0.53, 60.10, 22.10, 55.02, 25.00, 25.00, 25.00, 25.00, 0.00,
76: 57.28, 60.25, 0.28, 2.18, 3.02, 2.90, 3.04, 3.15, 1.72, 62.65, 59.98, 1.71, 61.73, 49.00, 25.00, 25.00, 1.15, 60.61, 22.14, 29.50, 25.00, 25.00, 25.00, 25.00, 0.00,
77: 57.88, 60.84, 0.90, 2.83, 3.69, 3.57, 3.72, 3.84, 2.37, 63.21, 60.48, 2.32, 62.27, 49.62, 25.00, 25.00, 1.75, 61.21, 22.11, 14.28, 25.00, 25.00, 25.00, 25.00, 0.00,
78: 58.48, 61.44, 1.52, 3.48, 4.36, 4.25, 4.41, 4.51, 3.00, 63.76, 60.94, 2.93, 62.79, 49.91, 25.00, 25.00, 2.34, 61.71, 22.20, 43.43, 25.00, 25.00, 25.00, 25.00, 0.00,
79: 59.03, 62.00, 2.14, 4.15, 5.03, 4.93, 5.09, 5.18, 3.64, 0.32, 61.40, 3.52, 63.32, 50.20, 25.00, 25.00, 2.92, 62.27, 23.00, 0.51, 25.00, 25.00, 25.00, 25.00, 0.00,
80: 59.58, 62.57, 2.77, 4.80, 5.71, 5.60, 5.76, 5.86, 4.26, 0.84, 61.86, 4.11, 63.83, 50.59, 25.00, 25.00, 3.49, 62.76, 22.48, 8.78, 25.00, 25.00, 25.00, 25.00, 0.00,
81: 60.13, 63.13, 3.39, 5.46, 6.36, 6.27, 6.43, 6.51, 4.87, 1.37, 62.30, 4.68, 0.32, 51.00, 25.00, 25.00, 4.06, 63.29, 22.39, 9.45, 25.00, 25.00, 25.00, 25.00, 0.00,
82: 60.68, 63.70, 4.02, 6.11, 7.04, 6.94, 7.10, 7.17, 5.48, 1.90, 62.77, 5.25, 0.81, 51.15, 25.00, 25.00, 4.62, 63.78, 22.42, 31.68, 25.00, 25.00, 25.00, 25.00, 0.00,
83: 61.23, 0.26, 4.66, 6.77, 7.70, 7.59, 7.75, 7.81, 6.08, 2.42, 63.20, 5.80, 1.30, 51.65, 25.00, 25.00, 5.15, 0.31, 22.31, 39.76, 25.00, 25.00, 25.00, 25.00, 0.00,
84: 61.59, 0.63, 5.09, 7.21, 8.14, 8.07, 8.17, 8.21, 6.48, 2.72, 63.46, 6.21, 1.67, 51.85, 25.00, 25.00, 5.50, 0.71, 22.41, 54.15, 25.00, 25.00, 25.00, 25.00, 0.00,
85: 61.53, 0.41, 4.88, 6.99, 7.96, 7.88, 7.99, 8.00, 6.22, 2.37, 63.02, 6.05, 1.51, 51.23, 25.00, 25.00, 5.22, 0.55, 22.44, 20.89, 25.00, 25.00, 25.00, 25.00, 0.00,
86: 61.44, 0.20, 4.67, 6.78, 7.74, 7.65, 7.76, 7.75, 5.92, 1.99, 62.59, 5.73, 1.13, 51.07, 25.00, 25.00, 4.89, 0.23, 22.47, 8.95, 25.00, 25.00, 25.00, 25.00, 0.00,
87: 61.34, 0.00, 4.45, 6.54, 7.50, 7.41, 7.51, 7.50, 5.60, 1.61, 62.18, 5.38, 0.71, 50.62, 25.00, 25.00, 4.52, 63.92, 22.55, 53.54, 25.00, 25.00, 25.00, 25.00, 0.00,
88: 61.24, 63.81, 4.21, 6.30, 7.26, 7.18, 7.26, 7.23, 5.27, 1.22, 61.77, 5.00, 0.29, 50.06, 25.00, 25.00, 4.13, 63.55, 22.55, 5.88, 25.00, 25.00, 25.00, 25.00, 0.00,
89: 61.14, 63.62, 3.98, 6.05, 7.01, 6.93, 7.01, 6.95, 4.95, 0.84, 61.37, 4.61, 63.85, 49.87, 25.00, 25.00, 3.74, 63.19, 22.52, 28.57, 25.00, 25.00, 25.00, 25.00, 0.00,
90: 61.04, 63.44, 3.74, 5.79, 6.76, 6.67, 6.74, 6.67, 4.60, 0.46, 60.93, 4.21, 63.41, 49.84, 25.00, 25.00, 3.35, 62.86, 22.53, 27.26, 25.00, 25.00, 25.00, 25.00, 0.00,
91: 60.92, 63.26, 3.50, 5.53, 6.49, 6.41, 6.48, 6.39, 4.25, 0.08, 60.51, 3.81, 62.98, 49.41, 25.00, 25.00, 2.95, 62.47, 22.71, 1.14, 25.00, 25.00, 25.00, 25.00, 0.00,
92: 60.81, 63.09, 3.26, 5.29, 6.24, 6.16, 6.21, 6.10, 3.92, 63.70, 60.08, 3.40, 62.56, 48.82, 25.00, 25.00, 2.54, 62.06, 22.88, 5.39, 25.00, 25.00, 25.00, 25.00, 0.00,
93: 60.70, 62.92, 3.03, 5.02, 5.98, 5.90, 5.93, 5.79, 3.56, 63.31, 59.64, 3.00, 62.16, 48.67, 25.00, 25.00, 2.18, 61.77, 22.81, 51.99, 25.00, 25.00, 25.00, 25.00, 0.00,
94: 60.59, 62.74, 2.79, 4.78, 5.72, 5.64, 5.66, 5.50, 3.21, 62.92, 59.21, 2.62, 61.83, 48.51, 25.00, 25.00, 1.85, 61.56, 22.62, 43.00, 25.00, 25.00, 25.00, 25.00, 0.00,
95: 60.48, 62.58, 2.57, 4.51, 5.45, 5.37, 5.39, 5.21, 2.87, 62.55, 58.79, 2.22, 61.43, 48.29, 25.00, 25.00, 1.46, 61.24, 22.47, 42.20, 25.00, 25.00, 25.00, 25.00, 0.00,
96: 60.36, 62.40, 2.33, 4.26, 5.18, 5.11, 5.11, 4.91, 2.52, 62.16, 58.35, 1.81, 61.02, 47.88, 25.00, 25.00, 1.05, 60.87, 22.54, 42.32, 25.00, 25.00, 25.00, 25.00, 0.00,
97: 60.24, 62.25, 2.10, 4.00, 4.93, 4.84, 4.84, 4.61, 2.17, 61.78, 57.93, 1.40, 60.62, 47.45, 25.00, 25.00, 0.65, 60.46, 22.64, 42.42, 25.00, 25.00, 25.00, 25.00, 0.00,
98: 60.13, 62.08, 1.88, 3.75, 4.67, 4.58, 4.57, 4.31, 1.82, 61.41, 57.51, 0.99, 60.22, 46.93, 25.00, 25.00, 0.25, 60.06, 22.66, 43.66, 25.00, 25.00, 25.00, 25.00, 0.00,
99: 60.01, 61.92, 1.65, 3.50, 4.40, 4.32, 4.29, 4.01, 1.48, 61.03, 57.11, 0.58, 59.82, 46.70, 25.00, 25.00, 63.83, 59.74, 22.73, 54.23, 25.00, 25.00, 25.00, 25.00, 0.00,

## 2NewPS1500Wwith1ParralandOneSer
Column1	Column2	Column3	Column4	Column5	Column6
=~=~=~=~=~=~=~=~=~=~=~=	PuTTY	log	2021.05.26	15:40:08	=~=~=~=~=~=~=~=~=~=~=~=
Starting	up	SPI
Please	enter	the	sampling	interval	(as
You	have	selected	to	read	the
If	you	are	unhappy	with	your
0:	21.17,	21.10,	21.23,	21.21,	21.20,
1:	21.17,	21.11,	21.22,	21.21,	21.21,
2:	21.17,	21.11,	21.24,	21.21,	21.21,
3:	21.17,	21.12,	21.24,	21.22,	21.21,
4:	21.19,	21.11,	21.24,	21.23,	21.22,
5:	21.19,	21.12,	21.24,	21.23,	21.22,
6:	21.20,	21.13,	21.25,	21.24,	21.23,
7:	21.19,	21.12,	21.25,	21.23,	21.23,
8:	21.20,	21.14,	21.26,	21.25,	21.24,
9:	21.21,	21.15,	21.26,	21.25,	21.24,
10:	21.21,	21.14,	21.28,	21.25,	21.26,
11:	21.22,	21.15,	21.28,	21.25,	21.26,
12:	21.22,	21.15,	21.28,	21.27,	21.26,
13:	21.29,	21.26,	21.38,	21.37,	21.37,
14:	21.39,	21.38,	21.51,	21.50,	21.50,
15:	21.49,	21.50,	21.64,	21.65,	21.64,
16:	21.60,	21.63,	21.77,	21.78,	21.77,
17:	21.70,	21.74,	21.90,	21.92,	21.92,
18:	21.81,	21.86,	22.04,	22.05,	22.05,
19:	21.90,	21.98,	22.16,	22.19,	22.18,
20:	22.00,	22.09,	22.30,	22.32,	22.33,
21:	22.10,	22.20,	22.43,	22.46,	22.46,
22:	22.26,	22.37,	22.62,	22.65,	22.67,
23:	22.61,	22.83,	23.09,	23.15,	23.16,
24:	22.99,	23.30,	23.58,	23.67,	23.69,
25:	23.38,	23.76,	24.08,	24.18,	24.21,
26:	23.76,	24.19,	24.58,	24.69,	24.72,
27:	24.13,	24.62,	25.07,	25.20,	25.24,
28:	24.52,	25.06,	25.54,	25.70,	25.74,
29:	24.88,	25.48,	26.01,	26.19,	26.25,
30:	25.25,	25.89,	26.48,	26.68,	26.74,
31:	25.62,	26.31,	26.94,	27.15,	27.23,
32:	25.99,	26.71,	27.39,	27.63,	27.71,
33:	26.35,	27.12,	27.84,	28.10,	28.19,
34:	26.97,	27.89,	28.64,	28.94,	29.05,
35:	27.79,	28.84,	29.70,	30.04,	30.15,
36:	28.61,	29.79,	30.72,	31.12,	31.25,
37:	29.40,	30.70,	31.75,	32.17,	32.31,
38:	30.19,	31.61,	32.74,	33.21,	33.38,
39:	30.97,	32.50,	33.74,	34.25,	34.44,
40:	31.76,	33.37,	34.72,	35.28,	35.48,
41:	32.55,	34.25,	35.70,	36.30,	36.53,
42:	33.33,	35.10,	36.67,	37.32,	37.56,
43:	34.11,	35.96,	37.63,	38.32,	38.59,
44:	34.87,	36.81,	38.57,	39.32,	39.62,
45:	35.64,	37.64,	39.51,	40.30,	40.61,
46:	36.41,	38.47,	40.42,	41.28,	41.59,
47:	37.16,	39.28,	41.34,	42.22,	42.58,
48:	37.91,	40.08,	42.23,	43.17,	43.55,
49:	38.64,	40.88,	43.13,	44.11,	44.52,
50:	39.38,	41.66,	44.01,	45.04,	45.48,
51:	40.11,	42.46,	44.89,	45.97,	46.42,
52:	40.84,	43.24,	45.76,	46.89,	47.36,
53:	41.58,	44.02,	46.64,	47.80,	48.30,
54:	42.31,	44.78,	47.49,	48.71,	49.24,
55:	43.03,	45.55,	48.34,	49.61,	50.15,
56:	43.76,	46.30,	49.19,	50.49,	51.06,
57:	44.48,	47.07,	50.02,	51.38,	51.97,
58:	45.20,	47.82,	50.85,	52.25,	52.86,
59:	45.92,	48.56,	51.67,	53.11,	53.75,
60:	46.63,	49.30,	52.49,	53.97,	54.63,
61:	47.34,	50.02,	53.30,	54.82,	55.50,
62:	48.04,	50.76,	54.10,	55.66,	56.35,
63:	48.74,	51.48,	54.89,	56.49,	57.20,
64:	49.42,	52.19,	55.68,	57.31,	58.04,
65:	50.12,	52.91,	56.44,	58.11,	58.87,
66:	50.80,	53.61,	57.22,	58.92,	59.68,
67:	51.48,	54.31,	57.98,	59.71,	60.49,
68:	52.15,	55.00,	58.73,	60.49,	61.28,
69:	52.81,	55.68,	59.47,	61.26,	62.07,
70:	53.47,	56.36,	60.20,	62.02,	62.83,
71:	54.13,	57.03,	60.92,	62.77,	63.58,
72:	54.77,	57.69,	61.63,	63.50,	0.33,
73:	55.41,	58.34,	62.33,	0.20,	1.02,
74:	56.04,	58.99,	63.00,	0.87,	1.69,
75:	56.67,	59.63,	63.65,	1.53,	2.34,
76:	57.28,	60.25,	0.28,	2.18,	3.02,
77:	57.88,	60.84,	0.90,	2.83,	3.69,
78:	58.48,	61.44,	1.52,	3.48,	4.36,
79:	59.03,	62.00,	2.14,	4.15,	5.03,
80:	59.58,	62.57,	2.77,	4.80,	5.71,
81:	60.13,	63.13,	3.39,	5.46,	6.36,
82:	60.68,	63.70,	4.02,	6.11,	7.04,
83:	61.23,	0.26,	4.66,	6.77,	7.70,
84:	61.59,	0.63,	5.09,	7.21,	8.14,
85:	61.53,	0.41,	4.88,	6.99,	7.96,
86:	61.44,	0.20,	4.67,	6.78,	7.74,
87:	61.34,	0.00,	4.45,	6.54,	7.50,
88:	61.24,	63.81,	4.21,	6.30,	7.26,
89:	61.14,	63.62,	3.98,	6.05,	7.01,
90:	61.04,	63.44,	3.74,	5.79,	6.76,
91:	60.92,	63.26,	3.50,	5.53,	6.49,
92:	60.81,	63.09,	3.26,	5.29,	6.24,
93:	60.70,	62.92,	3.03,	5.02,	5.98,
94:	60.59,	62.74,	2.79,	4.78,	5.72,
95:	60.48,	62.58,	2.57,	4.51,	5.45,
96:	60.36,	62.40,	2.33,	4.26,	5.18,
97:	60.24,	62.25,	2.10,	4.00,	4.93,
98:	60.13,	62.08,	1.88,	3.75,	4.67,
99:	60.01,	61.92,	1.65,	3.50,	4.40,