## Sheet1
			High power test with Fans on PSs

			Ian	17-May-21

		|Run starts at ~ 1617hrs with event 0

								etgnstrg

			Event					tr4t	Doors open

					Event	Voltage	Current	Power	PS	Voltage	Current	Power	PS	temp
			Event	Time	No	Delta 7020D			Temp	Delta 6020			temp

								ambient
				[s]		[V]	[I]	[W]	[Deg C]	[V]	[I]	[W]	[Deg C]	Sensor	Sensor	Sensor
								5	12	19				Run with Power reduced after 45deg C / Time [s] / Temperature [DegC]

				0	0 / Chart Title / Time [s] / Derlta Temp [degC]	0.0	0.0	0		0.0	0.0	0.0		21.22	21.79	21.85
				480	8	0.0	0.0	0		0.0	0.0	0.0		21.44	21.82	21.94
	Fans On	Putty error out !		0	0	0.0	0.0	0	23.6	0.0	0.0	0.0	22.9		21.83	21.98
				300	5	9.9	3.0	30		10.0	3.0	30.0		21.24	21.85	21.97	Power On	1633hrs
				0	0			0				0.0
		NotePad old !!		0	0	9.9	3.0	30	24.9	10.0	3.0	30.0		21.56	22.13	22.09
				240	4	33.5	10.0	335		34.0	10.0	340.0		22.60	22.96	22.19
		Limit of both PS !		480	8	35.0	10.3	361				0.0
		in CC mode		720	12	35.1	10.3	362	26.3	38.2	11.2	427.8	24.8	26.39	27.25	22.40
PS No.2 reduced as fluctuates				1140	19	35.6	10.3	367	27.1	38.5	11.0	423.5	25.4	30.46	30.67	22.76
				1800	30	36.3	10.3	374	27.8	39.1	11.0	430.1	25.8	36.41	36.55	22.82
				2400	40	36.6	10.3	377	28	39.5	11	434.5	25.9	41.42	41.38	23.05
				3000	50	37	10.3	381	28.5	40	11	440.0	25.9	46.26	45.87	23.16
				0				0				0.0					Delta No5	D fpr 12
Start new Putty as not recorded !				0	0	37	10.3	381		40	11	440.0		47.29	46.79	23.14
reduce power to 30V				240	4	30	8.3	249	28.6	30	7.2	216.0	26.3	48.39	48.30	23.19	1.10	1.51	0.05
				600	10	30	8.3	249	28.3	30	7.2	216.0	26.1	50.21	49.24	23.24	1.82	0.94	0.05
				1200	20	30	8.3	249	27.9	30	7.2	216.0	25.6	52.21	50.45	22.90	2.00	1.21	-0.34
				1800	30	30	8.3	249	27.9	30	7.2	216.0	26	54.10	51.44	23.06	1.89	0.99	0.16
	Power down as no plateau			2100	35	25	6.9	173	27.4	25	6.7	167.5	25.8	55.00	51.85	22.97	0.90	0.41	-0.09
				2400	40	25	6.9	173	27.3	25	6.7	167.5	25.4	55.40	51.82	23.14	0.40	-0.03	0.17
				2700	45	25	6.9	173	27.3	25	6.7	167.5	25.9	55.75	51.66	23.08	0.35	-0.16	-0.06
				3000	50	25	6.9	173	27.3	25	6.7	167.5	25.3	56.10	51.49	23.05	0.35	-0.17	-0.03
				3300	55	25	6.9	173	27.3	25	6.7	167.5	25.3	56.45	51.30	23.13	0.35	-0.19	0.08
				3600	60	25	6.9	173		25	6.7	167.5		56.80	51.12	23.14	0.35	-0.18	0.01
		CV mode both PS		3900	65	25	6.9	173	27.1	25	6.7	167.5	25.4	57.22	50.96	23.14	0.42	-0.16	0.00
				4200	70	25	6.9	173		25	6.7	167.5		57.56	50.83	23.03	0.34	-0.13	-0.11
				4500	75	25	6.9	173	27	25	6.7	167.5	25.8	57.90	50.66	23.07	0.34	-0.17	0.04
				4800	80	25	6.9	173		25	6.7	167.5		58.24	50.50	22.97	0.34	-0.16	-0.10
				5100	85	25	6.9	173	27.1	25	6.7	167.5	25.4	58.56	50.35	23.01	0.32	-0.15	0.04
				5400	90	25	6.9	173		25	6.7	167.5		58.88	50.24	23.00	0.32	-0.11	-0.01
				5700	95	25	6.9	173		25	6.7	167.5		59.21	50.12	22.98	0.33	-0.12	-0.02
				6000	100	25	6.9	173		25	6.7	167.5		59.51	50.00	22.98	0.30	-0.12	0.00
				6300	105	25	6.9	173	27.1	25	6.7	167.5	25.1	59.82	49.89	22.99	0.31	-0.11	0.01
			60.12	6600	110	25	6.9	173		25	6.7	167.5		60.12	49.80	22.90	0.30	-0.09	-0.09
				6900	115	25	6.9	173		25	6.7	167.5		60.42	49.70	23.06	0.30	-0.10	0.16
				7200	120	25	6.9	173		25	6.7	167.5		60.69	49.62	23.00	0.27	-0.08	-0.06
				7500	125	25	6.9	173		25	6.7	167.5		60.99	49.52	23.16	0.30	-0.10	0.16
				7800	130	25	6.9	173		25	6.7	167.5		61.25	49.47	23.11	0.26	-0.05	-0.05
				8100	135	25	6.9	173		25	6.7	167.5		61.52	49.40	22.87	0.27	-0.07	-0.24
				8400	140	25	6.9	173		25	6.7	167.5		61.79	49.36	23.15	0.27	-0.04	0.28
				8700	145	25	6.9	173		25	6.7	167.5		62.04	49.29	23.03	0.25	-0.07	-0.12
				9000	150	25	6.9	173	27.3	25	6.7	167.5	25.1	62.26	49.24	22.91	0.22	-0.05	-0.12
				9300	155	25	6.9	173		25	6.7	167.5		62.51	49.17	23.01	0.25	-0.07	0.10
				9600	160	25	6.9	173		25	6.7	167.5		62.75	49.12	23.03	0.24	-0.05	0.02
				9900	165	25	6.9	173		25	6.7	167.5		62.97	49.06	22.94	0.22	-0.06	-0.09
				10200	170	25	6.9	173		25	6.7	167.5		63.18	48.99	23.17	0.21	-0.07	0.23
		Power off		10500	175	25	6.9	173		25	6.7	167.5		63.28	48.86	22.89	0.10	-0.13	-0.28
	Putty failed om event 184 when I unplugged the PSs !!
	Note pad ran till 184					Temperature trend / Time [s] / Temperature