## Slide 1: 3 way valves
Ian
12 Jan 2024
Up dated 23 Jan 2024

## Slide 2
Specification
Stainless body 316 or 304 (brass can readily split it unions are over tightened
½ inch BSP pipe female thread on all 3 orifices
DN15
There are two possible configurations “L” or “T”. It must be “L”.
Pressure classification “1000WOG”

## Slide 3
Companies/suppliers looked at
Aliexpress
Alibaba
RS (Uk and Fr)
CERN (Sagana and Trimatic)
Amazon.fr
Metaltek
Valvesonline.co.uk
Schwer.com
Syveco.com
Valtec.com

## Slide 5
Robinet à tournant sphérique à trois voies en acier inoxydable 304, type L, type T, filetage femelle, 1/4 ", 3/8", 1/2 ", 1", Chr8, Chr10, Chr15, Chr20, Chr25, BSP (aliexpress.com)
https://fr.aliexpress.com/item/1005002777563893.html?spm=a2g0o.detail.pcDetailTopMoreOtherSeller.2.6233Czu9Czu9Ds&gps-id=pcDetailTopMoreOtherSeller&scm=1007.40050.354490.0&scm_id=1007.40050.354490.0&scm-url=1007.40050.354490.0&pvid=c50372ae-7dbc-489c-9c08-85fb3dc1e4e6&_t=gps-id:pcDetailTopMoreOtherSeller,scm-url:1007.40050.354490.0,pvid:c50372ae-7dbc-489c-9c08-85fb3dc1e4e6,tpp_buckets:668%232846%238114%231999&pdp_npi=4%40dis%21EUR%2119.25%2117.51%21%21%2120.39%2118.55%21%402103011417065290615916636e8a00%2112000022139675004%21rec%21FR%21100737469%21&utparam-url=scene%3ApcDetailTopMoreOtherSeller%7Cquery_from%3A

## Slide 6
Robinet à Bille 3 Voies en Acier Inoxydable 1/4 BSP Femelle 3/8, 1/2, 3/4, 304, 1 Pouce, Type T/L, Port Complet pour Eau, Huile, Air, Gaz, Chr25, Chr10, Chr15, Chr20 - AliExpress

## Slide 7
Robinet à Bille 3 Voies en Acier Inoxydable 1/4 BSP Femelle 3/8, 1/2, 3/4, 304, 1 Pouce, Type T/L, Port Complet pour Eau, Huile, Air, Gaz, Chr25, Chr10, Chr15, Chr20 - AliExpress

## Slide 8
Robinet à boisseau sphérique à trois voies en acier inoxydable 304, robinet à boisseau sphérique à trois voies fileté en forme de L en forme de T 2 points 3 points 4 points 6 p - AliExpress

## Slide 11
Robinet à Bille à Trois Voies en Acier Inoxydable, Filetage 1/4 BSP, Type T, Type L, Chr15, Chr20, Chr25, Chr32, 3/8, 1/2, 3/4, 304, 1, 2 Pouces (aliexpress.com)

## Slide 12
Robinet à Bille 3 Voies en Acier Inoxydable 1/4 BSP Femelle 3/8, 1/2, 3/4, 304, 1 Pouce, Type T/L, Port Complet pour Eau, Huile, Air, Gaz, Chr25, Chr10, Chr15, Chr20 - AliExpress

## Slide 15
https://www.amazon.fr/gp/product/B07NVJ42PN/ref=pe_22632301_903018031_em_2p_1_lm

## Slide 16
Stainless Steel Ball Valve 3 Way Screwed Reduced Bore Direct Mount - Valves Online

## Slide 17
3 Way Ball Valve | RS (rs-online.com)

## Slide 18
Pipe supports

## Slide 19
Cintre de tuyau en acier inoxydable, pince Suppoert avec étui bleu Homebrew, vis M8, 50mm, ajustement 8-108mm, tube OD, 304, nouveau, 1 pièce - AliExpress

## Slide 20
Tube En Acier Inoxydable 100, 15mm-304mm, Boucle De Tuyau En Cuivre Pour Plomberie Et Climatisation, Livraison Gratuite - Brides - AliExpress

## Slide 21
Collier de serrage fileté femelle en acier inoxydable 304, écrou de support rapide, tuyau d'eau, collier de serrage en PVC, collier de serrage M8 - AliExpress

## Slide 22
Brass body

## Slide 23
https://www.metaltek.com/alloy/stainless-steel-austenitic-mtek-316/

## Slide 24
Vanne à bille en laiton, 3 voies, 1/4 "3/8" 1/2 "3/4" -2 "Tee, Port complet t-port l-port - AliExpress

## Slide 25
Vanne à boisseau sphérique à trois voies en cuivre, interrupteur de vanne à fil intérieur, joint de chauffage de conduite d'eau, type T, type L, 1 po, 4 po, 3 po, 8 po, 1/2 po, 3/4 po (aliexpress.com)

## Slide 27
https://www.bonomiindustries.com/ball-valves/ball-valve-s7650-bspt-3-way-2-seats-l-port-diverting
The RuB s.7650 is the right choice for fluid diversion and is designed with robust maintenance-free components ensuring ease of operation and safety.With a simple 90° turn, you can divert flow from one downstream outlet to the other. It combines traditional manual operation with modern automation. It is also very easy to convert from its sturdy lever handle to ISO 5211 actuator flange assembly. It features low operating torque and a special wear reducing self-compensating valve seat design that meets our 100,000 cycle life test requirement. The valve can be purchased separately, with handle or with a RuB actuator already mounted

## Slide 28
https://www.schwer.com/en_GB/three-way-ball-valve/pr/A-3BVG-F

## Slide 29
https://www.syveco.com/en/stainless-steel-ball-valve-781-3-way-t-port.html

## Slide 30
https://www.valtec.com.tw/product-3-WAY-THREADED-END-BALL-VALVE-V-3WAY.html

## Slide 32
https://edh.cern.ch/edhcat/Images/295816/40.40.75.F.FTFR.pdf

## Slide 33
Sagana But is it “L” or “T” ?

## Slide 35
Conclusion
Aliexpress seems more expensive (7-18Euro) than last year , twice ?
Amazon (30-38Euro) is approx. twice the Aliexpress price.
European prices are from 100-300chf for similar item.
Delivery times from some European suppliers are similar to Aliexpress. Does this mean they have the same origine ?
Lets try Aliexpress for minimum 2-3 pieces.

## Slide 36
Amazon version with 1/2inch BSP
L type
inox

## Slide 37
Vanne À Bille À 3 Voies En Acier Inoxydable 304, Type L, Type T, 1/4" 3/8" 1/2" 3/4" 1" DN8 DN10 DN15 DN20 DN25 BSP, Vanne À Filetage Femelle, 1 Pièce (Size : DN15, Color : L Type) : Amazon.fr: Bricolage

## Slide 38
Robinet À Tournant Sphérique À 3 Voies En Acier Inoxydable 304, Type T/type L 1/4" 3/8" 1/2" 3/4" 1" 1-1/4" 1-1/2" 2" Fileté Trois Vanne À Voies, 1 Pièce (Size : DN8, Color : T-type) : Amazon.fr: Bricolage

## Slide 39
Vanne à Boisseau Sphérique à 3 Voies en Acier Inoxydable, BSPP 1/4", 3/8" Filetage Femelle Durable Contrôle de Débit de Tuyau pour Eau Gaz Air Huile(BSPP1/4") : Amazon.fr: Commerce, Industrie et Science

## Slide 40
https://fr.aliexpress.com/i/4000572453433.html?gatewayAdapt=glo2fra

## Slide 43
Vanne à Boisseau Sphérique 3 Voies, Filetage Femelle BSPP en Acier Inoxydable Réduire Le Port Vanne Jauge d'Instrument Montage Sur Panneau pour Le Contrôle Du Débit de La Conduite d'Eau(BSPP1/4") : Amazon.fr: Commerce, Industrie et Science

## Slide 45
https://www.alibaba.com/product-detail/Support-Custom-1-2-Inch-Stainless_1600257111917.html?spm=a2700.galleryofferlist.normal_offer.d_title.66b2170cKqfrRl

## Slide 46
https://www.alibaba.com/trade/search?spm=a2700.7735675.the-new-header_fy23_pc_search_bar.keydown__Enter&tab=all&SearchText=3+way+valve+1%2F2+inch+handle

## Slide 47
Hebei Didlink Trading Co., Ltd. - valve, flange (alibaba.com)

## Slide 48
https://www.alibaba.com/product-detail/FURUI-Support-Custom-1-2-Inch_1600903821879.html?spm=a2700.galleryofferlist.normal_offer.d_title.66b2170cKqfrRl

## Slide 49
Jtaiv Chinese Manufacturer Wholesale Custom L Type T Type 3 Three Way 1/4" 1/2 Inch Small Ball Valve - Buy Ss304/316 L T Type Female Thread 3 Way Manual Operated Ball Valves,Screwed 3 Way Ball Valve,Manual Operated Ss304/316 L T Type Npt/bsp Female Thread Three Way Ball Valve Product on Alibaba.com

## Slide 50
Furui Valve Industry Co., Ltd. - Electric valves, Pneumatic valves (alibaba.com)

## Slide 51
High Quality 1/2" Stainless Steel Full Bore Female Thread 3 Way Ball Valve - Buy Female Thread 3 Way Ball Valve,Full Bore Ball Valve,Stainless Steel Ball Valve Product on Alibaba.com