## Slide 1: Info for new cooling circuit using ECAL manifolds
Ian
1 June 2021

## Slide 2
RE1/2 and RE1/3 are in series in 60deg sectors
RE2/3 and RE2/2 are connected in sectors of 20degrees
RE1 and RE2 cooling configurations.

## Slide 3
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/Components/CoolingUnionsRPCJan2016.xlsx

## Slide 4
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/YokeManiFolds/Photos/YEMinus1Oct2019/
Labelling on manifolds

## Slide 5
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/YE1/YE%20cooling.pdf
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/YE1/YEM1FromIPview.pdf
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Services2000/Cool/5599804e[1]IanModRE-2%20Model%20(1).pdf

## Slide 6
 | RE+1 Cooling Connexions |  |  | 
 |  |  | Checked for labelling 13 Jan 2010 | 
Chamber & Valve allocation |  |  |  | 
Return | Supply |  |  | 
RE+1/2 -36R | RE+1/2 -05S |  |  | 
RE+1/2 -30R | RE+1/2 -35S |  |  | 
RE+1/2 -24R | RE+1/2 -29S |  |  | 
RE+1/2 -18R | RE+1/2 -23S |  |  | 
RE+1/2 -12R | RE+1/2 -17S |  |  | 
RE+1/2 -06R | RE+1/2 -11S |  |  | 
RE+1/3 -36R | RE+1/3 -05S |  |  | 
RE+1/3 -30R | RE+1/3 -35S |  |  | 
RE+1/3 -24R | RE+1/3 -29S |  |  | 
RE+1/3 -118R | RE+1/3 -23S |  |  | 
RE+1/3 -12R | RE+1/3 -17S |  |  | 
RE+1/3 -06R | RE+1/3 -11S |  |  | 
 | An example of Valve labeling that should be. |  |  | 
Return Valve |  | RE-1/2 36R-05S |  | 
Supply Valve |  | RE-1/2 05S-36R |  | 
 |  | Ian Crotty13 Jan 2010 |  | 
In workspace dfs

## Slide 8
Dfs
Work space
Cms integration
3D Models
YE+1
YE1 cooling
Drawings
EE_Cooling_laterals……..
OR
Manifold ME RPC HE

## Slide 9
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/Components/CoolingUnionsRPCJan2016.xlsx
NOT FOR YE1
But this is similar to the material I had for YE1

## Slide 10
http://project-cms-rpc-endcap.web.cern.ch/rpc/Services/Cooling/Components/CoolingUnionsRPCJan2016.xlsx

## Slide 11
Conclusions
The flow rates should be similar as it is to today
The flow restrictors can be easily blown out and give almost zero impedance.
The chambers are mounted with metric piping. The flexibles are all sourced in the USA and so are in inches AND with NPT rather than BSP. Problematic spares supply. Change all to what is readily here in Europe. Example is Swagelok. To be seen with the CSC colleagues.
The valves should be accessible.
Who pays ?