## Slide 1
NA61 MRPC test
Vadim Babkin, JINR
25/01/2017

## Slide 2
Triple-stack MRPC with strip readout (600x300 mm)
Inner readout board with 48 strips
Triple-stack MRPC cut view
300 mm
48 strips (step - 12.5 mm)

## Slide 3
Double-stack MRPC with pad readout (150x75 mm)
32 mm
15 mm

## Slide 4
Readout electronics
NINO based 24-channels preamplifier-discriminator board PA24N2V2I
“On board” slow control with 8-bit
ultralow power MCU STM8L152C8T6:
preamplifier voltage control & monitoring;
preamplifier thresholds control;
board temperature monitoring ±0.5 °С;
gas volume temperature monitor;
GUI for control&monitoring
72-channels VME time-to-digital converter TDC72VHL
VME64x interface;
TDC type: timestamping HPTDC chip;
Input: differential 100 Ω (LVDS);
Resolution: ~ 25ps bin size (σt ≈ 20 ps);
Time synchronization by the White Rabbit

## Slide 5
Test setup (gas distribution system)
Gas mixture for the current test – C2H2F4 + SF6 (95/5)
Total volume (taking into acc. volume of the detector) is ~17 l
Estimated release of greenhouse gas mixture into the
atmosphere (with average flowrate of 3 l/h) is around 120 l
C2H2F4
SF6
Pressure regulator
Flow controller
Bubbler
Atmosphere

## Slide 6
Test setup (mechanical construction)

## Slide 7
Location of the test setup in the NA61 area
MTPC HUT
SR1
PRPC1
PRPC2
SRPC
SR2
2.5 m

## Slide 9
36 hours data taking
Total collected data – 19 files (280 MB) ~ 1000000 events
1 file with T2 trigger (~100000 events)

## Slide 10
Trigger
Scintillator
Counter

## Slide 11
Measurement procedure
For straight tracks
One pad
Two strips
One pad
For all tracks
All 16 pad
All 48 strips
All 16 pad
Different momentum
Different TOF base
One TOT correction for all channels
Different momentum
Same TOF base
One TOT correction

## Slide 12
Time over threshold correction
Before TOT correction
After TOT correction

## Slide 13
Time resolution for all tracks (11.25 kV)

## Slide 14
The best time resolution for straight tracks (11.25 kV)

## Slide 15
Position resolution of the strip MRPC
Position resolution of the strip MRPC can be evaluated from distribution for one pad:
Signal velocity on the strip – (0.28+0.14)/4 = 60 ps/cm.
Can be improved with TOT correction
Time difference Tup – Tdown in accordance of particle position.
Each peak – image of the pad on the strip (pitch of pads is 1.75 cm).
Measured σspatial
of the pad
σ of uniform
distribution
of the pad

## Slide 16
T2 (Central Collisions)
RPC Group own trigger
Pb+Pb (30 GeV/u)

## Slide 17
Occupancy estimation…
~ 10% of occupancy

## Slide 18
Preliminary cost estimation
 | Price/ch, € | Price/1m2, k€ (576 ch)
FEE (NINO base) | 12 | 6.9
TDC (HPTDC base) | 32 | 18.4
Detectors (48 strips, 96 ch) | 15 | 8.6
Crates, signal cables | 52 | 30.0
LV, HV, cabling | 16 | 9.2
Space frame, mechanical construction, gas box | 7 | 4.0
Total | 134 / channel | 77.1 k$ / 1 m2