RPC Endcap		Station 4

- Gas Services

| RPC | Nos Chamber Station | Nos. Gas Gaps | Channel /chamber | Chambers /20 | Pipes /20 | Section /20 (cm2) 8mm | Total Nos. Pipes | Total Section /Endcap cm2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RE4/1 | 18 | 2 | 4 | 1 | 4 | 256 | 72 |  |
| RE4/2 | 36 | 3 | 4 | 2 | 8 | 512 | 144 |  |
| RE243 | 36 | 3 | 4 | 2 | 8 | 512 | 144 |  |
| Total | 90 |  |  | 5 | 20 | 1280 | 360 | 230.4 |
| Total/ Station/ Endcap | 90 |  |  |  |  |  |  | 230.4 |

# Pipes have an estimated diameter of  8mm up to the patch panel on the Yoke periphery.

Pipe section is 2 in cm2

IMC 03.2000