## RE -3¦2 TEMP
RE -3/2 TEMP
David Simek, Ian Crotty, September 14th, 2006
| raw length | crate | quantity | installation period
[m]
RE-3/2/01 | 22.4 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/2/07 | 28.1 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/2/13 | 36 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/2/19 | 43.9 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/2/25 | 38.1 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/2/31 | 30.6 | LVC(RE/-1).1A | 1 | DM3R3

## RE -3¦3 TEMP
RE -3/3 TEMP
David Simek, Ian Crotty, September 14th, 2006
| raw length | crate | quantity | installation period
[m]
RE-3/3/01 | 20.4 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/3/07 | 26.1 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/3/13 | 34 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/3/19 | 41.8 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/3/25 | 36 | LVC(RE/-1).1A | 1 | DM3R3
RE-3/3/31 | 28.6 | LVC(RE/-1).1A | 1 | DM3R3

## RE +3¦3 TEMP
RE +3/3 TEMP
David Simek, Ian Crotty, September 14th, 2006
| chamber 3 to perifery |  | on the perifery |  |  | perifery to cable chain | cable chain to rack (end to end, very raw estimation) | cable chain to rack on YE+1 | raw length | crate | quantity | installation period
| [mm] |  | [mm] |  |  | [mm] | [mm] | [mm] | [m]
RE+3/3/01 | 52.5 | 400 | 1090.9998 |  |  | 1218.0001 | 13400 | 4207.5507 | 20.4 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/3/07 | 52.5 | 400 | 6792.0654 |  |  | 1218.0001 | 13400 | 4207.5507 | 26.1 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/3/13 | 52.5 | 400 | 6792.0654 | 7883.0649 |  | 1218.0001 | 13400 | 4207.5507 | 34 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/3/19 | 52.5 | 400 | 6792.0654 | 7883.0649 | 7883.0649 | 1218.0001 | 13400 | 4207.5507 | 41.8 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/3/25 | 52.5 | 348.4809 | 1090.9998 | 8238.1955 | 7464.0164 | 1218.0001 | 13400 | 4207.5507 | 36 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/3/31 | 52.5 | 348.4809 | 1090.9998 | 8238.1955 |  | 1218.0001 | 13400 | 4207.5507 | 28.6 | LVC(RE/+1).1A | 1 | DP3R3
sum. | [8 empty] | 186.9
max. | [8 empty] | 41.8

## RE +3¦2 TEMP
RE +3/2 TEMP
David Simek, Ian Crotty, September 14th, 2006
| chamber 2 to chamber 3 | chamber 3 to rack on YE+1 | raw length | crate | quantity | installation period
| [mm] | [mm] | [m]
RE+3/2/01 | 2019.0188 | 20421.5506 | 22.4 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/2/07 | 2019.0188 | 26122.6162 | 28.1 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/2/13 | 2019.0188 | 34005.6811 | 36 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/2/19 | 2019.0188 | 41888.746 | 43.9 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/2/25 | 2019.0188 | 36072.2434 | 38.1 | LVC(RE/+1).1A | 1 | DP3R3
RE+3/2/31 | 2019.0188 | 28608.227 | 30.6 | LVC(RE/+1).1A | 1 | DP3R3
sum. |  |  | 199.1
max. |  |  | 43.9

## summary
START_POINT_DET | END_POINT_DET | LENGTH | SUBSYSTEM | TYPE_DET | ROUTING | INSTALLATION_PERIOD | QUANTITY | ROUTING
RE-3/2/01 | LVC(RE/-1).1A | 22.4 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/2/07 | LVC(RE/-1).1A | 28.1 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/2/13 | LVC(RE/-1).1A | 36 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/2/19 | LVC(RE/-1).1A | 43.9 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/2/25 | LVC(RE/-1).1A | 38.1 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/2/31 | LVC(RE/-1).1A | 30.6 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/3/01 | LVC(RE/-1).1A | 20.4 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/3/07 | LVC(RE/-1).1A | 26.1 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/3/13 | LVC(RE/-1).1A | 34 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/3/19 | LVC(RE/-1).1A | 41.8 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/3/25 | LVC(RE/-1).1A | 36 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE-3/3/31 | LVC(RE/-1).1A | 28.6 | RE | 3_CA4 | NULL | DM3R3 | 1 | CHS(ID/-1).N3
RE+3/2/01 | LVC(RE/+1).1A | 22.4 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/2/07 | LVC(RE/+1).1A | 28.1 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/2/13 | LVC(RE/+1).1A | 36 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/2/19 | LVC(RE/+1).1A | 43.9 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/2/25 | LVC(RE/+1).1A | 38.1 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/2/31 | LVC(RE/+1).1A | 30.6 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/3/01 | LVC(RE/+1).1A | 22.4 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/3/07 | LVC(RE/+1).1A | 28.1 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/3/13 | LVC(RE/+1).1A | 36 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/3/19 | LVC(RE/+1).1A | 43.9 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/3/25 | LVC(RE/+1).1A | 38.1 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3
RE+3/3/31 | LVC(RE/+1).1A | 30.6 | RE | 3_CA4 | NULL | DP3R3 | 1 | CHS(ID/+1).N3

## help
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='
' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='
' AND END_POINT_DET='
';

## SQL update
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/2/01' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/2/07' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/2/13' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/2/19' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/2/25' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/2/31' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/3/01' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/3/07' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/3/13' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/3/19' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/3/25' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/-1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE-3/3/31' AND END_POINT_DET='LVC(RE/-1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/2/01' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/2/07' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/2/13' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/2/19' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/2/25' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/2/31' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/3/01' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/3/07' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/3/13' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/3/19' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/3/25' AND END_POINT_DET='LVC(RE/+1).1A';
UPDATE CMSINTEGRATION.CABLE SET LAST_CHANGE=CURRENT_TIMESTAMP, ROUTING='CHS(ID/+1).N3' WHERE SUBSYSTEM='RE' AND TYPE_DET='3_CA4' AND START_POINT_DET='RE+3/3/31' AND END_POINT_DET='LVC(RE/+1).1A';