RPC Endcap		Station 2

- HV Services

| RPC | Nos Chamber Station | Channel /chamber | Conductor | cables | Cables /20 | Section /20 (mm2) | Section /Station (mm2) | Remote Disribution Board /60 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RE2/1 | 18 | 3 | 9 | 1 | 1 | 174 | 3132 |  |
| RE2/2 | 36 | 3 | 9 | 1 | 2 | 348 | 6264 |  |
| RE2/3 | 36 | 3 | 9 | 1 | 2 | 348 | 6264 |  |
| Total | 90 | 9 | 27 | 3 | 5 | 878 |  | 2 |
| Total/ Station |  | 270 |  | 90 |  |  | 15660 | 12 |

# HV Cable has an estimated diameter of  13.3mm, instead of the 16.2mm

Specified for the Barrel ( that is 9 conductors of 3mm )

Cable section is 2 in mm2

IMC 03.2000