RPC Endcap		Station3

- HV Services

| RPC | Nos Chamber Station | Channel /chamber | Conductor | cables | Cables /20 | Section /20 (mm2) | Section /Station (mm2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| RE3/1 | 18 | 3 | 9 | 1 | 1 | 174 |  |
| RE3/2 | 36 | 3 | 9 | 1 | 2 | 348 |  |
| RE3/3 | 36 | 3 | 9 | 1 | 2 | 348 |  |
| Total | 90 | 9 | 27 | 3 | 5 | 878 |  |
| Total/ Station |  | 270 |  | 90 |  |  | 15660 |

# HV Cable has an estimated diameter of  13.3mm, instead of the 16.2mm

Specified for the Barrel ( that is 9 conductors of 3mm)

Cable section is 2 in mm2