LV RE2/2 &2/3 Molex Connectors Chamber side.

Use the 4 marked pins on each connector.

Length from cable to Connector = 120cm

Use shield braid to shield wires.

SCEM 04.01.33.050.5

Use poly braid to cover wires.

SCEM 04.86.45.024.8 (diam 6)

Crimping tool 241-6299

Extractor 233-3071

2 x Molex connectors

43025-1200

Radiospares

Pins 237-6747

Connector 233-2775

LV Cable 8x0.75FMOH2M1-300

IEC 332-3-24 CERN IS23

Digital -ve

Digital +ve

Analog +ve

Analog -ve

See 2nd sheet for PowePole connection

Earth straps terminated with lugs dia.6mm

SCEM 04.76.22.306.0

Ian Crotty

24 .03 06

Pin 4

Pin 2

Pin 8

Pin 5

Pin 7

Pin 6

Pin 3

Pin 1

LV RE2/2 & 2/3 PowerPole Connectors

Easy Crate side.

Length from cable to Connector = 25cm

Use shield braid to shield wires.

SCEM 04.01.33.050.5

Use poly braid to cover wires.

SCEM 04.86.45.024.8 (diam 6)

Use heat shrink to hold poly braid in place.

SCEM 00.00.00.024.8 (diam XX)

8 x PowerPole connectors,

1327-BK Red

1327G06 Black

269G2-LPBK

LV Cable 8x0.75FMOH2M1-300

IEC 332-3-24 CERN IS23

See 1st sheet for Molex connection

Earth straps terminated with lugs dia.6mm

SCEM 04.76.22.306.0

L = 200000mm

Ian Crotty

24 .03 06

Wire 2 + 6

-ve Analogue

Wire 3 + 7

+ve Analogue

Wire 1 + 5

-ve Digital

Wire 3 + 7

+ve Digital