LV RE1/1 Molex Connectors Chamber side.

Use the 4 marked pins on each connector.

Length from cable to Connector = 80cm

Use shield braid to shield wires.

SCEM 04.01.33.050.5

Use poly braid to cover wires.

SCEM 04.86.45.024.8 (diam 6)

Crimping tool 241-6299

Extractor 233-3071

2 x Molex connectors

43025-1200

Radiospares

Pins 237-6747

Connector 233-2775

LV Cable 8x0.75FMOH2M1-300

IEC 332-3-24 CERN IS23

Digital -ve

Digital +ve

Analog +ve

Analog -ve

No Connectors !

Earth straps terminated with lugs dia.6mm

SCEM 04.76.22.306.0

Ian Crotty

01 .03 05

Pin 4

Pin 2

Pin 8

Pin 5

Pin 7

Pin 6

Pin 3

Pin 1