


RPC Endcap

Station 2






LV Services

RPC
Nos Chamber

Station
Channel

/chamber
Conductor
cables
Cables

/20(
Section

/20(
(mm2)
Section

/Station

(mm2)
Remote 

Disribution 

Board

/60(

RE2/1
18


1





RE2/2
36


1





RE2/3
36


1





Total
90


3



      











Total/

Station







     











LV Cable has an estimated diameter of    mm, instead of the (mm

Specified for the Barrel ( that is  conductors of (3mm )

Cable section is (2 in mm2












IMC 03.2000

