## Sheet1
Trigger,DCS & TTc Fibre Optic Cables for RE1/1
Trigger
| Degrees from No. 17 Cable tray | Rote In RE1/1 Vol. | Radial Tray to PP [m] | Peripheral length [m] | TOTAL length on Detector [m] | Slack [m] | Calc. Total length | Rounded to nearest 0.5m | Real Slack [m] | PP to RPC Trigger Crate (Estimate) [m] | Total length to RPC Trigger Rack [m]
LBXRE-1 | 45 | Top R | 13.55 | 2.1 | 15.65 | 1 | 16.65 | 16.5 | 0.85 | 53 | 69.5
LBXRE-2 | 85 | Top R | 13.55 | 3.9 | 17.45 | 1 | 18.45 | 18.5 | 1.05 | 53 | 71.5
LBXRE-3 | 165 | Top R | 13.55 | 7.6 | 21.15 | 1 | 22.15 | 22 | 0.85 | 53 | 75
LBXRE-4 | 135 | Bot R | 13.55 | 6.2 | 19.75 | 1 | 20.75 | 21 | 1.25 | 53 | 74
LBXRE-5 | 75 | Bot R | 13.55 | 3.4 | 16.95 | 1 | 17.95 | 18 | 1.05 | 53 | 71
LBXRE-6 | 35 | Bot R | 13.55 | 1.6 | 15.15 | 1 | 16.15 | 16 | 0.85 | 53 | 69
LBXRE+1 | 65 | Top R | 13.55 | 3 | 16.55 | 1 | 17.55 | 17.5 | 0.95 | 50.6 | 68.1
LBXRE+2 | 145 | Top R | 13.55 | 6.6 | 20.15 | 1 | 21.15 | 21 | 0.85 | 50.6 | 71.6
LBXRE+3 | 185 | Bot R | 13.55 | 8.5 | 22.05 | 1 | 23.05 | 23 | 0.95 | 50.6 | 73.6
LBXRE+4 | 95 | Bot R | 13.55 | 4.4 | 17.95 | 1 | 18.95 | 19 | 1.05 | 50.6 | 69.6
LBXRE+5 | 55 | Bot R | 13.55 | 2.5 | 16.05 | 1 | 17.05 | 17 | 0.95 | 50.6 | 67.6
LBXRE+6 | 10 | Top R | 13.55 | 0.5 | 14.05 | 1 | 15.05 | 15 | 0.95 | 50.6 | 65.6
DCS
LBXRE-1 | 25 | Top R | 13.05 | 1.1
LBXRE+1 | 75 | Top R | 13.05 | 3.3
TTC | Degrees from No. 17 Cable tray | Degrees from No. 17 Cable tray | Radial Tray [m] | Peripheral length [m] | TOTAL length on Detector [m] | Slack [m] | Calc. Total length | Rounded to nearest 0.5m | Real Slack [m]
LBXRE-1
LBXRE-2
LBXRE-3
LBXRE-4
LBXRE-5
LBXRE-6
LBXRE+1
LBXRE+2
LBXRE+3
LBXRE+4
LBXRE+5
LBXRE+6
Ian Crotty 06.02.05