## Sheet1
Trigger, DCS & TTc Fibre Optic Cables for RE1/1
Both EndCaps
Trigger
| Degrees from No. 17 Cable tray | Route In RE1/1 Vol. | Radial Tray to PP [m] | Peripheral length [m] | TOTAL length on Detector [m] | Slack [m] | Calc. Total length | Rounded to nearest 0.5m | Real Slack [m] | PP to RPC Trigger Crate (est.) [m] | Total length to RPC Trigger Rack [m] | Nominal Quantity Pairs. | Quantity Inc.Spares
LBXRE-1 | 45 | Top R | 13.55 | 2.1 | 15.65 | 1.5 | 17.15 | 17 | 1.35 | 53 | 70 | 3 | 4
LBXRE-2 | 85 | Top R | 13.55 | 3.9 | 17.45 | 1.5 | 18.95 | 19 | 1.55 | 53 | 72 | 3 | 4
LBXRE-3 | 165 | Top R | 13.55 | 7.6 | 21.15 | 1.5 | 22.65 | 22.5 | 1.35 | 53 | 75.5 | 3 | 4
LBXRE-4 | 135 | Bot R | 13.55 | 6.2 | 19.75 | 1.5 | 21.25 | 21.5 | 1.75 | 53 | 74.5 | 3 | 4
LBXRE-5 | 75 | Bot R | 13.55 | 3.4 | 16.95 | 1.5 | 18.45 | 18.5 | 1.55 | 53 | 71.5 | 3 | 4
LBXRE-6 | 35 | Bot R | 13.55 | 1.6 | 15.15 | 1.5 | 16.65 | 16.5 | 1.35 | 53 | 69.5 | 3 | 4
LBXRE+1 | 65 | Top R | 13.55 | 3 | 16.55 | 1.5 | 18.05 | 18 | 1.45 | 50.6 | 68.6 | 3 | 4
LBXRE+2 | 145 | Top R | 13.55 | 6.6 | 20.15 | 1.5 | 21.65 | 21.5 | 1.35 | 50.6 | 72.1 | 3 | 4
LBXRE+3 | 185 | Bot R | 13.55 | 8.5 | 22.05 | 1.5 | 23.55 | 23.5 | 1.45 | 50.6 | 74.1 | 3 | 4
LBXRE+4 | 95 | Bot R | 13.55 | 4.4 | 17.95 | 1.5 | 19.45 | 19.5 | 1.55 | 50.6 | 70.1 | 3 | 4
LBXRE+5 | 55 | Bot R | 13.55 | 2.5 | 16.05 | 1.5 | 17.55 | 17.5 | 1.45 | 50.6 | 68.1 | 3 | 4
LBXRE+6 | 10 | Top R | 13.55 | 0.5 | 14.05 | 1.5 | 15.55 | 15.5 | 1.45 | 50.6 | 66.1 | 3 | 4
[11 empty] | Total | 36 | 48
DCS
| Degrees from No. 17 Cable tray | Route In RE1/1 Vol. | Radial Tray [m] | Peripheral length [m] | TOTAL length on Detector [m] | Slack [m] | Calc. Total length | Rounded to nearest 0.5m | Real Slack [m] | PP to RPC Trigger Crate (Estimate) [m] | Total length to RPC Trigger Rack [m] | Nom. Q (Ribbons) Nos. | Quantity(Ribbons) Inc.Spares
LBXRE-1 | 45 | Top R | 13.55 | 2.1 | 15.65 | 1.5 | 17.15 | 17 | 1.35 | 53 | 70 | 1 | 2
LBXRE+6 | 10 | Bot R | 13.55 | 0.5 | 14.05 | 1.5 | 15.55 | 15.5 | 1.45 | 50.6 | 66.1 | 1 | 2
[11 empty] | Total | 2 | 4
TTC
| Degrees from No. 17 Cable tray | Route In RE1/1 Vol. | Radial Tray [m] | Peripheral length [m] | TOTAL length on Detector [m] | Slack [m] | Calc. Total length | Rounded to nearest 0.5m | Real Slack [m] | PP to TTC Crate (Ecal Estimate) [m] | Total length to TTC Rack [m] | Nominal Quantity Pairs. | Quantity Inc.Spares
LBXRE-1 | 45 | Top R | 13.55 | 2.1 | 15.65 | 1.5 | 17.15 | 17 | 1.35 | 53 | 70 | 1 | 1
LBXRE-2 | 85 | Top R | 13.55 | 3.9 | 17.45 | 1.5 | 18.95 | 19 | 1.55 | 53 | 72 | 1 | 1
LBXRE-3 | 165 | Top R | 13.55 | 7.6 | 21.15 | 1.5 | 22.65 | 22.5 | 1.35 | 53 | 75.5 | 1 | 1
LBXRE-4 | 135 | Bot R | 13.55 | 6.2 | 19.75 | 1.5 | 21.25 | 21.5 | 1.75 | 53 | 74.5 | 1 | 1
LBXRE-5 | 75 | Bot R | 13.55 | 3.4 | 16.95 | 1.5 | 18.45 | 18.5 | 1.55 | 53 | 71.5 | 1 | 1
LBXRE-6 | 35 | Bot R | 13.55 | 1.6 | 15.15 | 1.5 | 16.65 | 16.5 | 1.35 | 53 | 69.5 | 1 | 1
LBXRE+1 | 65 | Top R | 13.55 | 3 | 16.55 | 1.5 | 18.05 | 18 | 1.45 | 50.6 | 68.6 | 1 | 1
LBXRE+2 | 145 | Top R | 13.55 | 6.6 | 20.15 | 1.5 | 21.65 | 21.5 | 1.35 | 50.6 | 72.1 | 1 | 1
LBXRE+3 | 185 | Bot R | 13.55 | 8.5 | 22.05 | 1.5 | 23.55 | 23.5 | 1.45 | 50.6 | 74.1 | 1 | 1
LBXRE+4 | 95 | Bot R | 13.55 | 4.4 | 17.95 | 1.5 | 19.45 | 19.5 | 1.55 | 50.6 | 70.1 | 1 | 1
LBXRE+5 | 55 | Bot R | 13.55 | 2.5 | 16.05 | 1.5 | 17.55 | 17.5 | 1.45 | 50.6 | 68.1 | 1 | 1
LBXRE+6 | 10 | Top R | 13.55 | 0.5 | 14.05 | 1.5 | 15.55 | 15.5 | 1.45 | 50.6 | 66.1 | 1 | 1
[11 empty] | Total | 12 | 12
| Nota. TTCoc is in the PP | [9 empty] | TOTAL | 50 | 64
Ian Crotty 11.02.05