RPC Endcap		Station 2

- Signal Services

| RPC | Nos Chamber Station | Channels /chamber FEB 16ch | Cables /20 | Section /20 (cm2) | Section /60 | Nos.Link Boards /60 | Section /Station (cm2) | VME Crate /60 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RE2/1 | 18 | 16 | 16 | 23.04 |  |  |  |  |
| RE2/2 | 36 | 6 | 12 | 17.28 |  |  |  |  |
| RE2/3 | 36 | 6 | 12 | 17.28 |  |  |  |  |
| Total | 90 |  | 40 | 57.6 |  |  |  | 1 |
| Total/ Station |  |  |  | 1036.8 |  |  |  | 6 |

# Signal Cable has an estimated diameter of  12mm as

specified for the Barrel

Cable section is 2 in cm2

IMC 03.2000