## Sheet1
Gem GE1/1 Services
Quantities per 10 degrees
Type | Description | Origine | Quantity | Quantity | Diameter | Destination | Destination | Status | 1st Est length
|  |  | Total CMS | per 10 deg |  | Initial 4 GE1/1s | CMS Full
[5 empty] | [mm] | Slice test |  |  | [m]
HV | 4-4.3kV | GE1/1 | 144 | 2 | 8 | USC | USC | Use RE1/1
|  |  |  | With divider |  | Exact location ? | Exact location ?
LV | 3.5V | GE1/1 | 144 | 2 was 4 | 10 | X2V/J33? | X2V33
| 13Amps |  |  | Aspell&Gilles |  |  | X2J33
Fibres | 12/fibre | GE1/1 | 576 | 4 | 3.5 | Trig. tunnel | Trig. Tunnels
Which one?
Fibres | TMB X1 | GE1/1 | 576 | 4 | 3.5 | X1V/J?? | ? | Done ?
12/fibre
Gas | [5l/hr] | GE1/1 |  | 2/?deg | 8? | X2S/A31 | ? | Done
| Copper ? | [6 empty] | Re config rack ?
New from SGX
Cooling |  | GE1/1 |  | 2/?deg | 8? |  |  | Done
| Flexible |  | 17.3kW | 240W |  |  |  | Capacity ?
[6 empty] | Ian Crotty |  |  | 2014-05-08
[6 empty] | Ian Crotty |  | updated | 2014-05-27