## Slide 1: YE2 – YE3 distance Manual measurements
The expected values obtained from a few manual measurements and drawings have been presented.
We were waiting for the discs to close to obtain the values from the IR sensors.
The values obtained from the IR sensors were 10 - 40mm out from what had been estimated.
Decision to go to a manual measurement at numerous points around periphery of the discs.

## Slide 2
Results from IR - sensors
* IR sensors was installed in 10th of January 2017
Results will be come later

## Slide 3
Results from manual measurements
Principle scheme of the manual measurements in the CSC chamber
Nuances of the CSC chamber design

## Slide 4: Values from IR
Calibration in 904. later calibrated with full length cables

## Slide 5
Individual calibration curves
Required range
Resolution better than 1mm. Between the closed discs the values were very stable, oscillating between only 2 bits.

## Slide 6
200.8mm
201.8mm
197.8mm
151mm
167.1mm
Values obtained from IR sensors in Red

## Slide 7
Values taken on outer “R” at 3 different locations on both –Z and +Z on 25 April 2017. Discs closed.
178-174mm
668-672mm
14mm
145-145mm
RPC space
176 - 14 = 162mm
Drawings = 146mm
Mean 176mm
Mean 670mm
RPC space over the N. Shield
162 – 66 = 96mm
Standard RPC 29mm gives 68mm with mounting brackets. Leaving a generous clearance to CSCs of 28mm.
Was 88mm from drawings.
YE2
YE3
ME3/2
RE3/2

## Slide 8
Conclusion
The IR measurements are way away from basic drawing values.
Manual measurements are reliable both at inner and outer radii !
We appear to have > 10mm more Z space.
Now we are confident in our values we go back to IO to come to a common agreement. Already talked with Boki.