Inspection of the GT proto chambers received on 3 Nov 2015.

The chambers appear quite well made considering the level of communication and rush.

The strip panel is approx. 708mm x 1050mm

The strip pitch is 14.5mm and the strip width is approx. 13mm

Chamber mechanics is 1140 x 715mm