## Slide 1: Endcap Chambers temperatures 2018
Ian, Andrea, Gabriella

## Slide 2: Analysis
Monitoring of one chamber during all rings during all 2018
Chamber temperature distribution in 10 days
Temperature map in all chambers on 1 August 2018

## Slide 3
RE-4/ring2
RE-4/ring3
RE-3/ring2
RE-2/ring3
Monitoring of chamber # 1 in 2018
17.8 ÷ 18.8
18.9 ÷ 18.1
20.0 ÷ 19.3
20.2 ÷ 19.3

## Slide 4
RE-2/ring2
RE-2/ring3

## Slide 5: 10 days distributions

## Slide 6
RE-2
19.0
19.1
18.1
17.3
19.8
22.7
16.9
19.1
20.4
17
19.4
19.5
19.9
18.2
19.0
19.5
19.5
18.9
18.8
20.5
18.6
21
19.8
19.1
19.2
19.4
18.1
18.8
18.8
18.9
19.4
20
19.1
19.7
20.3
17
17.4
18.4
17.6
19.1
17.2
14.9
20.4
17.3
19.5
19.6
20.5
19.9
20.7
20.3
18.7
17.8
20.6
18.9
19.2
17.5
18.2
18.2
18.7
15.5
18
19.4
19.3
20.3
17.6
17.8
16.6
19.1
19.3
15.1
11.4
17.3
 | Average | 
Ring 2 | 19.10 | 18.70
Ring 3 | 18.40 | 
Odd |  | 18.70
Pair |  | 18.70
UP |  | 18.3
Down |  | 17.2

## Slide 7
RE-3
18.5
23.6
20.2
18.6
20.1
21.7
20.5
20.4
20.2
20.0
20.6
19.2
20.0
19.4
20,2
20
19.5
18.9
19.1
19.2
19.5
19.1
19.6
19.3
20
20
20
20.1
19.8
19
20.1
19.2
20.0
19.9
20.0
19.6
19.1
18.5
19.8
19.7
19.8
19.9
20.0
23.6
19.3
19.1
19.9
20.1
19.3
16.8
21.2
19.5
19.1
19.3
18.8
18.9
19.5
17.8
18.3
22.4
20
19.9
19.1
19.8
19.2
19.7
19.4
19.3
18.8
18.8
19.9
19.4
 | Average | 
Ring 2 | 19.60 | 19.70
Ring 3 | 19.80 | 
Odd |  | 19.70
Pair |  | 19.70
UP |  | 19.9
Down |  | 19.4

## Slide 8
RE-4
18.3
16.4
17.1
18.4
19.2
19.0
19.0
19.0
19.0
15.9
19.1
18.5
19.6
17.8
18.9
18.4
18.5
18.8
18.5
18.8
18.3
18.0
18.
18.9
18.9
17.7
18.3
18.8
4.8
18.6
18.0
18.4
17.8
 | Average | 
Ring 2 | 17.80 | 17.80
Ring 3 | 17.80 | 
Odd |  | 17.50
Pair |  | 18.20
UP |  | 18.3
Down |  | 17.2
19.8
18.8
18.4
18.6
18.8
17.2
18.5
17.7
17
16.4
18.6
17.8
15.7
17
17.7
17.6
18.1
17.0
18.1
14.8
17.1
20.1
17.1
20.1
15.6
15.1
18.1
19.0
14.4
19
17.6
19.4
20.7
18.3
18.1
18.8
14.3
18.4
16.9

## Slide 9: Summary table
 | RE2 | RE3 | RE4 | RE-2 | RE-3 | RE-4
Ring 2 | 19.30 | 19.80 | 18.50 | 19.10 | 19.60 | 17.80
Ring 3 | 19.60 | 19.60 | 18.40 | 18.40 | 19.80 | 17.80
Average | 19.50 | 19.70 | 18.50 | 18.70 | 19.70 | 17.80

## Slide 10: SPARE

## Slide 11
EP4
11
Ring 2
Ring 3

## Slide 12
EP3
12
Ring 2
Ring 3

## Slide 13
EP2
13
Ring 2
Ring 3

## Slide 14
EP4
14
Ring 2
Ring 3

## Slide 15
EP3
15
Ring 3
Ring 2

## Slide 16
EN4
16
Ring 3
Ring 2

## Slide 17
EN3
17
Ring 3
Ring 2