## Slide 1: Cooling needs for LS2-LS3
Outline of next week discussion
P. Tropea

## Slide 2: What for?
Need to discuss with EN department the major reworks on surface and underground in view of LS2-LS3 needs
Need to anticipate as much as possible anything on general infrastructure

## Slide 3: Starting point…so far
Inputs needed by:
Tk: Confirm or not the numbers of Dec 16
HGCAL: update with respect to July 16 + data for water cooling
Timing Layer: written numbers?
I suppose the following numbers are confirmed (see next slide):
ECAL barrel
Magnet Tyristor
Racks
Muons

## Slide 4: Data collected so far
ECAL barrel https://edms.cern.ch/document/1751286/1
Magnet Tyristor https://edms.cern.ch/document/1728584
Racks: no changes with respect to present (400 kW in USC, 200 kW in UXC…) shall we address further?
MUON system table https://edms.cern.ch/document/1829163/1

## Slide 5: Surface
PC farm
Doc received by Attila, will add his numbers to the general request
Baseline to add external farm for power beyond 1 MW of the present building capacity
Installation period
ECAL module test
HGCAL?