## Rack power dissipation
last update | 2017-07-24
Power dissipation on Rack circuit - present and future consumption
| 2017 (present consumption) | [9 empty] | LS2 | [9 empty] | LS3
| USC |  | UXC | [7 empty] | USC |  | UXC | [7 empty] | USC |  | UXC
|  |  | Balconies |  | YE1 towers |  | YE2 towers |  | YE3 towers |  |  |  | Balconies |  | YE1 towers |  | YE2 towers |  | YE3 towers |  |  |  | Balconies |  | YE1 towers |  | YE2 towers |  | YE3 towers
System | nb or racks | Total power | nb of racks | Total power | nb of racks | Total power | nb of racks | Total power | nb of racks | Total power | nb or racks | Total power | nb of racks | Total power | nb of racks | Total power | nb of racks | Total power | nb of racks | Total power | nb or racks | Total power | nb of racks | Total power | nb of racks | Total power | nb of racks | Total power | nb of racks | Total power
| # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW | # | kW
Pixel
Tracker
BTL
ECAL barrel
HCAL barrel
CSC
DT
RPC
GEM
ECAL endcap
HCAL endcap
ETL
HGCAL

## Cable power dissipation
last update | 2017-07-24
Power dissipation of cables (water cooled) - present and future consumption
|  |  | 2017 | LS2 | LS3
SUB DETECTOR or SYSTEM | LOCATION | COOLING CIRCUIT NAME
HE Cable Tray | YE+/-1 | ENDCAP
LV cable tray periphery | YE+/-1 | ENDCAP
LV Ecal cable trays peripherical | YB0 | RACK
LV cable trays Muon & Ecal radial | YB0 | YOKE
LV Tracker cable trays radial | YB0 | YOKE
LV cable trays muon | YB+/-1 | YOKE
LV cable trays muon | YB+/-2 | YOKE
HGCAL | YE+/-1 | to be defined | 0
ETL | YE+/-1 | to be defined | 0
BTL | YB0 | to be defined | 0

## Cooling circuit users (2017)
Present cooling circuit usage (2017)
SUB DETECTOR or SYSTEM | LOCATION | WATER COOLING CIRCUIT NAME
BUSBAR | USC55 | BUSBAR
COIL POWER CONVERTER | USC55 | BUSBAR
VACUUM DIFFUSION PUMPS | USC55 | BUSBAR
EB (ECAL) | YB0 | ECAL
EE cooling 1 Dee | YE-1 | ECAL
EE cooling 1 Dee | YE+1 | ECAL
HE-RBX | YE-1 | ENDCAP
RPC link board | YE-1 | ENDCAP
RPC RE1/1 (shares with RBX) | YE-1 | ENDCAP
HE Cable Tray | YE-1 | ENDCAP
ME1/1 (2 in series) | YE-1 | ENDCAP
ME1/3 (4 in series) | YE-1 | ENDCAP
ME1/2 (4 in series) | YE-1 | ENDCAP
RE1/2 (6 in series) | YE-1 | ENDCAP
RE1/3 (6 in series) | YE-1 | ENDCAP
RE2/1, RE2/2, RE2/3 | YE-1 | ENDCAP
VME racks (2 crates) | YE-1 | ENDCAP
HE Cable Tray | YE+1 | ENDCAP
Disk cooling | YE-1 | ENDCAP
HE-RBX | YE+1 | ENDCAP
RPC link board | YE+1 | ENDCAP
RPC RE1/1 (shares with RBX) | YE+1 | ENDCAP
LV cable tray periphery | YE-1 | ENDCAP
ME1/1 (2 in series) | YE+1 | ENDCAP
ME1/3 (4 in series) | YE+1 | ENDCAP
ME1/2 (4 in series) | YE+1 | ENDCAP
RE1/2 (6 in series) | YE+1 | ENDCAP
RE1/3 (6 in series) | YE+1 | ENDCAP
RE2/1, RE2/2, RE2/3 | YE+1 | ENDCAP
VME racks (2 crates) | YE+1 | ENDCAP
LV cable tray periphery | YE+1 | ENDCAP
Disk cooling | YE+1 | ENDCAP
ME2/2, ME3/2 | YE-2 | ENDCAP
ME2/1, ME3/1 | YE-2 | ENDCAP
Disk cooling | YE-2 | ENDCAP
VME racks | YE-2 | ENDCAP
Rack cooling (low flow) | YE-2 | ENDCAP
Rack cooling (high flow) | YE-2 | ENDCAP
ME2/2, ME3/2 | YE+2 | ENDCAP
ME2/1, ME3/1 | YE+2 | ENDCAP
Disk cooling | YE+2 | ENDCAP
VME racks | YE+2 | ENDCAP
Rack cooling (low flow) | YE+2 | ENDCAP
Rack cooling (high flow) | YE+2 | ENDCAP
ME4/2 | YE+3 | ENDCAP
ME4/1 | YE+3 | ENDCAP
RE3 | YE+3 | ENDCAP
Disk cooling | YE+3 | ENDCAP
VME racks | YE+3 | ENDCAP
Rack cooling (low flow) | YE+3 | ENDCAP
Rack cooling (high flow) | YE+3 | ENDCAP
ME4/2 | YE-3 | ENDCAP
ME4/1 | YE-3 | ENDCAP
RE3 | YE-3 | ENDCAP
Disk cooling | YE-3 | ENDCAP
VME racks | YE-3 | ENDCAP
Rack cooling (low flow) | YE-3 | ENDCAP
Rack cooling (high flow) | YE-3 | ENDCAP
DT-Muon + RPC | YB0 | MUONS
DT-Muon + RPC | YB-1 | MUONS
DT-Muon + RPC | YB+1 | MUONS
DT-Muon + RPC | YB-2 | MUONS
DT-Muon + RPC | YB+2 | MUONS
Vacuum tank Thermal screen | YB0 | RACK
LV cable trays muon | YB-1 | YOKE
Tower Rack | YB0 | RACK
Tower Rack | YB-1 | RACK
Tower Rack | YB+1 | RACK
Tower Rack | YB-2 | RACK
Tower Rack | YB+2 | RACK
Tower Rack | YE-1 | RACK
Tower Rack | YE+1 | RACK
HF & TOTEM - side: | HF- | RACK
HF & TOTEM + side: | HF+ | RACK
S1 electronic racks | USC55 | RACK
S2 electronic racks | USC55 | RACK
S4 electronic racks | USC55 | RACK
Yoke,Vacuum tank & PP1 Tracker | YB0 | YOKE
HO-RBX | YB0 | YOKE
LV cable trays muon | YB+1 | YOKE
LV cable trays muon | YB-2 | YOKE
HB-RBX (HCAL) | YB0 | YOKE
Yoke stabilisation | YB-1 | YOKE
HO-RBX & Thermal screen | YB-1 | YOKE
LV cable trays muon | YB+2 | YOKE
Yoke stabilisation | YB+1 | YOKE
HO-RBX & Thermal screen | YB+1 | YOKE
LV cable trays Muon & Ecal radial | YB0 | YOKE
Yoke stabilisation | YB-2 | YOKE
HO-RBX & Thermal screen | YB-2 | YOKE
LV Ecal cable trays peripherical | YB0 | RACK
Yoke stabilisation | YB+2 | YOKE
HO-RBX & Thermal screen | YB+2 | YOKE
LV Tracker cable trays radial | YB0 | YOKE