## Slide 1: Hose leak tests in 904
Ian
14 Oct 2019

## Slide 3
https://www.swagelok.com/en/product/Hoses-and-Flexible-Tubing/Rubber-Core-Hose-Rayon-Fiber-Reinforced

## Slide 5
http://project-cms-rpc-endcap.web.cern.ch/project-cms-rpc-endcap/rpc/UpscopeHighEta/RPCDevelopements/RE31and41/Services/Cooling/PipingYoke/Modification/Installation/Photos/
Then select file ;
20191010101400.mp4
But if it does not work this file will;
redir.htm
follow the down load. It is 40Mb.
Video made by Piotr from ZEC in 10 Oct 2019 while pressure testing with Argon the RE+4/1 installed cooling hoses.
NOTA
The hose & union are not under pressure but have been !!!!

## Slide 6
Photo taken on Friday by Anton with the line under 15 Bar Argon test pressure.
The cable tie has been applied AFTER the pressure was applied to try and stop the leak.
This is NOT the same condition indicated in the previous slide showing the video of the leak with NO pressure

## Slide 7
http://www-eng.lbl.gov/~shuman/NEXT/MATERIALS&COMPONENTS/Hardware/swagelok_hose_cat_MS-01-180.pdf

## Slide 11
https://www.swagelok.com/downloads/webcatalogs/EN/MS-CRD-0190.PDF

## Slide 12
https://www.youtube.com/watch?v=qeu7ALX6cSU
https://www.youtube.com/watch?v=IAsKLmMpbtk

## Slide 13
https://www.swagelok.com/downloads/webcatalogs/EN/MS-CRD-0125.PDF
This method is not good as the barbs WILL be damaged

## Slide 14
https://www.youtube.com/watch?v=IAsKLmMpbtk

## Slide 16
Other manufactures and their hoses , unions and assembly methods

## Slide 17
Tubes International
https://www.youtube.com/watch?v=_F9i5q5qG78

## Slide 18
Parker

## Slide 19
https://www.parker.com/static_content/LiteratureX/4281%20B1.pdf
https://www.parker.com/portal/site/PARKER/menuitem.223a4a3cce02eb6315731910237ad1ca/?vgnextoid=f92caf5c6f65e210VgnVCM10000048021dacRCRD&vgnextfmt=EN

## Slide 20
https://www.youtube.com/watch?v=rI_rVnmmy_E
https://www.youtube.com/watch?v=9TCzCnhjYtE

## Slide 21
https://ph.parker.com/us/en/push-lok-and-push-on-hoses

## Slide 22
https://www.parker.com/Literature/Hose%20Products%20Division%20Europe/Literature_2014/Sales%20and%20Marketing%20Bulletins/Push-Lok%20Hose_Fittings_BUL_4480-B176_UK_2016-11.pdf

## Slide 23
http://www.hccl.ie/uploads/1/4/7/3/1473854/parker_push_lok_catalogue_-_industrial.pdf
Cataloge from UK supplier 2007
Very complete union selection

## Slide 24
https://www.youtube.com/watch?v=f-hxFVYTh9Q